## Electrical
Item # | Bid Item Description | Category | Status | Drawing Reference | Specification Reference
101 | Provide Current Limiters as Required | Electrical Protection | Pending | NO. E-1 - Electrical One Line Diagram | 26 28 13 - Fuses
109 | Provide Ground Fault Protection at Circuit Breakers for Ranges | Electrical Protection | Pending | E-6 - Electrical Enlarged Plans | 26 24 16 - Panelboards
110 | Provide Grounding and Bonding for Site Lighting Poles | Electrical Protection | Pending | E-8 - Electrical Site Plan | 26 05 26 - Grounding And Bonding For Electrical Systems
113 | Provide Lightning Protection System as Required | Electrical Protection | Pending | NO. E-1 - Electrical One Line Diagram
20 | Furnish and Install Surge Protection for Lighting | Electrical Protection | Pending | C5. - Private Pump Station And Storage Tank Detail | 26 43 13 - Surge Protection For Low-voltage Electrical Power
31 | Install 4 x 6' Ground Bus Bar" | Electrical Protection | Pending | E-6 - Electrical Enlarged Plans | 26 05 26 - Grounding And Bonding For Electrical Systems
59 | Install Grounding and Bonding System | Electrical Protection | Pending | NO. E-1 - Electrical One Line Diagram | 26 05 26 - Grounding And Bonding For Electrical Systems
81 | Install Phone Line Surge Protector for Fire Alarm System | Electrical Protection | Pending | NO. E-7 - Fire Alarm System Plans | 26 43 13 - Surge Protection For Low-voltage Electrical Power
13 | Furnish and Install Minimum 10kW Generator | Facility Electrical Power Generating and Storing Equipment | Pending | C5. - Private Pump Station And Storage Tank Detail
7 | Furnish and Install Automatic Transfer Switch | Facility Electrical Power Generating and Storing Equipment | Pending | C5. - Private Pump Station And Storage Tank Detail | 26 28 16 - Enclosed Switches
73 | Install Natural Gas Generator and Automatic Transfer Switch (ATS) | Facility Electrical Power Generating and Storing Equipment | Pending | NO. E-1 - Electrical One Line Diagram,E-8 - Electrical Site Plan
11 | Furnish and Install Exterior Light Poles and Foundations | Lighting | Pending | CA.3 - Post Construction Runoff Control Plan | 26 56 13 - Lighting Poles And Standards,26 56 19 - Exterior Lighting
112 | Provide Junction Boxes and Wiring for Light Fixtures | Lighting | Pending | A480 - Guestroom Plans And Elevations Standard Single Queen | 26 05 33 - Raceways And Boxes For Electrical Systems
12 | Furnish and Install Exterior Site Lighting Poles or Bollards | Lighting | Pending | C2.2 - Final Erosion Control Plan (north) | 26 56 13 - Lighting Poles And Standards,26 56 19 - Exterior Lighting
17 | Furnish and Install Pole-Mounted Exterior Light Fixtures | Lighting | Pending | C3.0 - Site Plan | 26 56 13 - Lighting Poles And Standards,26 56 19 - Exterior Lighting
18 | Furnish and Install Site Light Poles | Lighting | Pending | C5.0 - Utility Plan,L1.0 - Landscape Plan,C2.3 - Final Erosion Control Plan (south),C2.0 - Initial Erosion Control Plan (north) | 26 56 13 - Lighting Poles And Standards,26 56 19 - Exterior Lighting
19 | Furnish and Install Site Light Poles and Fixtures | Lighting | Pending | C2.1 - Initial Erosion Control Plan (south),PLAT BOOK 284_PAGE 2 - Alta/nsps Land Title Survey Of Lot 2, Area D Phase 18, Galleria Of Memphis Planned Development As Recorded In Plat Book 284 Page 2 In Memphis, Shelby County, Tennessee | 26 56 13 - Lighting Poles And Standards,26 56 19 - Exterior Lighting
3 | Furnish (1) Industrial Lighting Products Inc SAS-15L-U-40-T2 Skyline Small Light Fixture | Lighting | Pending | 1 of 1 - Marriott Studiores Cordova Tn | 26 56 19 - Exterior Lighting
4 | Furnish (8) Industrial Lighting Products Inc SAS-18L-U-40-T4 Skyline Small Light Fixtures | Lighting | Pending | 1 of 1 - Marriott Studiores Cordova Tn | 26 56 19 - Exterior Lighting
41 | Install Dimming Controls for Corridor Lighting | Lighting | Pending | NO. E-4 - Electrical Plans Third And Fourth Floor
51 | Install Exit Signs and Emergency Lights | Lighting | Pending | G004 - Life Safety First & Typical Floor Plan
52 | Install Exterior Light Fixtures at 20-Foot Mounting Height | Lighting | Pending | 1 of 1 - Marriott Studiores Cordova Tn | 26 56 19 - Exterior Lighting,26 05 29 - Hangers And Supports For Electrical Systems
53 | Install Exterior Lighting Controls (Photocell and Time Switch) | Lighting | Pending | E-5 - Electrical Plans Roof
54 | Install Exterior Site Lighting Fixtures | Lighting | Pending | E-8 - Electrical Site Plan | 26 56 19 - Exterior Lighting
61 | Install High and Low Level Exit Signs | Lighting | Pending | NO. E-4 - Electrical Plans Third And Fourth Floor,NO. E-3 - Electrical Plans First And Second Floor
62 | Install Independent Support Wires for Electrical Fixtures | Lighting | Pending | NO. A510 - Interior Details | 26 05 29 - Hangers And Supports For Electrical Systems
64 | Install Lighting Control Devices Including Master Switches | Lighting | Pending | NO. A482 - Guestroom Plans And Elevations Standard Double Queen
65 | Install Lighting Control System for Fitness Center | Lighting | Pending | NO. A415 - Fitness & Guest Laundry Plans & Elevs
66 | Install Lighting Fixtures | Lighting | Pending | A121 - Reflected Ceiling Plans First & Typical Floors,NO. A482 - Guestroom Plans And Elevations Standard Double Queen,NO. E-2 - Electrical Panels And Schedules,A481 - Guestroom Plans And Elevations Accessible Single Queen,G003 - Mounting Heights | 26 05 33 - Raceways And Boxes For Electrical Systems
67 | Install Lighting System | Lighting | Pending | NO. M-2 - Mechanical First & Second Floor Plans
76 | Install Occupancy Sensors for Corridor Lighting Control | Lighting | Pending | NO. E-4 - Electrical Plans Third And Fourth Floor,NO. E-3 - Electrical Plans First And Second Floor
87 | Install Recessed Lighting in Guest Bath Shower | Lighting | Pending | NO. A483 - Guestroom Plans And Elevations Accessible Double Queen
95 | Install Undercounter Lighting (ALJ-048) | Lighting | Pending | A416 - Breakroom And Laundry Enlarged Plans & Elevs
10 | Furnish and Install Duplex Ground Fault Circuit Interrupter Service Receptacles | Low-Voltage Electrical Distribution | Pending | C5. - Private Pump Station And Storage Tank Detail | 26 27 26 - Wiring Devices
100 | Provide Alarm Panel for Condensate Sump Pump | Low-Voltage Electrical Distribution | Pending | P-1 - Plumbing Notes And Legends | 26 24 16 - Panelboards
102 | Provide Dedicated 120VAC Circuit to Fire Alarm Control Panel | Low-Voltage Electrical Distribution | Pending | NO. E-7 - Fire Alarm System Plans | 26 05 19 - Low-voltage Electrical Power Conductors And Cables,26 05 33 - Raceways And Boxes For Electrical Systems
103 | Provide Dedicated Receptacles and Junction Boxes for Equipment | Low-Voltage Electrical Distribution | Pending | A481 - Guestroom Plans And Elevations Accessible Single Queen | 26 27 26 - Wiring Devices,26 05 33 - Raceways And Boxes For Electrical Systems
104 | Provide Electrical Building Connection | Low-Voltage Electrical Distribution | Pending | C5.0 - Utility Plan
105 | Provide Electrical Power Connection for Two Sewage Pumps (200V/230V, 3 Phase) | Low-Voltage Electrical Distribution | Pending | C5. - Private Pump Station And Storage Tank Detail | 26 05 19 - Low-voltage Electrical Power Conductors And Cables
106 | Provide Electrical Systems for Equipment and Specialty Rooms | Low-Voltage Electrical Distribution | Pending | A111 - Partition Diagrams First & Typical Floors | 26 05 19 - Low-voltage Electrical Power Conductors And Cables,26 24 16 - Panelboards
107 | Provide Final Power Connections to Equipment | Low-Voltage Electrical Distribution | Pending | A101 - Floor Plans First & Second Floors,NO. A414 - Enlarged Vending & Hydration Plans & Elevs | 26 27 26 - Wiring Devices,26 05 19 - Low-voltage Electrical Power Conductors And Cables
108 | Provide Final Power Connection to Fan Disconnects | Low-Voltage Electrical Distribution | Pending | NO. E-3 - Electrical Plans First And Second Floor | 26 05 19 - Low-voltage Electrical Power Conductors And Cables
111 | Provide Hardwired Connections for Ranges | Low-Voltage Electrical Distribution | Pending | E-6 - Electrical Enlarged Plans | 26 05 19 - Low-voltage Electrical Power Conductors And Cables
114 | Provide Low Voltage Power Systems | Low-Voltage Electrical Distribution | Pending | NO. E-2 - Electrical Panels And Schedules | 26 05 19 - Low-voltage Electrical Power Conductors And Cables
115 | Provide Power Connection for Electric Hand Dryers | Low-Voltage Electrical Distribution | Pending | G003 - Mounting Heights | 26 05 19 - Low-voltage Electrical Power Conductors And Cables
116 | Provide Power Connection for Heat Trace System | Low-Voltage Electrical Distribution | Pending | P-4 - Plumbing Water Plans First And Third Floors | 26 05 19 - Low-voltage Electrical Power Conductors And Cables,26 27 26 - Wiring Devices
117 | Provide Power Connections for Dryers, DOAS-1, and Generator | Low-Voltage Electrical Distribution | Pending | P-7 - Plumbing Enlarged Plans | 26 05 19 - Low-voltage Electrical Power Conductors And Cables
118 | Provide Power Connections for Hardwired Equipment (Cooktops, PTACs) | Low-Voltage Electrical Distribution | Pending | NO. A482 - Guestroom Plans And Elevations Standard Double Queen | 26 05 19 - Low-voltage Electrical Power Conductors And Cables
119 | Provide Power Connections for Laundry Equipment | Low-Voltage Electrical Distribution | Pending | NO. A415 - Fitness & Guest Laundry Plans & Elevs | 26 05 19 - Low-voltage Electrical Power Conductors And Cables,26 05 33 - Raceways And Boxes For Electrical Systems
120 | Provide Power Connections for Sump Pumps | Low-Voltage Electrical Distribution | Pending | E-6 - Electrical Enlarged Plans | 26 05 19 - Low-voltage Electrical Power Conductors And Cables
121 | Provide Power Connections to Mechanical Equipment | Low-Voltage Electrical Distribution | Pending | NO. M-2 - Mechanical First & Second Floor Plans,E-5 - Electrical Plans Roof,M-1 - Mechanical Notes, Schedules, And Legends | 26 05 19 - Low-voltage Electrical Power Conductors And Cables,26 05 33 - Raceways And Boxes For Electrical Systems
122 | Provide Power Rough-In and Final Connection for Building Signage | Low-Voltage Electrical Distribution | Pending | A201 - Exterior Elevations North & East,E-5 - Electrical Plans Roof,A200 - Exterior Elevations South & West,E-6 - Electrical Enlarged Plans | 26 05 19 - Low-voltage Electrical Power Conductors And Cables,26 05 33 - Raceways And Boxes For Electrical Systems,26 27 26 - Wiring Devices,26 28 16 - Enclosed Switches
123 | Provide Power Wiring for Site Security Cameras | Low-Voltage Electrical Distribution | Pending | E-8 - Electrical Site Plan | 26 05 19 - Low-voltage Electrical Power Conductors And Cables
124 | Provide Receptacle for Future General Power | Low-Voltage Electrical Distribution | Pending | E-5 - Electrical Plans Roof | 26 27 26 - Wiring Devices
125 | Reroute and Extend Existing Electrical Conduit and Wiring | Low-Voltage Electrical Distribution | Pending | G002 - General Information | 26 05 19 - Low-voltage Electrical Power Conductors And Cables,26 05 33 - Raceways And Boxes For Electrical Systems
14 | Furnish and Install Minimum 2-Inch Diameter Electrical Conduit System | Low-Voltage Electrical Distribution | Pending | C5. - Private Pump Station And Storage Tank Detail | 26 05 33 - Raceways And Boxes For Electrical Systems
15 | Furnish and Install Motor Control Center with Associated Components | Low-Voltage Electrical Distribution | Pending | C5. - Private Pump Station And Storage Tank Detail | 26 24 13 - Switchboards
16 | Furnish and Install NEMA 4X Control Panel | Low-Voltage Electrical Distribution | Pending | C5. - Private Pump Station And Storage Tank Detail | 26 24 16 - Panelboards
21 | Furnish and Install Underground Electric Service Line | Low-Voltage Electrical Distribution | Pending | C5.0 - Utility Plan | 26 05 19 - Low-voltage Electrical Power Conductors And Cables
22 | Install 120V Dedicated Circuit for Elevator Cab Lighting | Low-Voltage Electrical Distribution | Pending | NO. E-4 - Electrical Plans Third And Fourth Floor | 26 05 19 - Low-voltage Electrical Power Conductors And Cables,26 28 16 - Enclosed Switches,26 28 13 - Fuses
23 | Install 120V Service Receptacles at Equipment | Low-Voltage Electrical Distribution | Pending | M-1 - Mechanical Notes, Schedules, And Legends | 26 27 26 - Wiring Devices
24 | Install 12x12"x6" Riser Junction Boxes for BDA System" | Low-Voltage Electrical Distribution | Pending | NO. E-3 - Electrical Plans First And Second Floor | 26 05 33 - Raceways And Boxes For Electrical Systems
25 | Install 15A/2P Receptacles for PTAC Units | Low-Voltage Electrical Distribution | Pending | E-6 - Electrical Enlarged Plans,NO. E-4 - Electrical Plans Third And Fourth Floor,NO. E-3 - Electrical Plans First And Second Floor | 26 27 26 - Wiring Devices
26 | Install 1 Conduit for BDA System" | Low-Voltage Electrical Distribution | Pending | NO. E-3 - Electrical Plans First And Second Floor,NO. E-4 - Electrical Plans Third And Fourth Floor | 26 05 33 - Raceways And Boxes For Electrical Systems
28 | Install 2 Conduit Between BDA Riser Junction Boxes" | Low-Voltage Electrical Distribution | Pending | NO. E-3 - Electrical Plans First And Second Floor | 26 05 33 - Raceways And Boxes For Electrical Systems
29 | Install 2-Gang Boxes with Transformers | Low-Voltage Electrical Distribution | Pending | G003 - Mounting Heights | 26 05 33 - Raceways And Boxes For Electrical Systems
32 | Install 8x8"x6" Junction Boxes for BDA System" | Low-Voltage Electrical Distribution | Pending | NO. E-3 - Electrical Plans First And Second Floor | 26 05 33 - Raceways And Boxes For Electrical Systems
33 | Install Armored and Metal-Clad Cables | Low-Voltage Electrical Distribution | Pending | G006 - Assembly Penetration Details | 26 05 19 - Low-voltage Electrical Power Conductors And Cables
34 | Install Branch Circuitry for Guest Units | Low-Voltage Electrical Distribution | Pending | NO. E-3 - Electrical Plans First And Second Floor,NO. E-4 - Electrical Plans Third And Fourth Floor | 26 05 19 - Low-voltage Electrical Power Conductors And Cables,26 05 33 - Raceways And Boxes For Electrical Systems,26 24 16 - Panelboards
35 | Install Branch Circuit Wiring (THHN/THWN/THW) | Low-Voltage Electrical Distribution | Pending | NO. E-1 - Electrical One Line Diagram | 26 05 19 - Low-voltage Electrical Power Conductors And Cables
36 | Install Ceiling Mounted Receptacles for Heat Trace | Low-Voltage Electrical Distribution | Pending | E-6 - Electrical Enlarged Plans | 26 27 26 - Wiring Devices
37 | Install Concealed Conduit System with Pull Wires | Low-Voltage Electrical Distribution | Pending | NO. E-1 - Electrical One Line Diagram | 26 05 33 - Raceways And Boxes For Electrical Systems
38 | Install Copper Conductors in Steel Conduit | Low-Voltage Electrical Distribution | Pending | NO. E-2 - Electrical Panels And Schedules | 26 05 19 - Low-voltage Electrical Power Conductors And Cables,26 05 33 - Raceways And Boxes For Electrical Systems
39 | Install CT Cabinet and Meter Base | Low-Voltage Electrical Distribution | Pending | E-8 - Electrical Site Plan | 26 27 13 - Electricity Metering
40 | Install Decora Style Switches and Receptacles in Lobby | Low-Voltage Electrical Distribution | Pending | A411 - Enlarged Lobby Finish Plan | 26 27 26 - Wiring Devices
42 | Install Disconnect Switches for Mechanical Equipment | Low-Voltage Electrical Distribution | Pending | M-1 - Mechanical Notes, Schedules, And Legends | 26 28 16 - Enclosed Switches
43 | Install Divided Wiremold Raceway | Low-Voltage Electrical Distribution | Pending | NO. A413 - Enlarged Welcome Desk Plans & Elevs | 26 05 33 - Raceways And Boxes For Electrical Systems
44 | Install Doorbell System with Disable Switch | Low-Voltage Electrical Distribution | Pending | G003 - Mounting Heights | 26 27 26 - Wiring Devices
45 | Install Dual Port Level 2 EV Chargers | Low-Voltage Electrical Distribution | Pending | E-8 - Electrical Site Plan | 26 27 26 - Wiring Devices
46 | Install Duplex Receptacle for Microwave | Low-Voltage Electrical Distribution | Pending | A416 - Breakroom And Laundry Enlarged Plans & Elevs | 26 27 26 - Wiring Devices
47 | Install Electrical Distribution Equipment in Mechanical/Electrical Room | Low-Voltage Electrical Distribution | Pending | NO. A131 - Floor Finish Plans First & Typical Floors | 26 24 13 - Switchboards,26 24 16 - Panelboards
48 | Install Electrical Junction Boxes | Low-Voltage Electrical Distribution | Pending | NO. A483 - Guestroom Plans And Elevations Accessible Double Queen,NO. A510 - Interior Details | 26 05 33 - Raceways And Boxes For Electrical Systems
49 | Install Electrical Panelboards | Low-Voltage Electrical Distribution | Pending | NO. A483 - Guestroom Plans And Elevations Accessible Double Queen,A480 - Guestroom Plans And Elevations Standard Single Queen,NO. A482 - Guestroom Plans And Elevations Standard Double Queen,A481 - Guestroom Plans And Elevations Accessible Single Queen | 26 24 16 - Panelboards
5 | Furnish and Install Above-Grade Fused Disconnect for Main Power Feed | Low-Voltage Electrical Distribution | Pending | C5. - Private Pump Station And Storage Tank Detail | 26 28 16 - Enclosed Switches
50 | Install Electrical Systems Including Conduit Routing | Low-Voltage Electrical Distribution | Pending | A102 - Floor Plans Third & Fourth Floors | 26 05 19 - Low-voltage Electrical Power Conductors And Cables,26 05 33 - Raceways And Boxes For Electrical Systems
55 | Install Exterior Weatherproof GFCI Receptacles | Low-Voltage Electrical Distribution | Pending | E-5 - Electrical Plans Roof | 26 27 26 - Wiring Devices
56 | Install General Purpose Duplex Receptacles | Low-Voltage Electrical Distribution | Pending | A480 - Guestroom Plans And Elevations Standard Single Queen | 26 27 26 - Wiring Devices
57 | Install General Purpose Wiring Devices (Switches and Receptacles) | Low-Voltage Electrical Distribution | Pending | G002 - General Information,A481 - Guestroom Plans And Elevations Accessible Single Queen,NO. A482 - Guestroom Plans And Elevations Standard Double Queen,G003 - Mounting Heights,NO. A483 - Guestroom Plans And Elevations Accessible Double Queen | 26 27 26 - Wiring Devices
58 | Install Ground Fault Circuit Interrupter (GFCI) Receptacles | Low-Voltage Electrical Distribution | Pending | A490 - Guestroom Restroom Plans And Elevations,E-6 - Electrical Enlarged Plans | 26 27 26 - Wiring Devices
6 | Furnish and Install Alarm Light and Siren | Low-Voltage Electrical Distribution | Pending | C5. - Private Pump Station And Storage Tank Detail | 26 27 26 - Wiring Devices
63 | Install Lift-Station Motor Control Center (MCC) | Low-Voltage Electrical Distribution | Pending | E-8 - Electrical Site Plan | 26 24 13 - Switchboards
68 | Install Locked Control Panels | Low-Voltage Electrical Distribution | Pending | M-6 - Mechanical Sections And Details | 26 24 16 - Panelboards
69 | Install Low-Voltage and Power Cables | Low-Voltage Electrical Distribution | Pending | G006 - Assembly Penetration Details | 26 05 19 - Low-voltage Electrical Power Conductors And Cables
70 | Install Main Distribution Panelboard (MDP) | Low-Voltage Electrical Distribution | Pending | NO. E-3 - Electrical Plans First And Second Floor,NO. E-2 - Electrical Panels And Schedules | 26 24 16 - Panelboards,26 24 13 - Switchboards
71 | Install Motor Rated Local Disconnects | Low-Voltage Electrical Distribution | Pending | E-6 - Electrical Enlarged Plans | 26 28 16 - Enclosed Switches
72 | Install Motor Starters | Low-Voltage Electrical Distribution | Pending | M-1 - Mechanical Notes, Schedules, And Legends
74 | Install NEMA-1 Enclosures for Current Sensing Switches | Low-Voltage Electrical Distribution | Pending | E-6 - Electrical Enlarged Plans | 26 05 33 - Raceways And Boxes For Electrical Systems
75 | Install NEMA 3R Rated Disconnects for Exterior Equipment | Low-Voltage Electrical Distribution | Pending | E-5 - Electrical Plans Roof | 26 28 16 - Enclosed Switches
77 | Install Panelboard G | Low-Voltage Electrical Distribution | Pending | E-6 - Electrical Enlarged Plans | 26 24 16 - Panelboards
78 | Install Panelboard PNLBD-E | Low-Voltage Electrical Distribution | Pending | NO. E-4 - Electrical Plans Third And Fourth Floor | 26 24 16 - Panelboards
79 | Install Panelboards PNLBD-DE1, PNLBD-A, and PNLBD-B | Low-Voltage Electrical Distribution | Pending | NO. E-3 - Electrical Plans First And Second Floor | 26 24 16 - Panelboards
8 | Furnish and Install Circuit Breakers | Low-Voltage Electrical Distribution | Pending | C5. - Private Pump Station And Storage Tank Detail | 26 24 16 - Panelboards
80 | Install Panelboard with 240kA Surge Protection Device (SPD) | Low-Voltage Electrical Distribution | Pending | NO. E-2 - Electrical Panels And Schedules | 26 43 13 - Surge Protection For Low-voltage Electrical Power
82 | Install Power and Control Conduit with Flexible Connections | Low-Voltage Electrical Distribution | Pending | M-6 - Mechanical Sections And Details | 26 05 33 - Raceways And Boxes For Electrical Systems
83 | Install Power, Data, USB, and Phone Outlets for Front Desk | Low-Voltage Electrical Distribution | Pending | NO. A413 - Enlarged Welcome Desk Plans & Elevs | 26 27 26 - Wiring Devices
84 | Install Primary Elevator Disconnect with Shunt Trip | Low-Voltage Electrical Distribution | Pending | NO. E-4 - Electrical Plans Third And Fourth Floor | 26 28 16 - Enclosed Switches
85 | Install PTAC Receptacles | Low-Voltage Electrical Distribution | Pending | NO. A483 - Guestroom Plans And Elevations Accessible Double Queen | 26 27 26 - Wiring Devices
86 | Install Raceways, Conductors, and Boxes for Power Distribution | Low-Voltage Electrical Distribution | Pending | A101 - Floor Plans First & Second Floors | 26 05 19 - Low-voltage Electrical Power Conductors And Cables,26 05 33 - Raceways And Boxes For Electrical Systems
88 | Install Rigid Nonmetallic Conduit (PVC) | Low-Voltage Electrical Distribution | Pending | G006 - Assembly Penetration Details | 26 05 33 - Raceways And Boxes For Electrical Systems
89 | Install Secondary Electrical Service Entrance Conductors | Low-Voltage Electrical Distribution | Pending | E-8 - Electrical Site Plan | 26 05 19 - Low-voltage Electrical Power Conductors And Cables
9 | Furnish and Install Dual-Port EV Charger | Low-Voltage Electrical Distribution | Pending | C5.0 - Utility Plan
90 | Install Shunt Trip Breakers and Remote Power Off Device | Low-Voltage Electrical Distribution | Pending | NO. E-1 - Electrical One Line Diagram | 26 24 16 - Panelboards
91 | Install Sleeves for Conduit Penetrations | Low-Voltage Electrical Distribution | Pending | NO. S001 - General Notes | 26 05 44 - Sleeves And Sleeve Seals For Electrical Raceways And
92 | Install Steel Conduit and Electrical Metallic Tubing (EMT) | Low-Voltage Electrical Distribution | Pending | G006 - Assembly Penetration Details | 26 05 33 - Raceways And Boxes For Electrical Systems
93 | Install Switchboards and Panelboards | Low-Voltage Electrical Distribution | Pending | A101 - Floor Plans First & Second Floors | 26 24 13 - Switchboards,26 24 16 - Panelboards
94 | Install Tamper-Resistant Receptacles | Low-Voltage Electrical Distribution | Pending | E-6 - Electrical Enlarged Plans | 26 27 26 - Wiring Devices
96 | Install Under-Slab Conduit for Floor Box Receptacles | Low-Voltage Electrical Distribution | Pending | E-6 - Electrical Enlarged Plans | 26 05 33 - Raceways And Boxes For Electrical Systems
97 | Install USB-C Wiring Devices | Low-Voltage Electrical Distribution | Pending | NO. A412 - Enlarged Lobby Elevations | 26 27 26 - Wiring Devices
98 | Install Weatherproof Exterior Electrical Devices | Low-Voltage Electrical Distribution | Pending | G002 - General Information | 26 27 26 - Wiring Devices
99 | Provide Alarm Panel and Oil Switch for Elevator Sump Pump | Low-Voltage Electrical Distribution | Pending | P-1 - Plumbing Notes And Legends | 26 24 16 - Panelboards
27 | Install 208/120V 3-Phase Utility Transformer | Medium-Voltage Electrical Distribution | Pending | NO. E-1 - Electrical One Line Diagram
30 | Install 4 Schedule 40 PVC Underground Conduit for Primary Conductors" | Medium-Voltage Electrical Distribution | Pending | E-8 - Electrical Site Plan | 26 05 33 - Raceways And Boxes For Electrical Systems
60 | Install Ground-Mounted Transformer | Medium-Voltage Electrical Distribution | Pending | C3.0 - Site Plan | 26 24 13 - Switchboards
2 | Apply Arc Flash Warning Labels to Panelboards | Operation and Maintenance of Electrical Systems | Pending | NO. E-1 - Electrical One Line Diagram | 26 05 53 - Identification For Electrical Systems
1 | All Document References for Electrical | Others | Pending | C5. - Private Pump Station And Storage Tank Detail,G004 - Life Safety First & Typical Floor Plan,P-7 - Plumbing Enlarged Plans,C2.2 - Final Erosion Control Plan (north),CA.3 - Post Construction Runoff Control Plan,A121 - Reflected Ceiling Plans First & Typical Floors,NO. E-1 - Electrical One Line Diagram,P-1 - Plumbing Notes And Legends,NO. A413 - Enlarged Welcome Desk Plans & Elevs,E-8 - Electrical Site Plan,M-1 - Mechanical Notes, Schedules, And Legends,A411 - Enlarged Lobby Finish Plan,NO. A415 - Fitness & Guest Laundry Plans & Elevs,A111 - Partition Diagrams First & Typical Floors,A481 - Guestroom Plans And Elevations Accessible Single Queen,NO. A131 - Floor Finish Plans First & Typical Floors,C5.0 - Utility Plan,A102 - Floor Plans Third & Fourth Floors,NO. M-2 - Mechanical First & Second Floor Plans,A416 - Breakroom And Laundry Enlarged Plans & Elevs,A101 - Floor Plans First & Second Floors,G003 - Mounting Heights,NO. A483 - Guestroom Plans And Elevations Accessible Double Queen,M-6 - Mechanical Sections And Details,PLAT BOOK 284_PAGE 2 - Alta/nsps Land Title Survey Of Lot 2, Area D Phase 18, Galleria Of Memphis Planned Development As Recorded In Plat Book 284 Page 2 In Memphis, Shelby County, Tennessee,C2.0 - Initial Erosion Control Plan (north),E-6 - Electrical Enlarged Plans,A201 - Exterior Elevations North & East,L1.0 - Landscape Plan,A490 - Guestroom Restroom Plans And Elevations,NO. A412 - Enlarged Lobby Elevations,A480 - Guestroom Plans And Elevations Standard Single Queen,P-4 - Plumbing Water Plans First And Third Floors,G002 - General Information,E-5 - Electrical Plans Roof,NO. E-4 - Electrical Plans Third And Fourth Floor,G006 - Assembly Penetration Details,NO. S001 - General Notes,C2.3 - Final Erosion Control Plan (south),C2.1 - Initial Erosion Control Plan (south),NO. A482 - Guestroom Plans And Elevations Standard Double Queen,A200 - Exterior Elevations South & West,NO. E-2 - Electrical Panels And Schedules,NO. E-3 - Electrical Plans First And Second Floor,NO. A414 - Enlarged Vending & Hydration Plans & Elevs,C3.0 - Site Plan,NO. E-7 - Fire Alarm System Plans,NO. A510 - Interior Details,1 of 1 - Marriott Studiores Cordova Tn | 26 05 19 - Low-voltage Electrical Power Conductors And Cables,26 05 33 - Raceways And Boxes For Electrical Systems,26 27 26 - Wiring Devices,26 05 44 - Sleeves And Sleeve Seals For Electrical Raceways And,26 24 13 - Switchboards,26 24 16 - Panelboards,26 05 29 - Hangers And Supports For Electrical Systems,26 28 16 - Enclosed Switches,26 05 26 - Grounding And Bonding For Electrical Systems,26 05 53 - Identification For Electrical Systems,26 28 13 - Fuses,26 43 13 - Surge Protection For Low-voltage Electrical Power,26 56 13 - Lighting Poles And Standards,26 56 19 - Exterior Lighting,26 27 13 - Electricity Metering,undefined - ,undefined - ,26 52 19 - Emergency And Exit Lighting

## Mechanical
Item # | Bid Item Description | Category | Status | Drawing Reference | Specification Reference
10 | Install Air Handling Units (AHU) | Central HVAC Equipment | Pending | A400 - Enlarged Lobby Plan And Rcp,M-6 - Mechanical Sections And Details,A300 - Building Sections,NO. M-2 - Mechanical First & Second Floor Plans,A121 - Reflected Ceiling Plans First & Typical Floors,A411 - Enlarged Lobby Finish Plan,G004 - Life Safety First & Typical Floor Plan,NO. A131 - Floor Finish Plans First & Typical Floors | 23 74 33 - Dedicated Outdoor-air Units
11 | Install Air Handling Units (AHU) and Fan Coil Units (FCU) | Central HVAC Equipment | Pending | NO. P-2 - Plumbing Waste And Vent Plans 1st And 2nd Floor,NO. M-5 - Mechanical Enlarged Plans | 23 74 33 - Dedicated Outdoor-air Units
18 | Install Dedicated Outdoor Air System (DOAS) Units | Central HVAC Equipment | Pending | G004 - Life Safety First & Typical Floor Plan,NO. M-5 - Mechanical Enlarged Plans,NO. E-2 - Electrical Panels And Schedules,A103 - Roof Plan | 23 74 33 - Dedicated Outdoor-air Units
19 | Install Dedicated Outdoor Air System Unit (DOAS-1) | Central HVAC Equipment | Pending | M-4 - Mechanical Roof Plan,P-7 - Plumbing Enlarged Plans,M-3 - Mechanical Third And Fourth Floor Plans | 23 74 33 - Dedicated Outdoor-air Units
2 | Furnish and Install Roof-Mounted Mechanical Equipment | Central HVAC Equipment | Pending | L1.0 - Landscape Plan,C3.0 - Site Plan | 23 74 33 - Dedicated Outdoor-air Units
65 | Install Rooftop Unit (RTU) | Central HVAC Equipment | Pending | S104 - Roof Framing Plan | 23 74 33 - Dedicated Outdoor-air Units
80 | Provide Shutdown Means for Rooftop Units over 2000 CFM | Central HVAC Equipment | Pending | NO. E-7 - Fire Alarm System Plans
81 | Receive and Set Rooftop Mechanical Equipment | Central HVAC Equipment | Pending | A501 - Roof Details
9 | Install Air Handling Unit (AHU 443) | Central HVAC Equipment | Pending | A101 - Floor Plans First & Second Floors | 23 74 33 - Dedicated Outdoor-air Units
17 | Install Condensing Units | Decentralized HVAC Equipment | Pending | M-6 - Mechanical Sections And Details
24 | Install Electric Unit Heaters (EUH) | Decentralized HVAC Equipment | Pending | NO. M-5 - Mechanical Enlarged Plans,NO. E-3 - Electrical Plans First And Second Floor | 23 82 39.19 - Wall And Ceiling Unit Heaters
25 | Install Electric Unit Heaters (EUH-3 and EUH-4) | Decentralized HVAC Equipment | Pending | NO. M-2 - Mechanical First & Second Floor Plans | 23 82 39.19 - Wall And Ceiling Unit Heaters
26 | Install Exhaust Fan (EF-4) | Decentralized HVAC Equipment | Pending | E-5 - Electrical Plans Roof,M-4 - Mechanical Roof Plan | 23 34 23 - Hvac Power Ventilators
27 | Install Exhaust Fan (EF-7) | Decentralized HVAC Equipment | Pending | M-3 - Mechanical Third And Fourth Floor Plans | 23 34 23 - Hvac Power Ventilators
28 | Install Exhaust Fans | Decentralized HVAC Equipment | Pending | NO. E-2 - Electrical Panels And Schedules,NO. E-3 - Electrical Plans First And Second Floor,NO. M-5 - Mechanical Enlarged Plans | 23 34 23 - Hvac Power Ventilators
29 | Install Exhaust Fans (EF-7 and EF-8) | Decentralized HVAC Equipment | Pending | NO. M-2 - Mechanical First & Second Floor Plans | 23 34 23 - Hvac Power Ventilators
30 | Install Exhaust Fan Thermostat Controls | Decentralized HVAC Equipment | Pending | E-6 - Electrical Enlarged Plans
34 | Install Fan Coil Units (FCU) | Decentralized HVAC Equipment | Pending | M-6 - Mechanical Sections And Details
39 | Install Guest Bath Exhaust Systems including Fans, Vents, Grilles, and Ductwork | Decentralized HVAC Equipment | Pending | A480 - Guestroom Plans And Elevations Standard Single Queen,NO. A483 - Guestroom Plans And Elevations Accessible Double Queen,NO. A482 - Guestroom Plans And Elevations Standard Double Queen,A481 - Guestroom Plans And Elevations Accessible Single Queen | 23 31 13 - Metal Ducts,23 34 23 - Hvac Power Ventilators
41 | Install Heat Pump (HP-4) | Decentralized HVAC Equipment | Pending | NO. E-2 - Electrical Panels And Schedules | 23 81 26 - Split-system Heat Pumps
42 | Install Heat Pumps (HP-1 through HP-5) | Decentralized HVAC Equipment | Pending | E-5 - Electrical Plans Roof,M-4 - Mechanical Roof Plan | 23 81 26 - Split-system Heat Pumps
43 | Install Heat Pump Units | Decentralized HVAC Equipment | Pending | A103 - Roof Plan,M-6 - Mechanical Sections And Details | 23 81 26 - Split-system Heat Pumps
48 | Install HVAC Equipment per Schedules (FCU, HP, PTAC, Fans, Unit Heaters, OAU) | Decentralized HVAC Equipment | Pending | M-1 - Mechanical Notes, Schedules, And Legends | 23 74 33 - Dedicated Outdoor-air Units,23 81 13.11 - Packaged Terminal Air-conditioners,23 81 26 - Split-system Heat Pumps
57 | Install Packaged Terminal Air Conditioners (PTAC) | Decentralized HVAC Equipment | Pending | P-7 - Plumbing Enlarged Plans,NO. A482 - Guestroom Plans And Elevations Standard Double Queen,NO. E-2 - Electrical Panels And Schedules,NO. M-5 - Mechanical Enlarged Plans,A481 - Guestroom Plans And Elevations Accessible Single Queen,NO. E-3 - Electrical Plans First And Second Floor,A480 - Guestroom Plans And Elevations Standard Single Queen,NO. A483 - Guestroom Plans And Elevations Accessible Double Queen,NO. P-2 - Plumbing Waste And Vent Plans 1st And 2nd Floor | 23 81 13.11 - Packaged Terminal Air-conditioners
58 | Install Packaged Terminal Air Conditioners (PTAC-1 and PTAC-2) | Decentralized HVAC Equipment | Pending | M-3 - Mechanical Third And Fourth Floor Plans,NO. M-2 - Mechanical First & Second Floor Plans | 23 81 13.11 - Packaged Terminal Air-conditioners
59 | Install Packaged Terminal Air Conditioners (PTAC) with Flush Exterior Grilles | Decentralized HVAC Equipment | Pending | A610 - Window Schedule And Details | 23 81 13.11 - Packaged Terminal Air-conditioners
60 | Install Packaged Units | Decentralized HVAC Equipment | Pending | M-6 - Mechanical Sections And Details | 23 81 13.11 - Packaged Terminal Air-conditioners
61 | Install PTAC Sub-Bases | Decentralized HVAC Equipment | Pending | A610 - Window Schedule And Details | 23 81 13.11 - Packaged Terminal Air-conditioners
67 | Install Supplemental Electric Heat Systems | Decentralized HVAC Equipment | Pending | NO. E-2 - Electrical Panels And Schedules | 23 82 39.19 - Wall And Ceiling Unit Heaters
71 | Install Thermostats | Decentralized HVAC Equipment | Pending | NO. M-5 - Mechanical Enlarged Plans,G003 - Mounting Heights
72 | Install Thermostats with Occupancy Sensors | Decentralized HVAC Equipment | Pending | A481 - Guestroom Plans And Elevations Accessible Single Queen,NO. A483 - Guestroom Plans And Elevations Accessible Double Queen
73 | Install Unit Heater (BH-1) | Decentralized HVAC Equipment | Pending | M-4 - Mechanical Roof Plan | 23 82 39.19 - Wall And Ceiling Unit Heaters
79 | Provide HVAC Systems including Exhaust Ducts and Equipment | Decentralized HVAC Equipment | Pending | A111 - Partition Diagrams First & Typical Floors | 23 31 13 - Metal Ducts,23 34 23 - Hvac Power Ventilators
3 | Install 1 1/2 and 2" Natural Gas Piping" | Facility Fuel Systems | Pending | P-7 - Plumbing Enlarged Plans | 23 11 23 - Facility Natural-gas Piping
35 | Install Final Gas Connection to DOAS-1 Unit | Facility Fuel Systems | Pending | P-4 - Plumbing Water Plans First And Third Floors | 23 74 33 - Dedicated Outdoor-air Units
38 | Install Gas Pressure Regulator (GPR) | Facility Fuel Systems | Pending | P-6 - Plumbing Water And Gas Risers | 23 11 23 - Facility Natural-gas Piping
54 | Install Natural Gas Piping for Guest Dryers | Facility Fuel Systems | Pending | NO. A415 - Fitness & Guest Laundry Plans & Elevs,A416 - Breakroom And Laundry Enlarged Plans & Elevs | 23 11 23 - Facility Natural-gas Piping
55 | Install Natural Gas Piping System and Connections | Facility Fuel Systems | Pending | P-6 - Plumbing Water And Gas Risers | 23 11 23 - Facility Natural-gas Piping
78 | Provide Gas Building Connection | Facility Fuel Systems | Pending | C5.0 - Utility Plan | 23 11 23 - Facility Natural-gas Piping
13 | Install Broan 885BL Wall Caps with Backdraft Dampers | HVAC Air Distribution | Pending | M-4 - Mechanical Roof Plan | 23 37 23 - Hvac Gravity Ventilators
14 | Install Ceiling Radiation Dampers in Fire-Rated Assemblies | HVAC Air Distribution | Pending | M-3 - Mechanical Third And Fourth Floor Plans,NO. M-2 - Mechanical First & Second Floor Plans | 23 33 00 - Air Duct Accessories
15 | Install Combination Fire/Smoke Dampers and Sleeves in Fire-Rated Walls | HVAC Air Distribution | Pending | NO. M-5 - Mechanical Enlarged Plans | 23 33 00 - Air Duct Accessories
16 | Install Combustion Air Termination with 90-Degree Turn Down | HVAC Air Distribution | Pending | NO. M-5 - Mechanical Enlarged Plans | 23 33 00 - Air Duct Accessories
20 | Install Dryer Exhaust Systems | HVAC Air Distribution | Pending | A101 - Floor Plans First & Second Floors | 23 34 23 - Hvac Power Ventilators
21 | Install Ductwork for Dedicated Outdoor Air System (DOAS) Shaft | HVAC Air Distribution | Pending | A103 - Roof Plan,NO. A460 - Elevator Plans & Sections,A400 - Enlarged Lobby Plan And Rcp | 23 31 13 - Metal Ducts,23 33 00 - Air Duct Accessories,23 74 33 - Dedicated Outdoor-air Units
22 | Install Ductwork Routed in Soffits, Plenums, and TJI Spaces | HVAC Air Distribution | Pending | NO. M-5 - Mechanical Enlarged Plans | 23 31 13 - Metal Ducts
23 | Install Ductwork Supports per SMACNA Standards | HVAC Air Distribution | Pending | M-6 - Mechanical Sections And Details
31 | Install Exhaust Hoods | HVAC Air Distribution | Pending | A103 - Roof Plan | 23 34 23 - Hvac Power Ventilators
32 | Install Exterior Ductwork | HVAC Air Distribution | Pending | M-4 - Mechanical Roof Plan | 23 31 13 - Metal Ducts
33 | Install Exterior Wall Caps and Terminations | HVAC Air Distribution | Pending | NO. M-5 - Mechanical Enlarged Plans | 23 34 23 - Hvac Power Ventilators
36 | Install Fire Dampers and Sleeves in Fire-Rated Walls | HVAC Air Distribution | Pending | NO. M-5 - Mechanical Enlarged Plans | 23 33 00 - Air Duct Accessories
37 | Install Fire Smoke Dampers (FSD) | HVAC Air Distribution | Pending | M-3 - Mechanical Third And Fourth Floor Plans | 23 33 00 - Air Duct Accessories
4 | Install 1-1/2 Thick R-3.5 Internal Duct Liner" | HVAC Air Distribution | Pending | M-4 - Mechanical Roof Plan
40 | Install Hangers and Supports for Ductwork | HVAC Air Distribution | Pending | M-1 - Mechanical Notes, Schedules, And Legends | 23 31 13 - Metal Ducts
45 | Install Horizontal Discharge Roof Curb Plenums | HVAC Air Distribution | Pending | M-4 - Mechanical Roof Plan | 23 33 00 - Air Duct Accessories
46 | Install HVAC Ductwork | HVAC Air Distribution | Pending | G002 - General Information | 23 31 13 - Metal Ducts
47 | Install HVAC Ductwork, Accessories, and Insulation | HVAC Air Distribution | Pending | A101 - Floor Plans First & Second Floors | 23 31 13 - Metal Ducts,23 33 00 - Air Duct Accessories
49 | Install HVAC Grilles, Registers, and Diffusers | HVAC Air Distribution | Pending | NO. M-5 - Mechanical Enlarged Plans,A121 - Reflected Ceiling Plans First & Typical Floors | 23 33 00 - Air Duct Accessories
5 | Install 3 Thick R-6 External Insulation on Ductwork" | HVAC Air Distribution | Pending | M-4 - Mechanical Roof Plan
52 | Install Motorized Dampers | HVAC Air Distribution | Pending | NO. E-2 - Electrical Panels And Schedules,NO. M-5 - Mechanical Enlarged Plans | 23 33 00 - Air Duct Accessories
53 | Install Motorized Dampers and Damper Motors | HVAC Air Distribution | Pending | E-6 - Electrical Enlarged Plans | 23 33 00 - Air Duct Accessories
56 | Install No. 26 Gauge Galvanized Steel Restroom Exhaust Ductwork | HVAC Air Distribution | Pending | NO. M-2 - Mechanical First & Second Floor Plans,M-3 - Mechanical Third And Fourth Floor Plans | 23 31 13 - Metal Ducts
6 | Install Air Device (ERA-006) | HVAC Air Distribution | Pending | NO. A414 - Enlarged Vending & Hydration Plans & Elevs | 23 33 00 - Air Duct Accessories
64 | Install Roof Hoods (RH-1 and RH-2) | HVAC Air Distribution | Pending | M-4 - Mechanical Roof Plan | 23 37 23 - Hvac Gravity Ventilators
68 | Install Supply and Return Metal Ductwork | HVAC Air Distribution | Pending | M-6 - Mechanical Sections And Details | 23 31 13 - Metal Ducts
69 | Install Supply Diffusers | HVAC Air Distribution | Pending | M-3 - Mechanical Third And Fourth Floor Plans | 23 33 00 - Air Duct Accessories
7 | Install Air Device (ERA-008) | HVAC Air Distribution | Pending | NO. A414 - Enlarged Vending & Hydration Plans & Elevs | 23 33 00 - Air Duct Accessories
70 | Install Supply Diffusers (SD-2) | HVAC Air Distribution | Pending | NO. M-2 - Mechanical First & Second Floor Plans | 23 33 00 - Air Duct Accessories
74 | Install Unpainted Aluminum Field Jacket on Exterior Ductwork | HVAC Air Distribution | Pending | M-4 - Mechanical Roof Plan | 23 31 13 - Metal Ducts
8 | Install Air Duct Accessories (Grilles, Registers, Volume Dampers, Flexible Connectors) | HVAC Air Distribution | Pending | M-6 - Mechanical Sections And Details | 23 33 00 - Air Duct Accessories
12 | Install Booster Pump | HVAC Piping and Pumps | Pending | E-6 - Electrical Enlarged Plans
44 | Install Heat Trace System | HVAC Piping and Pumps | Pending | E-6 - Electrical Enlarged Plans
51 | Install Mechanical Systems including Piping and Conduit | HVAC Piping and Pumps | Pending | A102 - Floor Plans Third & Fourth Floors | 23 31 13 - Metal Ducts
62 | Install Refrigerant Line Sets for Split Systems | HVAC Piping and Pumps | Pending | M-1 - Mechanical Notes, Schedules, And Legends | 23 81 26 - Split-system Heat Pumps
63 | Install Refrigerant Piping including Liquid and Suction Lines | HVAC Piping and Pumps | Pending | M-6 - Mechanical Sections And Details
75 | Perform Testing, Adjusting, and Balancing (TAB) of New HVAC Systems | Operation and Maintenance of HVAC Systems | Pending | M-1 - Mechanical Notes, Schedules, And Legends
76 | Program Fans to Run Continuously | Operation and Maintenance of HVAC Systems | Pending | NO. E-4 - Electrical Plans Third And Fourth Floor | 23 34 23 - Hvac Power Ventilators
1 | All Document References for Mechanical | Others | Pending | G004 - Life Safety First & Typical Floor Plan,P-7 - Plumbing Enlarged Plans,E-6 - Electrical Enlarged Plans,L1.0 - Landscape Plan,A121 - Reflected Ceiling Plans First & Typical Floors,S104 - Roof Framing Plan,M-4 - Mechanical Roof Plan,A411 - Enlarged Lobby Finish Plan,P-6 - Plumbing Water And Gas Risers,M-1 - Mechanical Notes, Schedules, And Legends,NO. A415 - Fitness & Guest Laundry Plans & Elevs,A480 - Guestroom Plans And Elevations Standard Single Queen,P-4 - Plumbing Water Plans First And Third Floors,A111 - Partition Diagrams First & Typical Floors,A300 - Building Sections,A481 - Guestroom Plans And Elevations Accessible Single Queen,G002 - General Information,NO. A131 - Floor Finish Plans First & Typical Floors,A610 - Window Schedule And Details,NO. P-2 - Plumbing Waste And Vent Plans 1st And 2nd Floor,E-5 - Electrical Plans Roof,NO. E-4 - Electrical Plans Third And Fourth Floor,C5.0 - Utility Plan,NO. A460 - Elevator Plans & Sections,S002 - Typical Details,A102 - Floor Plans Third & Fourth Floors,M-3 - Mechanical Third And Fourth Floor Plans,NO. A482 - Guestroom Plans And Elevations Standard Double Queen,A400 - Enlarged Lobby Plan And Rcp,NO. E-2 - Electrical Panels And Schedules,NO. M-2 - Mechanical First & Second Floor Plans,A103 - Roof Plan,NO. E-3 - Electrical Plans First And Second Floor,A416 - Breakroom And Laundry Enlarged Plans & Elevs,NO. A414 - Enlarged Vending & Hydration Plans & Elevs,NO. M-5 - Mechanical Enlarged Plans,A101 - Floor Plans First & Second Floors,NO. A483 - Guestroom Plans And Elevations Accessible Double Queen,G003 - Mounting Heights,A501 - Roof Details,M-6 - Mechanical Sections And Details,C3.0 - Site Plan,NO. E-7 - Fire Alarm System Plans,NO. A510 - Interior Details | 23 31 13 - Metal Ducts,23 74 33 - Dedicated Outdoor-air Units,23 33 00 - Air Duct Accessories,23 34 23 - Hvac Power Ventilators,23 81 26 - Split-system Heat Pumps,23 11 23 - Facility Natural-gas Piping,23 81 13.11 - Packaged Terminal Air-conditioners,23 37 23 - Hvac Gravity Ventilators,23 82 39.19 - Wall And Ceiling Unit Heaters,undefined - ,23 37 13.13 - Air Diffusers,23 37 13.23 - Air Registers And Grilles
50 | Install Mechanical Pipe and Duct Sleeves Through Concrete | Others | Pending | S002 - Typical Details
66 | Install Separate Support Wires for Mechanical Equipment | Others | Pending | NO. A510 - Interior Details
77 | Provide Final Connection to Factory-Mounted Disconnects for Fans | Others | Pending | NO. E-4 - Electrical Plans Third And Fourth Floor | 23 34 23 - Hvac Power Ventilators

## Plumbing
Item # | Bid Item Description | Category | Status | Drawing Reference | Specification Reference
1 | All Document References for Plumbing | Others | Pending | C5. - Private Pump Station And Storage Tank Detail,P-7 - Plumbing Enlarged Plans,C2.2 - Final Erosion Control Plan (north),A490 - Guestroom Restroom Plans And Elevations,A500 - Exterior Details,P-5 - Plumbing Waste & Vent Risers,P-1 - Plumbing Notes And Legends,M-1 - Mechanical Notes, Schedules, And Legends,P-6 - Plumbing Water And Gas Risers,NO. P-3 - Plumbing Waste And Vent Plans 3rd And 4th Floor,A480 - Guestroom Plans And Elevations Standard Single Queen,NO. A415 - Fitness & Guest Laundry Plans & Elevs,P-4 - Plumbing Water Plans First And Third Floors,A111 - Partition Diagrams First & Typical Floors,A481 - Guestroom Plans And Elevations Accessible Single Queen,G002 - General Information,NO. A131 - Floor Finish Plans First & Typical Floors,NO. P-2 - Plumbing Waste And Vent Plans 1st And 2nd Floor,NO. S001 - General Notes,G006 - Assembly Penetration Details,C5.0 - Utility Plan,NO. A460 - Elevator Plans & Sections,S002 - Typical Details,A102 - Floor Plans Third & Fourth Floors,NO. A482 - Guestroom Plans And Elevations Standard Double Queen,A400 - Enlarged Lobby Plan And Rcp,NO. E-2 - Electrical Panels And Schedules,A103 - Roof Plan,A416 - Breakroom And Laundry Enlarged Plans & Elevs,NO. A414 - Enlarged Vending & Hydration Plans & Elevs,NO. M-5 - Mechanical Enlarged Plans,A101 - Floor Plans First & Second Floors,G003 - Mounting Heights,A492 - Interior Details,A501 - Roof Details,S301 - Sections,M-6 - Mechanical Sections And Details,A440 - Enlarged Public Restroom Plans,NO. A510 - Interior Details | 22 11 16 - Domestic Water Piping,22 13 16 - Sanitary Waste And Vent Piping,22 42 23 - Commercial Showers,22 42 16.16 - Commercial Sinks,22 42 13.13 - Commercial Water Closets,22 05 17 - Sleeves And Sleeve Seals For Plumbing Piping,22 13 19.13 - Sanitary Drains,22 34 00 - Fuel-fired, Domestic-water Heaters,22 11 23 - Domestic Water Pumps,22 11 19 - Domestic Water Piping Specialties,22 13 19 - Sanitary Waste Piping Specialties,22 05 19 - Meters And Gages For Plumbing Piping,22 05 13 - Common Motor Requirements For Plumbing Equipment,undefined - ,22 05 18 - Escutcheons For Plumbing Piping,22 05 23.12 - Ball Valves For Plumbing Piping,22 05 23.14 - Check Valves For Plumbing Piping,22 05 23.15 - Gate Valves For Plumbing Piping,22 05 29 - Hangers And Supports For Plumbing Piping And Equipment,22 05 53 - Identification For Plumbing Piping And Equipment,22 07 16 - Plumbing Equipment Insulation,undefined - ,undefined -
10 | Furnish and Install BP-1 Compact Duplex Booster Pump System (Towel Whitney TW2018U-150G-40) | Plumbing Equipment | Pending | P-1 - Plumbing Notes And Legends | 22 11 23 - Domestic Water Pumps
11 | Furnish and Install Condensate Disposal Sump Pump System | Plumbing Equipment | Pending | P-1 - Plumbing Notes And Legends,NO. P-2 - Plumbing Waste And Vent Plans 1st And 2nd Floor
15 | Furnish and Install Domestic Water Booster Pump | Plumbing Equipment | Pending | NO. E-2 - Electrical Panels And Schedules | 22 11 23 - Domestic Water Pumps
16 | Furnish and Install Domestic Water Heater | Plumbing Equipment | Pending | NO. E-2 - Electrical Panels And Schedules | 22 34 00 - Fuel-fired, Domestic-water Heaters
19 | Furnish and Install Elevator Pit Sump Pump System | Plumbing Equipment | Pending | P-1 - Plumbing Notes And Legends,NO. A460 - Elevator Plans & Sections
25 | Furnish and Install Heat Trace System | Plumbing Equipment | Pending | NO. E-2 - Electrical Panels And Schedules
27 | Furnish and Install Lint Interceptor | Plumbing Equipment | Pending | P-5 - Plumbing Waste & Vent Risers,NO. P-2 - Plumbing Waste And Vent Plans 1st And 2nd Floor | 22 13 19 - Sanitary Waste Piping Specialties
39 | Furnish and Install Reduced Pressure (RP) Backflow Preventer | Plumbing Equipment | Pending | P-6 - Plumbing Water And Gas Risers | 22 11 19 - Domestic Water Piping Specialties
4 | Furnish and Install (3) WH-1,2,3 Gas Tankless Water Heaters (Intellihot IN501) | Plumbing Equipment | Pending | P-1 - Plumbing Notes And Legends | 22 34 00 - Fuel-fired, Domestic-water Heaters
61 | Furnish and Install Water Filter System | Plumbing Equipment | Pending | NO. E-2 - Electrical Panels And Schedules | 22 11 19 - Domestic Water Piping Specialties
63 | Furnish and Install Water Heater (WH-1) | Plumbing Equipment | Pending | P-7 - Plumbing Enlarged Plans | 22 34 00 - Fuel-fired, Domestic-water Heaters
64 | Furnish and Install Water Heater WH-2 | Plumbing Equipment | Pending | P-6 - Plumbing Water And Gas Risers | 22 34 00 - Fuel-fired, Domestic-water Heaters
72 | Install 3 Reduced Pressure Principle Backflow Assembly for Domestic Water" | Plumbing Equipment | Pending | C5.0 - Utility Plan | 22 11 19 - Domestic Water Piping Specialties
8 | Furnish and Install Backflow Preventer (BP-1) | Plumbing Equipment | Pending | P-7 - Plumbing Enlarged Plans | 22 11 19 - Domestic Water Piping Specialties
105 | Provide Final Plumbing Connections for Owner-Furnished Eye Wash Station | Plumbing Fixtures | Pending | A400 - Enlarged Lobby Plan And Rcp | 22 11 16 - Domestic Water Piping,22 13 19.13 - Sanitary Drains
13 | Furnish and Install Diverter Valve (Signature Hardware 953056) with Trim for P-3H | Plumbing Fixtures | Pending | P-1 - Plumbing Notes And Legends | 22 11 19 - Domestic Water Piping Specialties
14 | Furnish and Install Diverter Valve (Signature Hardware 953056) with Trim for P-4H | Plumbing Fixtures | Pending | P-1 - Plumbing Notes And Legends | 22 11 19 - Domestic Water Piping Specialties
18 | Furnish and Install Electric Water Coolers | Plumbing Fixtures | Pending | G003 - Mounting Heights | 22 11 16 - Domestic Water Piping
24 | Furnish and Install General Plumbing Fixtures | Plumbing Fixtures | Pending | A101 - Floor Plans First & Second Floors,NO. P-2 - Plumbing Waste And Vent Plans 1st And 2nd Floor,NO. A131 - Floor Finish Plans First & Typical Floors | 22 42 13.13 - Commercial Water Closets,22 42 16.16 - Commercial Sinks
26 | Furnish and Install Hydration Station | Plumbing Fixtures | Pending | NO. A414 - Enlarged Vending & Hydration Plans & Elevs,A400 - Enlarged Lobby Plan And Rcp | 22 11 16 - Domestic Water Piping,22 13 16 - Sanitary Waste And Vent Piping
30 | Furnish and Install P-1 Two-Piece Elongated Toilet (Signature Hardware SHBD200WH/SHBD240WH) | Plumbing Fixtures | Pending | P-1 - Plumbing Notes And Legends | 22 42 13.13 - Commercial Water Closets
31 | Furnish and Install P-2H ADA 21 Undermount Bathroom Sink (Signature Hardware SHBYU1812)" | Plumbing Fixtures | Pending | P-1 - Plumbing Notes And Legends | 22 42 16.16 - Commercial Sinks
32 | Furnish and Install P-3H ADA 60x30" Vikrell Tub and Shower Unit (Sterling 71240125)" | Plumbing Fixtures | Pending | P-1 - Plumbing Notes And Legends | 22 42 23 - Commercial Showers
33 | Furnish and Install P-4H ADA 64x40" Roll-In Shower Unit (Sterling 62070115)" | Plumbing Fixtures | Pending | P-1 - Plumbing Notes And Legends | 22 42 23 - Commercial Showers
34 | Furnish and Install Plumbing Fixture (ELK-001) | Plumbing Fixtures | Pending | A416 - Breakroom And Laundry Enlarged Plans & Elevs | 22 42 16.16 - Commercial Sinks
35 | Furnish and Install Plumbing Fixture (PL-812) | Plumbing Fixtures | Pending | NO. A414 - Enlarged Vending & Hydration Plans & Elevs | 22 11 16 - Domestic Water Piping,22 13 16 - Sanitary Waste And Vent Piping
36 | Furnish and Install Plumbing Fixtures, Including Sinks (SNK-003) | Plumbing Fixtures | Pending | A481 - Guestroom Plans And Elevations Accessible Single Queen | 22 42 16.16 - Commercial Sinks
37 | Furnish and Install Pressure Balance Shower Faucet Valve (SH4001) with Trim for P-4H | Plumbing Fixtures | Pending | P-1 - Plumbing Notes And Legends | 22 11 19 - Domestic Water Piping Specialties
38 | Furnish and Install Pressure Balance Tub and Shower Faucet Valve (SH4001) with Trim for P-3H | Plumbing Fixtures | Pending | P-1 - Plumbing Notes And Legends | 22 11 19 - Domestic Water Piping Specialties
41 | Furnish and Install Shower Pans | Plumbing Fixtures | Pending | A492 - Interior Details | 22 42 23 - Commercial Showers
42 | Furnish and Install Shower SHR-002 | Plumbing Fixtures | Pending | A490 - Guestroom Restroom Plans And Elevations | 22 42 23 - Commercial Showers
43 | Furnish and Install Shower Trim for P-3H | Plumbing Fixtures | Pending | P-1 - Plumbing Notes And Legends | 22 11 19 - Domestic Water Piping Specialties
44 | Furnish and Install Shower Trim for P-4H | Plumbing Fixtures | Pending | P-1 - Plumbing Notes And Legends | 22 11 19 - Domestic Water Piping Specialties
46 | Furnish and Install Single Hole Faucet with Pop-Up Drain Assembly (Signature Hardware SHWSCBW100) | Plumbing Fixtures | Pending | P-1 - Plumbing Notes And Legends | 22 11 19 - Domestic Water Piping Specialties
47 | Furnish and Install Sink SNK-001 | Plumbing Fixtures | Pending | A490 - Guestroom Restroom Plans And Elevations | 22 42 16.16 - Commercial Sinks
48 | Furnish and Install Sink (SNK-006) | Plumbing Fixtures | Pending | A416 - Breakroom And Laundry Enlarged Plans & Elevs | 22 42 16.16 - Commercial Sinks
49 | Furnish and Install Sink Type SINK-004 | Plumbing Fixtures | Pending | A440 - Enlarged Public Restroom Plans
5 | Furnish and Install Accessible Lavatories | Plumbing Fixtures | Pending | G003 - Mounting Heights | 22 42 16.16 - Commercial Sinks
51 | Furnish and Install Trim for P-1 Water Closet | Plumbing Fixtures | Pending | P-1 - Plumbing Notes And Legends | 22 11 19 - Domestic Water Piping Specialties
52 | Furnish and Install Trim for P-2H Lavatory | Plumbing Fixtures | Pending | P-1 - Plumbing Notes And Legends | 22 11 19 - Domestic Water Piping Specialties
53 | Furnish and Install Tub Pans Per Plan | Plumbing Fixtures | Pending | A492 - Interior Details | 22 42 23 - Commercial Showers
54 | Furnish and Install Tubs Per Plan | Plumbing Fixtures | Pending | A492 - Interior Details | 22 42 23 - Commercial Showers
55 | Furnish and Install Tubs TUB-001 and TUB-002 | Plumbing Fixtures | Pending | A490 - Guestroom Restroom Plans And Elevations | 22 42 23 - Commercial Showers
59 | Furnish and Install Water Closet Type WCL-002 | Plumbing Fixtures | Pending | A440 - Enlarged Public Restroom Plans
6 | Furnish and Install Accessible Showers with Controls and Hand Shower | Plumbing Fixtures | Pending | G003 - Mounting Heights | 22 42 23 - Commercial Showers
60 | Furnish and Install Water Closet WCL-001 | Plumbing Fixtures | Pending | A490 - Guestroom Restroom Plans And Elevations | 22 42 13.13 - Commercial Water Closets
7 | Furnish and Install ADA Insulation Covers for P-2H Lavatory | Plumbing Fixtures | Pending | P-1 - Plumbing Notes And Legends
80 | Install Closet Flanges and Floor-Mounted Water Closets | Plumbing Fixtures | Pending | G006 - Assembly Penetration Details | 22 42 13.13 - Commercial Water Closets
83 | Install Freezeless Yard Hydrant | Plumbing Fixtures | Pending | C5. - Private Pump Station And Storage Tank Detail | 22 11 19 - Domestic Water Piping Specialties
86 | Install Owner-Procured Plumbing Fixtures and Accessories | Plumbing Fixtures | Pending | A480 - Guestroom Plans And Elevations Standard Single Queen | 22 42 13.13 - Commercial Water Closets,22 42 16.16 - Commercial Sinks,22 42 23 - Commercial Showers
88 | Install Plumbing Fixture Type PL-813 | Plumbing Fixtures | Pending | NO. A415 - Fitness & Guest Laundry Plans & Elevs
100 | Install Underslab Sump Pump Discharge Piping to Exterior | Plumbing Piping | Pending | NO. P-2 - Plumbing Waste And Vent Plans 1st And 2nd Floor | 22 13 16 - Sanitary Waste And Vent Piping
101 | Install Vent Piping Through Roof | Plumbing Piping | Pending | NO. P-3 - Plumbing Waste And Vent Plans 3rd And 4th Floor,A103 - Roof Plan | 22 13 16 - Sanitary Waste And Vent Piping
102 | Install Wall Cleanouts | Plumbing Piping | Pending | P-5 - Plumbing Waste & Vent Risers,P-7 - Plumbing Enlarged Plans | 22 13 19 - Sanitary Waste Piping Specialties
103 | Install Water Closet Waste Lines Concealed in Wall Chases | Plumbing Piping | Pending | G002 - General Information | 22 13 16 - Sanitary Waste And Vent Piping
104 | Provide 3 Domestic Water Building Connection" | Plumbing Piping | Pending | C5.0 - Utility Plan | 22 11 16 - Domestic Water Piping
106 | Provide Gas Piping Connections for Dryers | Plumbing Piping | Pending | P-4 - Plumbing Water Plans First And Third Floors
107 | Provide General Plumbing Rough-In and Final Connections | Plumbing Piping | Pending | A111 - Partition Diagrams First & Typical Floors,A101 - Floor Plans First & Second Floors,P-1 - Plumbing Notes And Legends | 22 11 16 - Domestic Water Piping,22 13 16 - Sanitary Waste And Vent Piping,22 42 13.13 - Commercial Water Closets,22 42 16.16 - Commercial Sinks,22 42 23 - Commercial Showers
108 | Provide Plumbing Connections for Dishwashers | Plumbing Piping | Pending | NO. P-2 - Plumbing Waste And Vent Plans 1st And 2nd Floor,NO. A482 - Guestroom Plans And Elevations Standard Double Queen | 22 11 16 - Domestic Water Piping,22 13 16 - Sanitary Waste And Vent Piping
109 | Provide Plumbing Connections for Laundry Equipment | Plumbing Piping | Pending | P-4 - Plumbing Water Plans First And Third Floors,A416 - Breakroom And Laundry Enlarged Plans & Elevs,NO. A415 - Fitness & Guest Laundry Plans & Elevs | 22 11 16 - Domestic Water Piping,22 13 16 - Sanitary Waste And Vent Piping
110 | Reroute and Extend Existing Plumbing Piping for New Equipment | Plumbing Piping | Pending | G002 - General Information | 22 11 16 - Domestic Water Piping,22 13 16 - Sanitary Waste And Vent Piping
12 | Furnish and Install Copper Manifolds for Water Distribution | Plumbing Piping | Pending | P-4 - Plumbing Water Plans First And Third Floors | 22 11 19 - Domestic Water Piping Specialties
17 | Furnish and Install Domestic Water Piping (Copper or CPVC) | Plumbing Piping | Pending | P-6 - Plumbing Water And Gas Risers | 22 11 16 - Domestic Water Piping
2 | Furnish and Install 1/2 PEX-a (Uponor) Domestic Water Piping" | Plumbing Piping | Pending | P-4 - Plumbing Water Plans First And Third Floors | 22 11 16 - Domestic Water Piping
20 | Furnish and Install Floor Drain FD (Zurn ZN4152NHBP) with Trap Primer Connection | Plumbing Piping | Pending | P-1 - Plumbing Notes And Legends | 22 13 19.13 - Sanitary Drains
21 | Furnish and Install Floor Drains | Plumbing Piping | Pending | A492 - Interior Details,P-5 - Plumbing Waste & Vent Risers | 22 13 19.13 - Sanitary Drains
22 | Furnish and Install Floor Drains, Types P-3H and P-5 | Plumbing Piping | Pending | NO. P-3 - Plumbing Waste And Vent Plans 3rd And 4th Floor | 22 13 19.13 - Sanitary Drains,22 13 19 - Sanitary Waste Piping Specialties
23 | Furnish and Install Gas Pressure Regulators | Plumbing Piping | Pending | P-1 - Plumbing Notes And Legends,P-4 - Plumbing Water Plans First And Third Floors | 22 11 19 - Domestic Water Piping Specialties
28 | Furnish and Install Miscellaneous Accessories, Valves, and Water Hammer Arrestors | Plumbing Piping | Pending | P-1 - Plumbing Notes And Legends | 22 11 19 - Domestic Water Piping Specialties
29 | Furnish and Install Normally Closed Valve for Bypass Loop | Plumbing Piping | Pending | P-6 - Plumbing Water And Gas Risers | 22 11 19 - Domestic Water Piping Specialties
3 | Furnish and Install 3/4 Gas Piping to Roof" | Plumbing Piping | Pending | P-4 - Plumbing Water Plans First And Third Floors
40 | Furnish and Install Secondary Drain Pans with Float Switches | Plumbing Piping | Pending | M-1 - Mechanical Notes, Schedules, And Legends | 22 13 19.13 - Sanitary Drains
45 | Furnish and Install Shutoff Valves and Brass Ball Valves | Plumbing Piping | Pending | P-6 - Plumbing Water And Gas Risers | 22 11 19 - Domestic Water Piping Specialties
50 | Furnish and Install Tempering Mixing Valves (TMV) | Plumbing Piping | Pending | P-6 - Plumbing Water And Gas Risers | 22 11 19 - Domestic Water Piping Specialties
56 | Furnish and Install Underground Plumbing | Plumbing Piping | Pending | NO. A510 - Interior Details | 22 13 16 - Sanitary Waste And Vent Piping
57 | Furnish and Install Underslab Type 'K' Soft Drawn Water Piping | Plumbing Piping | Pending | P-1 - Plumbing Notes And Legends | 22 11 16 - Domestic Water Piping
58 | Furnish and Install Uponor PEX Piping as Homeruns | Plumbing Piping | Pending | P-6 - Plumbing Water And Gas Risers | 22 11 16 - Domestic Water Piping
62 | Furnish and Install Water Hammer Arrestors at Washer Connections | Plumbing Piping | Pending | P-6 - Plumbing Water And Gas Risers | 22 11 19 - Domestic Water Piping Specialties
65 | Install 1 1/2 Hot Water Return Piping" | Plumbing Piping | Pending | P-7 - Plumbing Enlarged Plans | 22 11 16 - Domestic Water Piping
66 | Install 1/2 Polyethylene Domestic Water Piping" | Plumbing Piping | Pending | P-7 - Plumbing Enlarged Plans | 22 11 16 - Domestic Water Piping
67 | Install 1 Polyvinyl Chloride Yard Hydrant Line" | Plumbing Piping | Pending | C5.0 - Utility Plan | 22 11 16 - Domestic Water Piping
68 | Install 2 Polyvinyl Chloride Valve Vault Drain" | Plumbing Piping | Pending | C5. - Private Pump Station And Storage Tank Detail | 22 13 16 - Sanitary Waste And Vent Piping
69 | Install 3 Domestic Water Meter" | Plumbing Piping | Pending | C5.0 - Utility Plan | 22 05 19 - Meters And Gages For Plumbing Piping
70 | Install 3 Domestic Water Service Piping" | Plumbing Piping | Pending | P-7 - Plumbing Enlarged Plans | 22 11 16 - Domestic Water Piping
71 | Install 3 Ductile Iron Pipe Domestic Water Line" | Plumbing Piping | Pending | C5.0 - Utility Plan | 22 11 16 - Domestic Water Piping
73 | Install 3 Waste and Vent Stack" | Plumbing Piping | Pending | P-7 - Plumbing Enlarged Plans | 22 13 16 - Sanitary Waste And Vent Piping
74 | Install 4 90-Degree Vertical Bend Piping" | Plumbing Piping | Pending | C5. - Private Pump Station And Storage Tank Detail | 22 13 16 - Sanitary Waste And Vent Piping
75 | Install 4 Check Valve and 4" Plug Shut-Down Valve" | Plumbing Piping | Pending | C5. - Private Pump Station And Storage Tank Detail | 22 13 19 - Sanitary Waste Piping Specialties
76 | Install 4 Ductile Iron Pipe Gas Vent" | Plumbing Piping | Pending | C5. - Private Pump Station And Storage Tank Detail | 22 13 16 - Sanitary Waste And Vent Piping
77 | Install 4 Floor Drains with Sediment Bucket (JR Smith Model 2420 or similar)" | Plumbing Piping | Pending | NO. P-2 - Plumbing Waste And Vent Plans 1st And 2nd Floor | 22 13 19.13 - Sanitary Drains
78 | Install 6 Maximum Sleeves Through Concrete Footings for Plumbing Lines" | Plumbing Piping | Pending | S301 - Sections | 22 05 17 - Sleeves And Sleeve Seals For Plumbing Piping
79 | Install Cleanouts at Base of Waste Risers | Plumbing Piping | Pending | NO. P-2 - Plumbing Waste And Vent Plans 1st And 2nd Floor,P-5 - Plumbing Waste & Vent Risers | 22 13 19 - Sanitary Waste Piping Specialties,22 13 16 - Sanitary Waste And Vent Piping
81 | Install Condensate Drain Piping System for HVAC Equipment | Plumbing Piping | Pending | M-1 - Mechanical Notes, Schedules, And Legends,P-7 - Plumbing Enlarged Plans,NO. P-2 - Plumbing Waste And Vent Plans 1st And 2nd Floor,M-6 - Mechanical Sections And Details | 22 13 16 - Sanitary Waste And Vent Piping
82 | Install Floor Drains with Half Grate for Indirect Condensate Waste | Plumbing Piping | Pending | NO. P-2 - Plumbing Waste And Vent Plans 1st And 2nd Floor | 22 13 19.13 - Sanitary Drains
84 | Install Metallic Piping (Steel, Cast Iron, Copper) | Plumbing Piping | Pending | G006 - Assembly Penetration Details | 22 11 16 - Domestic Water Piping,22 13 16 - Sanitary Waste And Vent Piping
85 | Install Nonmetallic Piping (PVC, CPVC, ABS, PEX) | Plumbing Piping | Pending | G006 - Assembly Penetration Details | 22 11 16 - Domestic Water Piping,22 13 16 - Sanitary Waste And Vent Piping
87 | Install Pipe Sleeves for Penetrations Through Concrete | Plumbing Piping | Pending | NO. S001 - General Notes,S002 - Typical Details | 22 05 17 - Sleeves And Sleeve Seals For Plumbing Piping
89 | Install Plumbing Systems Including Routing of Pipes | Plumbing Piping | Pending | A102 - Floor Plans Third & Fourth Floors | 22 11 16 - Domestic Water Piping,22 13 16 - Sanitary Waste And Vent Piping
9 | Furnish and Install Backflow Prevention or Anti-Siphon Devices | Plumbing Piping | Pending | P-1 - Plumbing Notes And Legends | 22 11 19 - Domestic Water Piping Specialties
90 | Install Plumbing Vent Stacks | Plumbing Piping | Pending | A501 - Roof Details | 22 13 16 - Sanitary Waste And Vent Piping
91 | Install P-Traps for Condensate Drain Lines | Plumbing Piping | Pending | P-7 - Plumbing Enlarged Plans | 22 13 19 - Sanitary Waste Piping Specialties
92 | Install Roof Drainage Downspouts | Plumbing Piping | Pending | A500 - Exterior Details | 22 13 19.13 - Sanitary Drains
93 | Install Sanitary Waste and Vent Piping System | Plumbing Piping | Pending | NO. P-2 - Plumbing Waste And Vent Plans 1st And 2nd Floor,P-5 - Plumbing Waste & Vent Risers | 22 13 16 - Sanitary Waste And Vent Piping
94 | Install Schedule 80 CPVC for Direct Venting of Water Heaters | Plumbing Piping | Pending | NO. M-5 - Mechanical Enlarged Plans | 22 34 00 - Fuel-fired, Domestic-water Heaters
95 | Install Sleeves at Downspouts | Plumbing Piping | Pending | S301 - Sections | 22 05 17 - Sleeves And Sleeve Seals For Plumbing Piping
96 | Install Storm Drain System Including Piping and Drain Inlets | Plumbing Piping | Pending | C2.2 - Final Erosion Control Plan (north)
97 | Install Trap Primers on Floor Drains | Plumbing Piping | Pending | P-5 - Plumbing Waste & Vent Risers,P-6 - Plumbing Water And Gas Risers | 22 11 19 - Domestic Water Piping Specialties,22 13 19.13 - Sanitary Drains
98 | Install Trap Primer System Piping | Plumbing Piping | Pending | NO. P-2 - Plumbing Waste And Vent Plans 1st And 2nd Floor | 22 11 19 - Domestic Water Piping Specialties
99 | Install Underground Schedule 40 PVC Storm Piping | Plumbing Piping | Pending | A500 - Exterior Details | 22 13 16 - Sanitary Waste And Vent Piping