## Electrical
Scope Item | Contract Items (Derived From)
[1] Electrical Demolition | 4: Provide coordination services with the utility provider for the removal of overhead electrical utilities as required by the Contract Documents. 5: Contractor shall provide for the removal of the existing power pole in accordance with the Demolition Plan. 6: Provide for the removal of existing exterior light fixtures as specified in the Contract Documents. 7: Contractor shall provide for the demolition and removal of all interior electrical systems, equipment, and appurtenances as indicated.
[2] Site Electrical & Utilities | 3: Contractor shall furnish and install site electrical wiring, conduit, and connections in accordance with the Contract Documents. 8: furnish and install the proposed electrical service connection, conduit, and wiring in accordance with the Contract Documents. 9: Contractor shall furnish and install underground electrical sleeves and conduits below paving and walks as detailed. 10: Provide underground on-site electrical wiring and cables in accordance with the Contract Documents. 11: Contractor shall furnish and install underground electrical wiring and cables as specified. 12: furnish and install underground conduit and wiring for all on-site electrical systems in accordance with the Contract Documents. 13: Contractor shall provide electrical power and data connections for LED display units as detailed. 36: Provide roof penetrations and sleeves for electrical equipment and conduit in accordance with the Contract Documents. 37: Contractor shall furnish and install galvanized electrical pipe conduit as specified. 48: furnish and install identification for electrical systems in accordance with the Contract Documents. 144: furnish and install the utility transformer in accordance with the Contract Documents. 145: Contractor shall furnish and install the Utility Transformer as detailed. 147: Contractor shall furnish and install an Underground Electrical Conduit Raceway System in accordance with the Contract Documents. 197: Contractor shall furnish and install a new utility transformer as specified. 211: Contractor shall furnish and install 24 inch x 18 inch x 18 inch minimum electrical handholes with engraved covers as detailed.
[3] Building Electrical Systems | 1: Contractor shall provide a complete electrical system compliant with the 2023 Michigan Electrical Code and in accordance with the Contract Documents. 2: furnish and install a complete electrical distribution system, including panelboards, raceways, and wiring, as specified. 14: furnish and install an electrical distribution system, including panelboards and feeders, in accordance with the Contract Documents. 16: Provide a complete electrical system, including power, lighting, and devices, in accordance with the Contract Documents. 17: Contractor shall furnish and install a complete electrical system including lighting, power, and devices as detailed. 18: Provide electrical systems in accordance with the Contract Documents. 19: Contractor shall provide a complete electrical system as specified. 21: Contractor shall provide complete electrical systems, including power, lighting, and distribution, in accordance with the Contract Documents. 38: Provide electrical systems fit-out for Electrical Room 125 in accordance with the Contract Documents. 43: Contractor shall provide electrical service connections for casework and owner-furnished equipment in accordance with the Contract Documents. 45: Contractor shall provide a complete electrical system, including power and lighting, in accordance with the Contract Documents.
[4] Plumbing & HVAC Electrical Support | 67: Contractor shall provide a complete electrical system in accordance with the Contract Documents. 68: Provide complete electrical systems for the project as specified. 69: Contractor shall provide the general electrical scope of work in accordance with the Contract Documents. 70: furnish and install the Electrical system as detailed. 85: Contractor shall provide the complete electrical system scope of work as specified.
[5] Interior Lighting Fixtures | 15: Contractor shall furnish and install the interior lighting system and associated controls as specified. 22: furnish and install electrical fixtures, including necessary coordination for placement in ceiling grids and exposed structures. 23: Contractor shall furnish and install electrical fixtures and speakers as specified. 24: Provide wall-mounted linear fixtures in accordance with the Contract Documents. 25: Contractor shall furnish and install wall-mounted linear fixtures as detailed. 26: furnish and install ceiling-mounted electrical fixtures, coordinated with the ceiling grid and other trades, as specified. 28: furnish and install interior lighting fixtures in accordance with the Contract Documents. 31: Contractor shall furnish and install interior lighting fixtures, including high bay and decorative pendants, as detailed. 34: furnish and install wall-mounted linear light fixtures in accordance with the Contract Documents. 35: Contractor shall furnish and install ceiling-mounted electrical fixtures, centered in ceiling grids, as detailed. 40: furnish and install light fixtures in accordance with the Contract Documents. 59: Contractor shall furnish and install can lighting as specified. 62: furnish and install suspended linear lighting fixtures as specified.
[6] General Lighting Systems | 98: furnish and install interior lighting fixtures as specified. 114: furnish and install interior, exterior, emergency, and exit lighting systems and controls as detailed. 152: furnish and install lighting fixtures in the elevator pit as specified. 162: furnish and install general interior lighting fixtures (Type LF) in accordance with the Contract Documents. 196: Provide power distribution for lighting loads as detailed. 205: Contractor shall furnish and install interior and site lighting fixtures, including fixtures with integrated sensors, as detailed. 215: Contractor shall furnish and install interior LED light fixtures as per schedule and specifications. 221: Contractor shall furnish and install interior lighting fixtures for Areas A, B, and C as detailed. 228: furnish and install interior lighting systems as detailed. 230: furnish and install interior lighting systems and controls in accordance with the Contract Documents. 307: furnish and install interior, exterior, and emergency lighting systems as specified.
[7] Specialty Lighting (Cabinet/Food/Hood) | 49: Contractor shall furnish and install an under-cabinet lighting system as detailed. 60: furnish and install under cabinet lighting in accordance with the Contract Documents. 248: Contractor shall furnish and install a lighting system to achieve minimum 70 and 50 footcandle levels as required by the Contract Documents. 249: furnish and install shatterproof light fixtures or shields in food preparation and storage areas as detailed. 255: furnish and install heat lamps and LED lighting for the breath guard as detailed. 268: Contractor shall furnish and install LED lighting systems with drivers as specified. 269: furnish and install 48 inch 120V heat lamps in accordance with the Contract Documents. 272: Contractor shall furnish and install recessed round light fixtures in the kitchen hood in accordance with the Contract Documents. 274: Contractor shall furnish and install recessed round LED light fixtures (3500K) as specified.
[8] Lighting Controls | 101: Contractor shall furnish and install lighting control devices as specified. 151: Contractor shall furnish and install a lighting control system including local switching and exterior photocell as detailed. 155: Contractor shall furnish and install local switching and lighting control devices as specified. 160: furnish and install the local lighting control switching scheme as detailed. 163: Contractor shall furnish and install high bay mounted occupancy sensors with daylight harvesting capabilities in the gym as detailed. 164: furnish and install light switches as specified. 181: Contractor shall furnish and install motion sensors for lighting control as detailed. 200: Provide power to the lighting controller as specified. 203: Contractor shall furnish and install a complete lighting control system including controller, power packs, and wireless communication between zones as specified. 204: furnish and install occupancy/photocell sensors and dimming switches for the lighting control system in accordance with the Contract Documents. 267: furnish and install switches for equipment control as detailed. 273: furnish and install switches for the hood light and fan as detailed.
[9] Emergency & Exterior Lighting | 92: Provide emergency and exit lighting systems in accordance with the Contract Documents. 103: Contractor shall furnish and install exterior lighting fixtures as detailed. 142: Provide unswitched power to emergency battery packs, lighting inverters, and emergency lighting units in accordance with the Contract Documents. 149: Contractor shall furnish and install generator transfer devices for life safety lighting systems as specified. 150: furnish and install life safety and emergency lighting systems in accordance with the Contract Documents. 153: Contractor shall furnish and install generator transfer devices (Bodine GTD20A or equal) for life safety lighting systems in accordance with the Contract Documents. 154: furnish and install life safety and emergency lighting fixtures as detailed. 158: furnish and install a Generator Transfer Device (BODINE GTD20A or equal) for life safety lighting as specified. 159: Contractor shall furnish and install life safety lighting fixtures (Type LFEM) in accordance with the Contract Documents. 165: Contractor shall furnish and install life safety lighting fixtures in accordance with the Contract Documents. 166: furnish and install exit signs as detailed. 217: Contractor shall furnish and install exit signs and the emergency egress lighting system as detailed. 222: furnish and install outdoor wallpack lighting fixtures as specified. 231: Contractor shall furnish and install exterior lighting systems as detailed.
[10] Power Distribution Equipment | 20: furnish and install electrical distribution equipment, including panelboards and transformers, in Electrical Room 240 as detailed. 91: Contractor shall furnish and install electrical panelboards as specified. 99: Contractor shall furnish and install low-voltage transformers in accordance with the Contract Documents. 112: furnish and install the electrical distribution system, including panelboards, transformers, and transfer switches, in accordance with the Contract Documents. 146: furnish and install Electrical Panels with Main and Branch Breakers as specified. 156: furnish and install electrical panelboards LPA, LPB, and LPC in accordance with the Contract Documents. 161: Contractor shall furnish and install panelboards including types LPB and LP-EM as specified. 189: Contractor shall furnish and install electrical distribution panels including MDP2, 1RPA, and 2RPB in accordance with the Contract Documents. 191: Contractor shall furnish and install a new 200A panel '1RPA' (120/208V, 3-phase, 4W) as specified. 192: furnish and install receptacle distribution panels in accordance with the Contract Documents. 193: Contractor shall furnish and install a 25kVA transformer (480V primary to 120/208V secondary) as detailed. 195: Contractor shall furnish and install a CT cabinet for utility metering in accordance with the Contract Documents. 212: furnish and install the main distribution panel (MDP) and distribution panel (DP) as specified. 213: Contractor shall provide 480/277V, 3-phase main electrical service and feeders in accordance with the Contract Documents. 218: furnish and install Panelboard 1LPC, 480/277V, 35kAIC rating, as specified.
[11] Additional Panelboards | 224: furnish and install panelboards including MDP, 1LPC, 1LPB, and T-OP as detailed. 284: Contractor shall furnish and install an electrical control panel in accordance with the Contract Documents. 290: Contractor shall furnish and install electrical panels in accordance with the Contract Documents. 296: Contractor shall furnish and install a UL 508A listed, NEMA 1 rated Demand Control Ventilation Hood Control Panel in accordance with the Contract Documents. 305: furnish and install panelboards, transformers, and wiring devices in accordance with the Contract Documents.
[12] Disconnects, Fuses & Surge Protection | 100: furnish and install enclosed switches and circuit breakers as detailed. 105: Contractor shall provide surge protection for low-voltage electrical power circuits as specified. 108: furnish and install fuses for electrical equipment in accordance with the Contract Documents. 129: Contractor shall furnish and install disconnect switches for mechanical equipment as specified. 131: Contractor shall furnish and install disconnect switches for mechanical equipment as detailed. 219: Contractor shall furnish and install integral surge protection devices (SPD) per NEC requirements and as detailed. 220: furnish and install GFCI breakers for all specified circuits in accordance with the Contract Documents. 225: Contractor shall provide integral surge protection devices for electrical panels as required by NEC and the Contract Documents. 229: Contractor shall furnish and install integral surge protection devices for panelboards as specified. 259: furnish and install fused quick disconnects adjacent to foodservice equipment not in line of sight of the electrical panel as specified. 280: Contractor shall furnish and install a service disconnect switch for mechanical equipment as specified.
[13] Floor Boxes | 52: furnish and install electrical floor boxes in accordance with the Contract Documents. 53: Contractor shall furnish and install floor boxes as detailed. 55: Contractor shall furnish and install electrical floor boxes as specified. 56: furnish and install floor boxes in accordance with the Contract Documents. 57: Contractor shall furnish and install floor boxes as detailed. 202: furnish and install tombstone style floor receptacles as detailed.
[14] Wiring Devices - General | 102: furnish and install wiring devices in accordance with the Contract Documents. 139: Contractor shall furnish and install specification grade, hard use, and tamper-resistant receptacles in accordance with the Contract Documents. 140: furnish and install Ground Fault Circuit Interrupter (GFCI) receptacles or breakers as required and detailed. 148: furnish and install an 18 inch by 24 inch NEMA 3R Box with Quad Receptacle as detailed. 173: Contractor shall furnish and install wiring devices including weatherproof outlets and standard receptacles as specified. 180: furnish and install electrical receptacles in accordance with the Contract Documents. 201: Contractor shall furnish and install 208V, 1-phase, NEMA Type 6-20R receptacles in accordance with the Contract Documents. 223: Contractor shall furnish and install general purpose receptacles and power connections for equipment in accordance with the Contract Documents. 226: furnish and install general and specialty receptacles as specified. 242: Contractor shall furnish and install 220V electrical circuit(s) in accordance with the Contract Documents. 299: furnish and install pass-thru electrical outlets in accordance with the Contract Documents.
[15] Equipment Power Connections | 33: Contractor shall provide electrical power for motorized flexshades as specified. 39: Contractor shall provide electrical power connections for Electric Water Coolers (EWC) as detailed. 42: furnish and install lighting, light switches, and GFCI outlets in the elevator machine space and pit as detailed. 44: Provide final connections for electrical services within casework as specified. 46: furnish and install electrical rough-in and final connections for equipment and casework as detailed. 47: Contractor shall provide electrical rough-in and connections for casework and associated equipment as specified. 50: Provide electrical outlets as per electrical drawings and in accordance with the Contract Documents. 58: Provide power and AV inputs for equipment in accordance with the Contract Documents. 61: Contractor shall provide electrical power for AV equipment as detailed. 63: Contractor shall provide power connections for equipment and AV systems in accordance with the Contract Documents. 64: Provide electrical connections for the owner-furnished medical fridge, including connection to generator power, as detailed. 65: Contractor shall provide coordination of electrical rough-ins for devices located in casework as specified.
[16] Specialty Power Connections | 186: Provide a power connection for the ADA door opener and related hardware in accordance with the Contract Documents. 187: Contractor shall provide a duplex receptacle for the digital sign as detailed. 240: Contractor shall provide raceway and power connection for digital signage as detailed. 244: Contractor shall furnish and install duplex receptacles for projector power as specified. 263: furnish and install ground fault protection (GFCI) for all receptacles in kitchen and serving areas in accordance with the Contract Documents. 264: Contractor shall provide electrical connections and receptacles for foodservice equipment, including NEMA 5-15P, as detailed. 288: Contractor shall furnish and install optional 120 VAC appliance kill switches as detailed.
[17] Conduit & Raceways | 27: Contractor shall provide electrical systems, including conduit, wiring, and boxes, in areas with open-to-structure painted ceilings. 51: Contractor shall furnish and install exposed electrical conduit as specified. 54: Provide raceways and boxes for electrical systems in accordance with the Contract Documents. 97: Contractor shall furnish and install raceways and boxes for electrical systems in accordance with the Contract Documents. 104: Provide sleeves and sleeve seals for electrical raceways and cabling in accordance with the Contract Documents. 106: Provide hangers and supports for electrical systems in accordance with the Contract Documents. 113: Contractor shall furnish and install electrical raceways, boxes, conductors, and wiring devices as specified. 119: Contractor shall furnish and install electrical conduit and raceways for mechanical equipment as specified. 134: furnish and install minimum 1/2 inch electrical conduit for power feeds as detailed. 135: Contractor shall furnish and install liquid-tight flexible metallic conduit for final connections to vibrating equipment as specified. 143: Contractor shall furnish and install cable tray systems as shown on equipment provider drawings and as specified. 157: Contractor shall furnish and install raceways, conductors, and supports for electrical power distribution as detailed. 179: Contractor shall furnish and install electrical junction boxes as specified.
[18] Conductors & Wiring | 136: furnish and install copper conductors for all power, lighting, and control circuits in accordance with the Contract Documents. 137: Contractor shall provide dedicated neutral conductors for all electrical circuits as detailed. 138: furnish and install equipment grounding conductors for all power and lighting circuits as specified. 194: furnish and install feeder conduit (2-1/2 inch C) with 3/0 conductors and ground as specified. 209: Contractor shall furnish and install a complete grounding and bonding system including ground rods, ground bus, and conductors as specified. 210: furnish and install low voltage and power conductors including #3/0 AWG, #4 AWG, and #6 CU in accordance with the Contract Documents. 214: Provide branch circuit wiring, conduit, and devices as detailed. 216: Provide a modular wiring system for light fixtures in accordance with the Contract Documents. 283: furnish and install electrical wiring and conductors as specified. 293: furnish and install AC power wiring and conductors in accordance with the Contract Documents. 303: furnish and install low-voltage electrical power conductors and cables as detailed.
[19] Boxes & Rough-in | 207: Contractor shall furnish and install electrical conduit systems including stub-ups below grade, above ceiling, and connections to cable tray in accordance with the Contract Documents. 208: furnish and install various electrical boxes including floor boxes, TV back boxes, and back boxes with mud rings as detailed. 232: furnish and install (2) 4-inch electrical conduits to the second level IDF room as specified. 270: Contractor shall furnish and install wire chase/raceways for electrical wiring as detailed. 294: Contractor shall furnish and install electrical boxes, terminals, and connections as detailed. 300: Contractor shall furnish and install 1/2 inch empty conduit raceway from wall to above ceiling as detailed. 301: furnish and install electrical boxes and conduit for remote pull stations as specified. 302: Contractor shall provide raceways, boxes, hangers, and supports for electrical systems in accordance with the Contract Documents.
[20] Fire Alarm & Life Safety | 29: Contractor shall furnish and install low voltage devices, including speakers, smoke detectors, and thermal detectors, as specified. 30: Provide smoke and thermal detectors in accordance with the Contract Documents. 32: furnish and install speakers, smoke detectors, and thermal detectors in accordance with the Contract Documents. 66: furnish and install wiring for all fire suppression water flow switches, valve supervisory switches, and smoke detectors to the main fire alarm panel. 75: Contractor shall furnish and install fire alarm notification appliances, including strobes and bells, as specified. 76: Provide electrical connections to fire suppression supervisory switches in accordance with the Contract Documents. 82: furnish and install and connect smoke detectors in accordance with the Contract Documents. 133: Contractor shall furnish and install duct smoke detectors on return air systems in accordance with the Contract Documents. 276: Contractor shall provide electrical hookup and connections for fire suppression system components as detailed. 289: Provide electrical connections for the Ansul solenoid as specified.
[21] Generators & Emergency Power | 73: Contractor shall provide power and control wiring to the generator as detailed. 89: Contractor shall furnish and install gas-engine-driven generator sets in accordance with the Contract Documents. 90: furnish and install transfer switches for emergency power systems as detailed. 206: furnish and install the emergency power system including UL924/1008 generator transfer device and life safety circuits as specified. 306: Contractor shall furnish and install the gas-engine-driven generator set and transfer switches as detailed.
[22] HVAC Electrical Connections (Power) | 83: Contractor shall provide power wiring to HVAC equipment as detailed. 86: Provide power wiring to HVAC equipment, including RTU-5 and CUH-3, in accordance with the Contract Documents. 109: Contractor shall provide electrical connections for new mechanical equipment, including the AC unit, fan coil unit, and condensate pumps, as specified. 110: Provide power wiring to mechanical equipment, including VAV boxes and RTUs, in accordance with the Contract Documents. 115: Contractor shall provide electrical power connections for new mechanical equipment in accordance with the Contract Documents. 125: Contractor shall provide power wiring to all mechanical equipment, including fans, compressors, and heaters, in accordance with the Contract Documents. 130: Provide power wiring, conduit, and connections for mechanical equipment in accordance with the Contract Documents. 174: Provide electrical power connection for the Air Conditioning unit (AC-1) in accordance with the Contract Documents. 176: Provide electrical power connection for the Unit Heater (UHS) as specified. 182: Provide a 208V power connection for the Fan Coil Unit (FCU-1) as specified. 190: Provide power distribution and connections for HVAC loads as detailed. 278: Contractor shall furnish and install power wiring and NEMA safety disconnect switches for all mechanical equipment in accordance with the Contract Documents. 281: Provide power and control wiring for the mechanical unit, including flex conduit and ECM wiring package, in accordance with the Contract Documents. 282: Contractor shall provide final power connections to mechanical equipment as detailed.
[23] HVAC Controls & VFDs | 84: Provide control wiring to interlock fire/smoke dampers with air handling units in accordance with the Contract Documents. 87: Contractor shall provide control wiring for the new thermostat as detailed. 94: furnish and install variable-frequency motor controllers (VFDs) in accordance with the Contract Documents. 111: Contractor shall provide low-voltage control wiring for thermostats and the HVAC control system as detailed. 117: Contractor shall provide power wiring and connections for Variable Frequency Drives (VFDs) as detailed. 118: Provide power and control wiring for mechanical equipment and the Building Automation System (BAS) in accordance with the Contract Documents. 121: Contractor shall furnish and install a control panel for mechanical equipment as detailed. 122: furnish and install Variable Frequency Drives (VFDs) for hot water distribution pumps as specified. 124: Provide pump failure detection and automatic lag pump start functionality, including current switches and BAS alarm integration, as detailed. 126: furnish and install motor starters for ignition devices and other required equipment as specified. 128: furnish and install Variable Frequency Drives (VFDs) for pumps and other mechanical equipment in accordance with the Contract Documents. 132: furnish and install motor starters for mechanical equipment as specified. 178: Provide electrical power connection for the fire/smoke damper as detailed. 185: Contractor shall provide a power connection for the fire/smoke damper as specified. 279: Provide ECM wiring packages for mechanical units as detailed.
[24] Boiler & Mechanical Safety | 71: Contractor shall furnish and install the Electric Heater (EH.1) as specified. 72: furnish and install an Emergency Power Off (EPO) switch for the domestic water heater and boiler in accordance with the Contract Documents. 78: furnish and install an aquastat for pump control as specified. 88: furnish and install an electrical outlet for the kiln exhaust system (115V/1PH/1.4A) as specified. 116: furnish and install a boiler Emergency Power Off (EPO) switch as specified. 123: Contractor shall furnish and install boiler emergency shutdown switch(es) in accordance with the Contract Documents. 127: Contractor shall provide power and control wiring for electric heating and electrostatic devices as detailed. 198: furnish and install a boiler emergency-stop system including contactor and associated components in accordance with the Contract Documents.
[25] Plumbing Electrical Connections | 74: Provide a complete electrical system including conduit, wiring, devices, panelboards, and lighting in accordance with the Contract Documents. 77: Contractor shall furnish and install a high water alarm system as detailed. 79: Contractor shall provide electrical connections for all mechanical and plumbing equipment in accordance with the Contract Documents. 80: furnish and install electrical disconnects for equipment as required by the Contract Documents. 81: Contractor shall provide hard-wired electrical connections for sensor-operated faucets and electric water coolers as specified.
[26] Technology & AV Infrastructure | 233: Contractor shall provide power connections to electrified door hardware and educational equipment in accordance with the Contract Documents. 234: Contractor shall furnish and install a NEMA rated enclosure for network equipment as detailed. 235: furnish and install ceiling boxes for data drops as specified. 236: Contractor shall furnish and install gang boxes for gym audio visual speakers in accordance with the Contract Documents. 237: furnish and install 2 inch sleeves for data cabling pathways as detailed. 238: Contractor shall furnish and install ceiling boxes for low voltage systems as specified. 239: Provide raceway and power wiring to AV ceiling box locations in accordance with the Contract Documents. 241: Provide electrical rough-in and power connection for the security camera under the canopy as specified. 243: furnish and install electrical boxes and mudrings for low voltage and power devices as detailed. 245: Provide electrical power connections for AV equipment including projector, touch unit, and amplifier in accordance with the Contract Documents. 246: Contractor shall provide electrical power connections for AV equipment, including display, conference camera, and collaboration PC, as detailed. 247: furnish and install double gang wall boxes as specified.
[27] AV & Equipment Mounts | 168: Provide electrical power, switches, and connections for basketball hoop motors in accordance with the Contract Documents. 169: Contractor shall provide electrical power to the projector mount as detailed. 170: Provide electrical power and final connection for the movable stage as specified. 172: Provide power to the projector mount and technology box as detailed. 177: Contractor shall provide electrical power connections for the projector mount and technology box in accordance with the Contract Documents. 183: Contractor shall provide a power connection for the projector mount in accordance with the Contract Documents. 184: Provide a power connection for the technology box as detailed.
[28] Food Service Electrical (Rough-in & Connections) | 250: Contractor shall provide electrical power connections for all foodservice equipment as specified. 251: Provide electrical rough-in for the owner-provided Point of Sale system in accordance with the Contract Documents. 252: Contractor shall provide electrical rough-in and final connections for foodservice equipment as detailed. 253: Provide electrical connections to the junction box for hood lights and controls as specified. 254: Contractor shall furnish and install a low voltage data line for the Point of Sale system in accordance with the Contract Documents. 256: Contractor shall provide electrical rough-in and connections for all food service equipment as specified. 257: furnish and install all wiring, conduit, junction boxes, and electrical outlets for foodservice equipment in accordance with the Contract Documents. 258: Contractor shall furnish and install Kitchen Equipment Contractor (KEC) furnished control panels, starters, solenoid valves, and disconnect switches as detailed. 260: Contractor shall furnish and install 6-foot pigtail flex conduit and provide caps and cords for final connection to foodservice equipment in accordance with the Contract Documents. 261: furnish and install shunt trip breakers for all electrical service to equipment under exhaust hoods as detailed. 262: Contractor shall furnish and install a dedicated grounding wire to all foodservice equipment as specified. 265: Provide final electrical power supply connections to equipment as specified. 266: Contractor shall furnish and install junction boxes for equipment power connections in accordance with the Contract Documents. 271: Provide electrical connections for the kitchen hood, fan, and fire suppression system as specified. 275: Provide power wiring and connections for equipment in accordance with the Contract Documents.
[29] Kitchen Hood Electrical | 199: Contractor shall furnish and install shunt trip breakers for all receptacles under the kitchen hood as detailed. 277: furnish and install a wired shunt trip breaker for the kitchen equipment interlock with the fire suppression system as specified. 285: furnish and install circuit breakers as detailed. 286: Contractor shall furnish and install an optional 120 VAC shunt trip breaker as specified. 287: furnish and install low-voltage DC and signaling wiring in separate conduit in accordance with the Contract Documents. 291: furnish and install circuit breakers, including shunt trip mechanisms, as detailed. 292: Contractor shall furnish and install low-voltage signaling and control wire in separate conduit from AC sources as specified. 295: furnish and install electrical switches and control devices, including dry contacts, as specified. 297: furnish and install a shunt trip breaker for appliance shutdown upon fire system activation as detailed. 298: Contractor shall provide audible and visual alarms for VFD faults and sensor failures, and an energy savings indicator, as specified.
[30] Elevator & Kiln Connections | 41: Contractor shall provide 15-amp fused service to the elevator control cabinet as specified. 167: Contractor shall provide electrical power and connections for the elevator system, including rated shunt trip and lighting disconnects, as specified. 227: Contractor shall provide electrical connections for elevator equipment, including disconnect and lighting, in accordance with the Contract Documents. 175: Contractor shall provide electrical power connection for the Art Kiln (208V, 9984W) as detailed.

## Mechanical
Scope Item | Contract Items (Derived From)
[1] General HVAC Systems (Area A & Overall) | 1: Contractor shall furnish and install the HVAC system, including the boiler and pressure vessels, in accordance with the Contract Documents. 3: Contractor shall provide mechanical systems and equipment as detailed in the Contract Documents. 17: Contractor shall furnish and install HVAC systems, including ductwork and equipment for general building areas, as specified in the Contract Documents. 20: Furnish and install complete mechanical HVAC system per the drawings and Contract Documents. 41: Contractor shall furnish and install a complete HVAC system, including equipment, ductwork, and controls, as specified in the Contract Documents. 44: Furnish and install a complete Mechanical/HVAC system in accordance with the Contract Documents. 49: Contractor shall furnish and install a complete Mechanical / HVAC system as specified in the Contract Documents. 50: Provide complete Mechanical/HVAC systems for the project in strict accordance with the Contract Documents. 256: Provide complete HVAC system including all equipment, ductwork, and controls in strict accordance with the Contract Documents.
[2] General HVAC Systems (Area C & Misc) | 21: Contractor shall furnish and install mechanical HVAC systems in accordance with the Contract Documents. 22: Provide a complete Mechanical (HVAC) system as specified in the Contract Documents. 23: Contractor shall provide HVAC system and equipment as detailed in the Contract Documents. 24: Furnish and install mechanical systems and equipment for MECH room 200 in accordance with the Contract Documents. 51: Contractor shall provide general mechanical scope of work as required by the Contract Documents. 52: Furnish and install Mechanical HVAC system in accordance with the Contract Documents. 264: Provide allowance for undefined mechanical scope in strict accordance with the Contract Documents.
[3] Supply and Return Ductwork | 2: Provide HVAC ductwork through corridors constructed of .019" thick metal, in strict accordance with the Contract Documents. 9: Contractor shall furnish and install HVAC ductwork systems as specified in the Contract Documents. 14: Provide mechanical ductwork for heating and ventilation systems in accordance with the Contract Documents. 26: Provide ductwork in areas with exposed structure ceilings in strict accordance with the Contract Documents. 28: Furnish and install ductwork in exposed ceiling areas in accordance with the Contract Documents. 29: Contractor shall furnish and install HVAC ductwork, coordinated with structure and other trades, as specified in the Contract Documents. 31: Contractor shall provide HVAC ductwork as detailed in the Contract Documents. 36: Furnish and install HVAC ductwork in areas with exposed structure ceilings in accordance with the Contract Documents. 64: Furnish and install HVAC ductwork for supply, return, and exhaust air systems in accordance with the Contract Documents. 72: Furnish and install HVAC supply, return, and exhaust ductwork in accordance with the Contract Documents.
[4] Exhaust and General Ductwork | 76: Furnish and install Supply Air (SA) ductwork in accordance with the Contract Documents. 77: Contractor shall furnish and install Return Air (RA) ductwork as specified in the Contract Documents. 78: Provide Exhaust Air (EA) ductwork in strict accordance with the Contract Documents. 88: Furnish and install supply, return, and exhaust air ductwork in accordance with the Contract Documents. 150: Provide HVAC sheet metal ductwork system, including flexible duct, in strict accordance with the Contract Documents. 159: Contractor shall provide return air ductwork, including fittings and turning vanes, as required by the Contract Documents. 206: Furnish and install supply ductwork system with static pressure control in accordance with the Contract Documents. 211: Contractor shall furnish and install mechanical ventilation system including supply fans as specified in the Contract Documents. 231: Contractor shall furnish and install HVAC ductwork and casings as specified in the Contract Documents. 263: Contractor shall furnish and install HVAC ductwork systems and accessories as specified in the Contract Documents.
[5] Kitchen and Specialty Exhaust Ductwork | 18: Provide kitchen exhaust and make-up air system in strict accordance with the Contract Documents. 19: Contractor shall provide specialty high-temperature exhaust system for the Kiln room as required by the Contract Documents. 270: Furnish and install exhaust ventilation system and hoods in accordance with the Contract Documents. 275: Contractor shall furnish and install kitchen exhaust hoods as specified in the Contract Documents. 276: Provide ventilation ductwork, fans, and final connections for foodservice equipment in strict accordance with the Contract Documents. 280: Provide exhaust riser ductwork in strict accordance with the Contract Documents. 281: Contractor shall provide supply riser ductwork with volume damper as required by the Contract Documents. 287: Contractor shall furnish and install grease ductwork between exhaust riser on hood and fan as specified in the Contract Documents. 291: Contractor shall furnish and install supply ductwork meeting SMACNA and AMCA standards as specified in the Contract Documents. 297: Contractor shall provide ductwork for exhaust system as required by the Contract Documents.
[6] General Ventilation and Flue Ductwork | 39: Contractor shall provide mechanical exhaust/ventilator ductwork as detailed in the Contract Documents. 43: Contractor shall provide hoistway and machine space ventilation system per code requirements and the Contract Documents. 53: Contractor shall furnish and install concentric vent system for combustion and vent air as specified in the Contract Documents. 55: Contractor shall provide combustion air intake and exhaust vent system as detailed in the Contract Documents. 57: Contractor shall furnish and install combustion air intake system for fuel-fired equipment as specified in the Contract Documents. 58: Provide galvanized sheet metal ductwork, minimum 26 gauge, in strict accordance with the Contract Documents. 89: Contractor shall furnish and install 4" dryer vent routed through the roof as specified in the Contract Documents. 138: Provide 10" combustion air ducting through roof in strict accordance with the Contract Documents. 139: Contractor shall provide 12" vent ducting through roof as detailed in the Contract Documents. 265: Contractor shall provide mechanical ventilation system for all toilet rooms as required by the Contract Documents.
[7] Air Distribution Devices | 25: Contractor shall furnish and install mechanical grilles and diffusers as specified in the Contract Documents. 27: Contractor shall provide mechanical grilles and diffusers as required by the Contract Documents. 30: Provide mechanical grilles and diffusers in strict accordance with the Contract Documents. 32: Furnish and install air distribution devices, including mechanical grilles and diffusers, in accordance with the Contract Documents. 34: Provide mechanical grilles, registers, and diffusers in strict accordance with the Contract Documents. 35: Contractor shall provide mechanical grilles and diffusers, centered within ceiling grids, as required by the Contract Documents. 46: Provide HVAC grilles and diffusers in strict accordance with the Contract Documents. 47: Contractor shall provide HVAC grilles and diffusers as detailed in the Contract Documents. 48: Furnish and install grilles and diffusers in accordance with the Contract Documents. 66: Provide air outlets and inlets for HVAC systems in strict accordance with the Contract Documents. 73: Contractor shall furnish and install air outlets and inlets, including grilles, as specified in the Contract Documents. 80: Furnish and install air devices including supply diffusers and grilles in accordance with the Contract Documents. 99: Contractor shall provide air outlets and inlets including diffusers, grilles, and registers as detailed in the Contract Documents. 238: Furnish and install air terminal units, diffusers, grilles, and registers in accordance with the Contract Documents. 247: Contractor shall furnish and install HVAC air outlets and inlets (vents/diffusers) as specified in the Contract Documents.
[8] Duct Accessories and Dampers | 59: Contractor shall provide balance dampers for each diffuser, grille, and branch duct as required by the Contract Documents. 151: Contractor shall provide HVAC ductwork accessories including dampers and diffusers as required by the Contract Documents. 174: Provide economizer system with enthalpy controls and modulating outdoor air dampers in strict accordance with the Contract Documents. 187: Contractor shall furnish and install economizer with modulating mixed and outdoor air dampers as specified in the Contract Documents. 241: Contractor shall provide fire/smoke dampers as required by the Contract Documents. 246: Furnish and install fire/smoke damper in ductwork in accordance with the Contract Documents. 249: Contractor shall provide fire/smoke damper as required by the Contract Documents. 259: Contractor shall furnish and install smoke dampeners for all specified areas as specified in the Contract Documents. 278: Furnish and install perforated supply plenums for hood in accordance with the Contract Documents. 284: Provide duct fire thermostat with 12-foot wire leads in strict accordance with the Contract Documents. 288: Provide grease box and grease drain for exhaust system in strict accordance with the Contract Documents. 289: Contractor shall provide motorized backdraft damper for AI-D housing as required by the Contract Documents. 292: Provide 16' x 18' motorized back draft damper in strict accordance with the Contract Documents.
[9] Packaged Rooftop Units (RTU) | 8: Furnish and install packaged rooftop unit (RTU-2) in accordance with the Contract Documents. 10: Provide packaged rooftop air-conditioning units (RTUs) in strict accordance with the Contract Documents. 37: Contractor shall furnish and install Rooftop Mechanical Equipment (RTU, EF, ERU, MAU) as specified in the Contract Documents. 40: Furnish and install mechanical units in accordance with the Contract Documents. 69: Contractor shall furnish and install packaged rooftop air-conditioning unit (RTU-5) as specified in the Contract Documents. 97: Contractor shall furnish and install Rooftop Unit (RTU-3) as specified in the Contract Documents. 101: Contractor shall furnish and install rooftop unit (RTU) as specified in the Contract Documents. 225: Contractor shall provide Roof Top Units (RTUs) as required by the Contract Documents. 250: Furnish and install rooftop unit (RTU-1) in accordance with the Contract Documents. 260: Provide HVAC equipment including EF-1, MAU-1, CUH-1, RTUs, and ERUs in strict accordance with the Contract Documents. 261: Contractor shall provide packaged rooftop air-conditioning units (RTU-1, RTU-5) as detailed in the Contract Documents.
[10] RTU Controls and Components | 172: Furnish and install SZVAV Rooftop Units (RTU-L5 & RTU-LE) with variable speed compressors and DX cooling in accordance with the Contract Documents. 178: Furnish and install VAV Rooftop Unit (RTU-1.2.4) with variable and fixed speed compressors in accordance with the Contract Documents. 181: Contractor shall provide economizer with reference enthalpy control as detailed in the Contract Documents. 184: Provide VAV Rooftop Unit (RTU-3) in strict accordance with the Contract Documents. 185: Contractor shall provide supply fan with Variable Frequency Drive (VFD) for duct static pressure control as required by the Contract Documents. 186: Furnish and install relief air fan system with start/stop controls in accordance with the Contract Documents. 188: Provide variable speed and fixed speed compressors for staged DX cooling in strict accordance with the Contract Documents.
[11] Dedicated Outdoor Air Systems (DOAS) | 102: Provide Dedicated Outdoor Air System (DOAS) unit in strict accordance with the Contract Documents. 197: Contractor shall provide packaged rooftop air-conditioning unit with variable speed compressor and supply fan as detailed in the Contract Documents. 198: Furnish and install energy recovery wheel with associated outside air and relief air bypass dampers in accordance with the Contract Documents. 199: Contractor shall furnish and install dehumidification system with hot gas reheat valve as specified in the Contract Documents. 203: Contractor shall furnish and install DOAS-2 packaged rooftop unit with variable speed compressor and supply fan as specified in the Contract Documents. 204: Provide dehumidification system with hot gas reheat valve for DOAS-2 unit in strict accordance with the Contract Documents. 205: Contractor shall provide energy recovery wheel system with associated bypass dampers as detailed in the Contract Documents. 253: Contractor shall provide Dedicated Outdoor Air System (DOAS) as detailed in the Contract Documents. 262: Furnish and install Dedicated Outdoor Air System units (DOAS-1, DOAS-2) in accordance with the Contract Documents.
[12] Split System Air Conditioners | 84: Furnish and install wall-mounted air conditioning units in accordance with the Contract Documents. 91: Contractor shall provide wall mounted air conditioning unit as detailed in the Contract Documents. 140: Furnish and install wall-mounted air conditioning unit with condensate pump in accordance with the Contract Documents. 158: Provide split-system HVAC units (Models PUY-AK36NL, PKA-AK36NL, PUY-AH24NL, PKA AK24NL, PUY-AK12NL, PEAD-AA12NL) in strict accordance with the Contract Documents. 218: Furnish and install split system air conditioning units (AC-1, 2, & 3) and associated condensing units (CU-1, 2, & 3) in accordance with the Contract Documents. 239: Contractor shall furnish and install small-capacity split-system air conditioners as specified in the Contract Documents. 244: Provide Air Conditioning unit (AC-1) in strict accordance with the Contract Documents. 255: Contractor shall furnish and install AC unit as specified in the Contract Documents. 274: Furnish and install HVAC system for the food service dry storage room to maintain a temperature of 68 to 72 degrees year-round in accordance with the Contract Documents.
[13] Condensing Units | 103: Contractor shall provide condensing unit as detailed in the Contract Documents. 116: Furnish and install rooftop condensing unit in accordance with the Contract Documents. 123: Contractor shall provide refrigerant piping from unit up through roof as required by the Contract Documents. 210: Furnish and install HVAC system compressors in accordance with the Contract Documents. 252: Provide condensing units (CU.2, CUL5) in strict accordance with the Contract Documents. 258: Furnish and install mechanical equipment including exhaust fan (EF-2), heat pump (HTP-1), and condensing unit (CU-3) in accordance with the Contract Documents.
[14] VAV Terminal Units | 71: Contractor shall provide VAV terminal unit (VAV-1-4) as detailed in the Contract Documents. 79: Contractor shall provide Variable Air Volume (VAV) boxes as detailed in the Contract Documents. 95: Contractor shall provide Variable Air Volume (VAV) boxes as required by the Contract Documents. 110: Provide Variable Air Volume (VAV) unit (VAV-1.7) in strict accordance with the Contract Documents. 112: Furnish and install Variable Air Volume (VAV) terminal units in accordance with the Contract Documents. 122: Provide VAV box VAV-1-17 in strict accordance with the Contract Documents. 133: Contractor shall furnish and install VAV box VAV-3-1 as specified in the Contract Documents. 207: Contractor shall furnish and install VAV units and integrate with DOAS-2 for heating operation as specified in the Contract Documents. 212: Provide VAV (Variable Air Volume) terminal units in strict accordance with the Contract Documents. 214: Furnish and install VAV terminal units with modulating dampers in accordance with the Contract Documents. 215: Contractor shall furnish and install hot water reheat coils for VAV terminal units as specified in the Contract Documents. 224: Provide Hydronic Variable Air Volume (VAV) boxes with re-heat coils in strict accordance with the Contract Documents.
[15] Convection Heating Units (Fin Tube/Radiators) | 16: Furnish and install radiators and registers in accordance with the Contract Documents. 105: Contractor shall furnish and install fin tube radiation units (FT-1, FT-2) as specified in the Contract Documents. 106: Provide manufacturer caps on open ends of fin tube enclosures in strict accordance with the Contract Documents. 113: Contractor shall furnish and install fin tube convection heating units (FT-1, FT-3, FT-4) as specified in the Contract Documents. 115: Contractor shall provide manufacturer-specific end caps and trim pieces for fin tube enclosures as required by the Contract Documents. 119: Contractor shall provide mechanical equipment units FT-1 and FT-5 as detailed in the Contract Documents. 120: Furnish and install fin tube radiation units in accordance with the Contract Documents. 126: Provide manufacturer trim pieces for fin tube enclosures in strict accordance with the Contract Documents. 127: Contractor shall provide manufacturer end caps for fin tube enclosures as detailed in the Contract Documents. 131: Contractor shall provide fin tube unit FT-1 as detailed in the Contract Documents. 164: Furnish and install fin tube radiation and coils in accordance with the Contract Documents. 229: Contractor shall provide finned tube radiation as detailed in the Contract Documents. 230: Furnish and install below roof hydronic heating coils in accordance with the Contract Documents.
[16] Unit Heaters and Fan Coil Units | 70: Provide cabinet unit heater (CUH-3) in strict accordance with the Contract Documents. 86: Provide suspended unit heater in strict accordance with the Contract Documents. 92: Furnish and install fan coil unit in accordance with the Contract Documents. 109: Contractor shall furnish and install cabinet unit heater (CUH3) as specified in the Contract Documents. 132: Furnish and install cabinet unit heater CUH-1 in accordance with the Contract Documents. 192: Provide cabinet unit heater(s) as per sequence of operation in strict accordance with the Contract Documents. 208: Provide Fan Coil Units in strict accordance with the Contract Documents. 228: Provide various heating units including Fan Coil Units, Unit Heaters, and Cabinet Heaters in strict accordance with the Contract Documents. 242: Furnish and install cabinet unit heaters (CUH.5) in accordance with the Contract Documents. 243: Contractor shall furnish and install mechanical equipment (CUIM.7) as specified in the Contract Documents. 245: Contractor shall provide Unit Heater (UHS) as detailed in the Contract Documents. 248: Provide Fan Coil Unit (FCU-1) in strict accordance with the Contract Documents. 254: Furnish and install unit heaters (UH/EUH) in accordance with the Contract Documents. 257: Contractor shall provide cabinet unit heaters (CUH) and unit heaters (UH) as required by the Contract Documents.
[17] Boilers and Heating Plant Equipment | 13: Contractor shall furnish and install the boiler as specified in the Contract Documents. 56: Furnish and install mechanical venting system for fuel-fired equipment, including concentric vent kit, in accordance with the Contract Documents. 141: Contractor shall furnish and install condensing boilers as specified in the Contract Documents. 148: Furnish and install boiler flue venting through roof in accordance with the Contract Documents. 167: Contractor shall provide hot water boiler(s) for the heating plant system as required by the Contract Documents. 226: Furnish and install natural gas condensing boilers in accordance with the Contract Documents.
[18] Hydronic Supply and Return Piping | 15: Contractor shall provide mechanical piping for heating systems, including steam, risers, and returns, as detailed in the Contract Documents. 107: Contractor shall provide 2 1/2" hydronic heating piping (HS/HR) as required by the Contract Documents. 111: Contractor shall provide hydronic heating piping, including supply (HS) and return (HR) lines, as detailed in the Contract Documents. 118: Provide hydronic supply and return piping (HS/HR) in strict accordance with the Contract Documents. 121: Contractor shall furnish and install hydronic heating piping (HS/HR) as specified in the Contract Documents. 128: Furnish and install 3" hydronic supply (HS) piping in accordance with the Contract Documents. 129: Contractor shall furnish and install 2 1/2" hydronic return (HR) piping as specified in the Contract Documents. 130: Provide 3/4" hydronic supply (HS) and return (HR) piping to fin tube units in strict accordance with the Contract Documents. 142: Provide hydronic heating piping system in strict accordance with the Contract Documents. 233: Contractor shall provide hydronic piping system for heating and cooling as required by the Contract Documents.
[19] Specialty Hydronic Piping | 62: Provide condensate drain piping with minimum 1% slope in strict accordance with the Contract Documents. 152: Furnish and install hydronic piping system including PEX tubing in accordance with the Contract Documents. 154: Provide supply and return manifolds in strict accordance with the Contract Documents. 163: Contractor shall provide hydronic piping for snow melt system as detailed in the Contract Documents. 169: Contractor shall furnish and install hydronic piping for the variable primary loop heating system as specified in the Contract Documents. 173: Contractor shall furnish and install hydronic piping and hot water control valves for rooftop unit heating coils as specified in the Contract Documents. 216: Provide hydronic piping for hot water reheat system in strict accordance with the Contract Documents. 223: Contractor shall furnish and install glycol solution for the snowmelt system hydronic loop as specified in the Contract Documents.
[20] Hydronic Pumps | 124: Furnish and install mini-condensate pump in accordance with the Contract Documents. 143: Contractor shall provide hydronic system pumps as required by the Contract Documents. 162: Provide inline hydronic pumps in strict accordance with the Contract Documents. 168: Furnish and install hot water distribution pumps in accordance with the Contract Documents. 222: Furnish and install snowmelt system pump in accordance with the Contract Documents. 227: Contractor shall furnish and install hydronic pumps as specified in the Contract Documents.
[21] Hydronic Valves and Specialties | 125: Contractor shall furnish and install control valves for fin tube units as specified in the Contract Documents. 134: Provide control valves and shutoff valves for fin tube units in strict accordance with the Contract Documents. 144: Furnish and install hydronic system valves including control, relief, butterfly, and triple duty types in accordance with the Contract Documents. 145: Contractor shall furnish and install hydronic specialties including expansion tank, air vents, suction diffuser, and strainers as specified in the Contract Documents. 146: Provide differential pressure bypass valve assembly in strict accordance with the Contract Documents. 153: Contractor shall furnish and install hydronic system valves as specified in the Contract Documents. 156: Furnish and install air separator, glycol makeup unit, and expansion tank in accordance with the Contract Documents. 161: Contractor shall furnish and install hydronic system accessories including expansion tank, air separator, and glycol feed unit as specified in the Contract Documents. 165: Contractor shall furnish and install hydronic system valves and strainers as specified in the Contract Documents. 170: Provide control valves, including two-way differential pressure bypass and hot water bypass valves, in strict accordance with the Contract Documents. 189: Contractor shall provide hot water valve for heating coil control as detailed in the Contract Documents. 195: Contractor shall furnish and install hot water control valves for HVAC units as specified in the Contract Documents. 200: Provide hot water control valve for heating system in strict accordance with the Contract Documents.
[22] Radiant Heating and Snowmelt Systems | 12: Furnish and install radiant heating system for 4" heated concrete topping slab in accordance with the Contract Documents. 42: Provide a complete radiant heat system in strict accordance with the Contract Documents. 108: Furnish and install snowmelt system manifold and associated 2" HSHR piping in accordance with the Contract Documents. 114: Provide snowmelt system manifold and associated piping in strict accordance with the Contract Documents. 135: Contractor shall provide snowmelt system tubing for Zone #1 (1088 SF) and Zone #2 (1629 SF) as required by the Contract Documents. 136: Furnish and install snowmelt system tubing for Alternate Area (300 SF) in accordance with the Contract Documents. 137: Contractor shall furnish and install snowmelt manifolds as specified in the Contract Documents. 221: Contractor shall provide snowmelt heat transfer package (HTP-1) as detailed in the Contract Documents.
[23] Natural Gas Piping | 4: Furnish and install the proposed gas service connection and associated piping in accordance with the Contract Documents. 104: (Not found in contract items) 147: Contractor shall provide natural gas piping system for boilers, including gas train and regulators, as detailed in the Contract Documents. 166: Provide gas shut off valves in strict accordance with the Contract Documents. 237: Contractor shall provide facility natural-gas piping system as detailed in the Contract Documents. 273: Contractor shall provide natural gas piping and connections to foodservice equipment as required by the Contract Documents. 282: Furnish and install facility natural gas piping in accordance with the Contract Documents. 283: Contractor shall furnish and install solenoid electric gas valve for fire system integration as specified in the Contract Documents. 293: Contractor shall provide exterior gas piping connection to make-up air unit as detailed in the Contract Documents.
[24] Exhaust Fans and Ventilators | 33: Contractor shall furnish and install kitchen vent hood as specified in the Contract Documents. 54: Provide Exhaust Fan (EF-2) in strict accordance with the Contract Documents. 87: Contractor shall provide Skutt EnviroVent2 exhaust system for kiln as detailed in the Contract Documents. 193: Contractor shall provide exhaust fans (EF-2, 3, 4, 5) including start/stop controls as required by the Contract Documents. 220: Provide kitchen exhaust fan (EF-1) in strict accordance with the Contract Documents. 251: Contractor shall furnish and install exhaust fans (EF-1, EF-2, EF-4) as specified in the Contract Documents. 268: Provide exhaust fan for kitchen hood system in strict accordance with the Contract Documents. 271: Contractor shall furnish and install exhaust fan as specified in the Contract Documents. 272: Provide kitchen exhaust hood, exhaust fan, and make-up air unit in strict accordance with the Contract Documents. 277: Contractor shall provide exhaust and supply fan system for kitchen hood as detailed in the Contract Documents. 285: Contractor shall provide grease exhaust fan unit EADU85H as detailed in the Contract Documents. 296: Provide exhaust fan for Demand Control Ventilation system in strict accordance with the Contract Documents. 298: Furnish and install exhaust and make-up air fans for the kitchen ventilation system in accordance with the Contract Documents.
[25] Make-Up Air Units | 219: Contractor shall furnish and install Make-Up Air unit (MAU-1) with an integral gas heat exchanger as specified in the Contract Documents. 269: Contractor shall provide make-up air unit for kitchen hood system as detailed in the Contract Documents. 286: Furnish and install gas-fired make-up air unit EA1-D.250-15D in accordance with the Contract Documents. 290: Furnish and install direct gas-fired heated make-up air unit with 15' mixed flow direct drive fan in accordance with the Contract Documents.
[26] HVAC Controls and Thermostats | 61: Contractor shall furnish and install low voltage control wiring for HVAC system as specified in the Contract Documents. 74: Provide new thermostat and associated controls in strict accordance with the Contract Documents. 81: Contractor shall furnish and install new thermostats and associated controls as specified in the Contract Documents. 90: Provide new thermostat in strict accordance with the Contract Documents. 98: Provide new thermostats in strict accordance with the Contract Documents. 171: Contractor shall provide freeze protection system including continuous pump operation and boiler sequencing based on outdoor air temperature as detailed in the Contract Documents. 179: Contractor shall furnish and install Variable Frequency Drive (VFD) for supply fan as specified in the Contract Documents. 213: Contractor shall provide programming for VAV controllers for cooling mode, demand control ventilation, and occupied/unoccupied modes as detailed in the Contract Documents. 217: Contractor shall provide programming for demand control ventilation sequence for occupied and unoccupied modes as required by the Contract Documents. 232: Provide a complete Direct-Digital Control (DDC) system for HVAC in strict accordance with the Contract Documents. 299: Contractor shall furnish and install Variable Frequency Drives (VFDs) for exhaust and supply fans as specified in the Contract Documents.
[27] HVAC Sensors and Instrumentation | 175: Contractor shall provide demand control ventilation (DCV) system with return air CO2 sensors as required by the Contract Documents. 177: Contractor shall furnish and install differential pressure switches for HVAC filter status monitoring as specified in the Contract Documents. 180: Provide supply duct static pressure control system with sensors in strict accordance with the Contract Documents. 183: Contractor shall furnish and install differential pressure switch for filter status monitoring as specified in the Contract Documents. 190: Furnish and install DX coil frost protection thermostat in accordance with the Contract Documents. 191: Contractor shall furnish and install filter bank with differential pressure switch for status monitoring as specified in the Contract Documents. 196: Provide differential pressure switches for fan status monitoring and alarm annunciation in strict accordance with the Contract Documents. 201: Contractor shall provide differential pressure switch for filter status monitoring as required by the Contract Documents. 294: Furnish and install gas pressure gauges for mechanical system in accordance with the Contract Documents. 300: Provide stainless steel duct temperature sensors and room temperature sensors in strict accordance with the Contract Documents.
[28] HVAC Insulation | 67: Contractor shall provide insulation on HVAC ductwork as required by the Contract Documents. 83: Contractor shall provide insulation for HVAC ductwork and equipment as required by the Contract Documents. 157: Contractor shall furnish and install HVAC insulation for pipes and ductwork as specified in the Contract Documents. 234: Furnish and install insulation for HVAC piping and ductwork in accordance with the Contract Documents.
[29] Testing, Adjusting, and Balancing (TAB) | 68: Furnish and install testing, adjusting, and balancing (TAB) services for the HVAC system in accordance with the Contract Documents. 75: Contractor shall provide testing, adjusting, and balancing (TAB) for new HVAC system as required by the Contract Documents. 82: Provide Testing, Adjusting, and Balancing (TAB) for the complete HVAC system in strict accordance with the Contract Documents. 100: Furnish and install testing, adjusting, and balancing (TAB) for the HVAC system in accordance with the Contract Documents. 202: Furnish and install testing, adjusting, and balancing (TAB) for the complete HVAC system in accordance with the Contract Documents. 236: Provide commissioning services for the HVAC system in strict accordance with the Contract Documents. 266: Furnish and install HVAC system for public areas designed to maintain positive pressure in accordance with the Contract Documents. 279: Contractor shall furnish and install testing, adjusting, and balancing (TAB) for the kitchen hood mechanical system as specified in the Contract Documents.
[30] HVAC Supports, Anchors, and Identification | 7: Contractor shall provide reinforcement for roof openings measuring less than 13" using 16 gauge sheet metal, as required by the Contract Documents. 11: Contractor shall provide coordination for structural openings, weights, and locations for mechanical equipment as required by the Contract Documents. 38: Provide Roof Penetrations, Sleeves, and Vents for Mechanical Systems in strict accordance with the Contract Documents. 45: Contractor shall furnish and install identification for HVAC piping and equipment as specified in the Contract Documents. 60: Furnish and install vibration isolation at connections to motorized HVAC equipment in accordance with the Contract Documents. 65: Contractor shall furnish and install hangers and supports for HVAC ductwork as specified in the Contract Documents. 96: Furnish and install hangers and supports for suspended mechanical equipment in accordance with the Contract Documents. 235: Contractor shall furnish and install hangers and supports for HVAC piping and equipment as specified in the Contract Documents. 240: Provide identification labels and tags for HVAC piping and equipment in strict accordance with the Contract Documents.
[31] Refrigerant Piping | 94: Provide refrigerant and condensate piping from indoor units to roof in strict accordance with the Contract Documents. 117: Contractor shall furnish and install refrigerant piping from interior unit to rooftop condensing unit as specified in the Contract Documents. 123: Contractor shall provide refrigerant piping from unit up through roof as required by the Contract Documents. 209: Contractor shall provide refrigerant leak detection and mitigation system as required by the Contract Documents.
[32] Miscellaneous HVAC Equipment | 5: Contractor shall furnish and install architectural or landscape screening for exterior mechanical equipment as specified in the Contract Documents. 6: Provide architectural screening for exterior mechanical equipment and utility meter banks in accordance with the Contract Documents. 85: Contractor shall furnish and install Blue Diamond mini-condensate pumps for wall-mounted AC units as specified in the Contract Documents. 93: Contractor shall furnish and install mini-condensate pumps for mechanical units as specified in the Contract Documents. 149: Contractor shall furnish and install water treatment system including chemical shot feeder and condensate neutralizing kit as specified in the Contract Documents. 155: Contractor shall provide flat plate brazed plate heat exchanger as detailed in the Contract Documents. 160: Furnish and install plate and frame heat exchanger in accordance with the Contract Documents. 267: Contractor shall furnish and install overhead air curtains at exterior delivery doors as specified in the Contract Documents.

## Plumbing
Scope Item | Contract Items (Derived From)
[1] Plumbing Demolition | 9: Contractor shall provide for the abandonment of 222 linear feet of 8-inch sanitary line in place, including filling with grout, in accordance with the Contract Documents. 11: Contractor shall provide for the demolition and removal of all interior plumbing piping and equipment in accordance with the Contract Documents.
[2] Water Service & Entry | 10: Contractor shall provide for the cutting and capping of the existing water service at the valve location in accordance with the Contract Documents. 12: Furnish and install a 4-inch ductile iron domestic water service in accordance with the Contract Documents. 13: Contractor shall provide a 4-inch live tap for domestic water on the existing cast iron main in accordance with the Contract Documents. 14: Furnish and install Type K copper water service piping for services 2-inch or smaller in accordance with the Contract Documents. 15: Contractor shall furnish and install a Double Check Valve Assembly (DCVA) conforming to ASSE 1015 in accordance with the Contract Documents. 16: Provide 6-inch valves for the water main in accordance with the Contract Documents. 155: Contractor shall provide the domestic water meter in accordance with the Contract Documents. 173: Contractor shall furnish and install a reduced pressure backflow preventer in accordance with the Contract Documents.
[3] Domestic Water Piping - Rough-in | 3: Provide domestic water, sanitary waste, and vent piping systems for all plumbing fixtures in accordance with the Contract Documents. 8: Provide domestic water, sanitary waste, and vent piping for fixtures in accordance with the Contract Documents. 25: Furnish and install interior plumbing piping and systems in accordance with the Contract Documents. 35: Contractor shall provide domestic water, sanitary waste, and vent piping systems for all new plumbing fixtures in accordance with the Contract Documents. 84: Furnish and install domestic water, sanitary, vent, and gas piping systems in accordance with the Contract Documents. 88: Furnish and install shock absorbers in the domestic cold and hot water piping in accordance with the Contract Documents. 108: Furnish and install 4-inch above-grade domestic cold water riser piping in accordance with the Contract Documents. 111: Contractor shall provide domestic cold water (CW) piping in accordance with the Contract Documents. 112: Furnish and install domestic hot water (HW) piping in accordance with the Contract Documents. 113: Contractor shall furnish and install domestic hot water return (HWR) piping in accordance with the Contract Documents. 117: Contractor shall provide domestic cold and hot water return piping in accordance with the Contract Documents. 120: Furnish and install domestic hot, cold, and hot water return piping systems in accordance with the Contract Documents. 126: Furnish and install domestic cold water (CW) and hot water (HW) piping systems in accordance with the Contract Documents. 132: Provide domestic water piping rough-in for all plumbing fixtures in accordance with the Contract Documents.
[4] Domestic Water Piping - Distribution A | 134: Furnish and install domestic cold water (CW) piping in accordance with the Contract Documents. 135: Contractor shall provide domestic hot water (HW) piping in accordance with the Contract Documents. 136: Provide hot water return (HWR) piping in accordance with the Contract Documents. 140: Provide domestic cold and hot water piping systems in accordance with the Contract Documents. 147: Contractor shall provide 3/4-inch domestic water and gas piping in accordance with the Contract Documents. 150: Furnish and install the domestic cold water (CW) piping system in accordance with the Contract Documents. 151: Contractor shall provide domestic hot water (HW) and hot water return (HWR) piping systems in accordance with the Contract Documents. 159: Contractor shall provide the domestic cold water (CW) piping system in accordance with the Contract Documents.
[5] Domestic Water Piping - Distribution B | 160: Provide domestic hot water (HW) and hot water return (HWR) piping systems in accordance with the Contract Documents. 179: Contractor shall provide the domestic hot water (HW) piping system in accordance with the Contract Documents. 185: Contractor shall furnish and install domestic hot and cold water piping in accordance with the Contract Documents. 189: Contractor shall furnish and install the domestic cold water (CW) piping system in accordance with the Contract Documents. 190: Furnish and install domestic hot water (HW) and hot water return (HWR) piping systems in accordance with the Contract Documents. 195: Contractor shall provide domestic hot and cold water piping systems in accordance with the Contract Documents. 210: Furnish and install the domestic water piping and distribution system in accordance with the Contract Documents. 240: Furnish and install the hot water supply system for sinks and dishmachines in accordance with the Contract Documents.
[6] Sanitary & Vent Piping - Mains | 89: Contractor shall furnish and install the sanitary (SAN) drainage piping system, including 4-inch and 6-inch sizes, in accordance with the Contract Documents. 92: Furnish and install below-grade sanitary service piping in accordance with the Contract Documents. 99: Contractor shall provide 2-inch sanitary (SAN) waste piping for fixture rough-ins (SK, FD, ED, EWC) in accordance with the Contract Documents. 100: Furnish and install 4-inch sanitary (SAN) waste piping in accordance with the Contract Documents. 105: Contractor shall furnish and install the sanitary waste piping system in accordance with the Contract Documents. 116: Furnish and install sanitary waste and vent piping systems in accordance with the Contract Documents. 127: Contractor shall provide sanitary (SAN) and vent (V) piping systems in accordance with the Contract Documents. 128: Provide drain piping from the wash sink to the grease interceptor in accordance with the Contract Documents. 133: Contractor shall furnish and install sanitary waste and vent piping for all plumbing fixtures in accordance with the Contract Documents. 137: Contractor shall furnish and install sanitary (SAN) piping in accordance with the Contract Documents.
[7] Sanitary & Vent Piping - Risers | 29: Contractor shall furnish and install plumbing vents and risers in accordance with the Contract Documents. 33: Provide plumbing systems, including vents and risers, in accordance with the Contract Documents. 94: Provide above-grade sanitary waste piping risers for all fixtures in accordance with the Contract Documents. 96: Furnish and install the vent piping system in accordance with the Contract Documents. 101: Contractor shall furnish and install 2-inch vent (V) piping in accordance with the Contract Documents. 106: Provide the sanitary vent piping system in accordance with the Contract Documents. 157: Contractor shall furnish and install the sanitary waste (SAN) piping system in accordance with the Contract Documents. 158: Furnish and install the vent (V) piping system in accordance with the Contract Documents. 167: Contractor shall provide domestic waste, vent, and discharge piping in accordance with the Contract Documents. 180: Provide the sanitary (SAN) waste piping system in accordance with the Contract Documents. 181: Contractor shall furnish and install the vent (V) piping system in accordance with the Contract Documents. 186: Furnish and install sanitary waste and vent piping in accordance with the Contract Documents. 191: Contractor shall provide sanitary (SAN) and vent (V) piping systems in accordance with the Contract Documents. 196: Provide sanitary waste and vent piping systems in accordance with the Contract Documents. 211: Contractor shall provide the sanitary waste and vent piping system in accordance with the Contract Documents.
[8] Storm Drainage Piping | 18: Furnish and install downspout and gutter drain connections to the storm system in accordance with the Contract Documents. 45: Provide insulated PVC drain piping complete with supports in accordance with the Contract Documents. 90: Provide the storm drainage (RC Rain Conductor) piping system in accordance with the Contract Documents. 93: Contractor shall furnish and install below-grade roof conductor service piping in accordance with the Contract Documents. 95: Contractor shall provide above-grade roof conductor piping and downspouts in accordance with the Contract Documents. 102: Provide roof conductor (RC) piping in accordance with the Contract Documents. 121: Contractor shall provide roof and overflow storm drainage piping systems in accordance with the Contract Documents. 124: Provide overflow spout in accordance with the Contract Documents. 141: Contractor shall furnish and install the storm drainage piping system, including roof and overflow drains, in accordance with the Contract Documents. 161: Contractor shall furnish and install overflow, roof, and condensate (ORC, RC, CD) drain piping systems in accordance with the Contract Documents. 164: Provide overflow spout installed 18 inches above grade in accordance with the Contract Documents. 175: Contractor shall provide rain conductor piping in accordance with the Contract Documents.
[9] Roof Drains | 21: Contractor shall furnish and install roof sumps in accordance with the Contract Documents. 22: Furnish and install roof sump drains in accordance with the Contract Documents. 43: Furnish and install roof drains in accordance with the Contract Documents. 44: Contractor shall furnish and install roof drain and overflow roof drain systems in accordance with the Contract Documents. 146: Furnish and install combination roof and overflow drains in accordance with the Contract Documents.
[10] Gas Piping | 85: Contractor shall furnish and install isolation ball valves, branch shut-off valves, and emergency gas shutoffs in accordance with the Contract Documents. 107: Contractor shall provide 6-inch above-grade gas riser piping in accordance with the Contract Documents. 143: Contractor shall provide exterior gas piping in accordance with the Contract Documents. 144: Provide gas pipe supports on support pads in accordance with the Contract Documents. 152: Provide the facility natural gas piping system in accordance with the Contract Documents. 153: Contractor shall furnish and install a 3-inch gas line final connection to the generator, including dirt leg and shut-off valve, in accordance with the Contract Documents. 154: Furnish and install a new high-capacity gas meter (12,510 MBH) in accordance with the Contract Documents. 174: Furnish and install 1-inch natural gas piping in accordance with the Contract Documents. 202: Furnish and install gas regulator R-1 for kitchen equipment in accordance with the Contract Documents. 205: Contractor shall furnish and install natural gas piping to Rooftop Unit (RTU-5) in accordance with the Contract Documents. 227: Contractor shall provide the natural gas piping system for boilers, including dedicated gas pressure regulators, in accordance with the Contract Documents. 250: Provide shut-off valves, gas supply line strainers/filters, and backflow prevention devices in accordance with the Contract Documents. 258: Provide natural gas piping to the make-up air unit in accordance with the Contract Documents. 259: Contractor shall furnish and install the gas valve in accordance with the Contract Documents. 260: Furnish and install an electric gas valve interlocked with the fire suppression and control system in accordance with the Contract Documents.
[11] Water Closets & Urinals | 4: Contractor shall furnish and install water closets (WC) in accordance with the fixture counts and Contract Documents. 48: Furnish and install Water Closets (WC) in accordance with the Contract Documents. 49: Contractor shall provide Urinals in accordance with the Contract Documents. 176: Provide water closets (WC-1, EWC-1) in accordance with the Contract Documents. 184: Provide water closet carriers (WCC) in accordance with the Contract Documents. 198: Furnish and install wall-mounted water closet WC-1, including carrier, in accordance with the Contract Documents. 238: Provide Area 'A' electric water closet (EWC) in accordance with the Contract Documents.
[12] Lavatories | 5: Contractor shall provide lavatories (LAV) in accordance with the fixture counts and Contract Documents. 50: Furnish and install wall-mount and undermount lavatories in accordance with the Contract Documents. 177: Contractor shall furnish and install lavatories (LAV-1, LAV-2) in accordance with the Contract Documents. 192: Provide plumbing fixtures, including lavatories (LAV-1) and water closets (WC-1), in accordance with the Contract Documents.
[13] Service & Mop Sinks | 7: Contractor shall furnish and install service sinks in accordance with the Contract Documents. 62: Contractor shall provide the mop sink (EQ4) in accordance with the Contract Documents. 65: Furnish and install mop sinks in accordance with the Contract Documents. 75: Furnish and install plumbing fixtures, including sinks and mop sinks, in accordance with the Contract Documents. 76: Contractor shall provide plumbing fixtures, including mop sinks and showers, in accordance with the Contract Documents. 178: Furnish and install the janitor's sink (JAN-2) in accordance with the Contract Documents.
[14] General Sinks | 58: Contractor shall provide plumbing rough-in for sinks at casework locations in accordance with the Contract Documents. 60: Contractor shall furnish and install sinks in casework in accordance with the Contract Documents. 63: Provide plumbing rough-in and final connections for sinks in accordance with the Contract Documents. 68: Contractor shall furnish and install sinks, including all necessary connections, in accordance with the Contract Documents. 71: Contractor shall furnish and install undermount sinks in accordance with the Contract Documents. 77: Provide plumbing rough-in for all sink locations in accordance with the Contract Documents. 78: Contractor shall furnish and install plumbing rough-in and connections for sinks in accordance with the Contract Documents. 79: Provide plumbing fixtures, including sinks, complete with all necessary rough-ins and connections in accordance with the Contract Documents. 80: Contractor shall furnish and install sinks, including faucets and drain assemblies, in accordance with the Contract Documents. 81: Contractor shall provide coordination of plumbing rough-ins for fixtures located in casework in accordance with the Contract Documents.
[15] Drinking Fountains & Water Coolers | 2: Furnish and install bi-level drinking fountains in accordance with the Contract Documents. 6: Furnish and install bi-level drinking fountains complete with bottle-filling stations in accordance with the Contract Documents. 28: Provide drinking fountain and bottle-filling stations in accordance with the Contract Documents. 52: Provide Electric Water Coolers (EWC) and Water Fountains in accordance with the Contract Documents. 54: Furnish and install drinking fountain/bottle-filling station units in accordance with the Contract Documents. 56: Furnish and install drinking fountain and bottle filling station in accordance with the Contract Documents. 64: Contractor shall furnish and install drinking fountain and bottle filling station combination units in accordance with the Contract Documents. 67: Provide drinking fountain and bottle filling stations in accordance with the Contract Documents. 69: Furnish and install plumbing fixtures, including EWC, urinals, lavatories, and mop sinks, in accordance with the Contract Documents. 234: Provide electrical power connection for the Electric Water Cooler (EWC) in accordance with the Contract Documents. 235: Contractor shall furnish and install the electric water cooler (EWC) in accordance with the Contract Documents.
[16] Showers | 51: Contractor shall furnish and install shower fixtures in accordance with the Contract Documents. 83: Contractor shall provide plumbing rough-in and fixture installation for showers in accordance with the Contract Documents. 187: Contractor shall provide plumbing fixtures, including showers and lavatories, in accordance with the Contract Documents.
[17] General Plumbing Fixtures - Level 1 | 1: Contractor shall provide plumbing systems and ADA-compliant fixtures for restrooms in accordance with the Contract Documents. 26: Contractor shall provide plumbing rough-in for all restroom, toilet, kitchen, and laundry locations in accordance with the Contract Documents. 27: Furnish and install plumbing fixtures in all restroom and toilet locations in accordance with the Contract Documents. 30: Contractor shall provide plumbing fixtures in all student and staff restrooms in accordance with the Contract Documents. 31: Provide complete plumbing systems for all student, staff, and public restrooms in accordance with the Contract Documents. 32: Contractor shall furnish and install plumbing fixtures and systems for all restrooms in accordance with the Contract Documents. 46: Contractor shall furnish and install plumbing fixtures, including water closets, urinals, lavatories, sinks, and water fountains, in accordance with the Contract Documents.
[18] General Plumbing Fixtures - Level 2 | 34: Furnish and install plumbing fixtures for all student restrooms and shower areas in accordance with the Contract Documents. 36: Provide plumbing systems, including fixtures for restrooms, shower, and custodial areas, in accordance with the Contract Documents. 37: Contractor shall furnish and install plumbing rough-in and fixtures for restrooms and shower areas in accordance with the Contract Documents. 38: Provide complete plumbing systems, including fixtures, vents, and risers, for all restrooms in accordance with the Contract Documents. 39: Contractor shall furnish and install wall-mounted plumbing fixtures in accordance with the Contract Documents. 41: Furnish and install plumbing fixtures in all restrooms and shower areas in accordance with the Contract Documents. 42: Contractor shall provide plumbing fixtures for restrooms and shower areas in accordance with the Contract Documents. 131: Contractor shall provide plumbing fixtures for staff and student toilets in accordance with the Contract Documents. 142: Furnish and install plumbing fixtures, including water closets, lavatories, and floor drains, in accordance with the Contract Documents.
[19] General Plumbing Fixtures - Misc | 162: Furnish and install plumbing fixtures, including lavatories (LAV), water closets (EWC), and urinals (UR), in accordance with the Contract Documents. 170: Furnish and install plumbing fixtures, including floor sinks and freeze-proof roof hydrants, in accordance with the Contract Documents. 197: Contractor shall furnish and install plumbing fixtures in accordance with the plumbing fixture schedule and Contract Documents. 209: Contractor shall furnish and install plumbing fixtures in restroom and custodial areas in accordance with the Contract Documents. 231: Contractor shall provide rough-in for plumbing systems in RESTROOM, including waste, vent, and domestic water piping, in accordance with the Contract Documents. 232: Provide plumbing fixtures in RESTROOM in accordance with the Contract Documents. 239: Contractor shall furnish and install plumbing fixtures for employee toilet facilities in accordance with the Contract Documents. 241: Contractor shall provide lavatory sinks in food preparation and dishwashing areas in accordance with the Contract Documents.
[20] Floor Drains | 23: Provide floor drains in accordance with the Contract Documents. 57: Provide floor drains in accordance with the Contract Documents. 59: Furnish and install floor drains in accordance with the Contract Documents. 61: Provide floor drains in accordance with the Contract Documents. 87: Contractor shall provide trap primers or approved trap seals for all floor drains in accordance with the Contract Documents. 182: Furnish and install floor drains (FD-1) and equipment drains (ED-1) in accordance with the Contract Documents. 199: Contractor shall provide the finish area floor drain FD-1 with trap in accordance with the Contract Documents.
[21] Cleanouts | 74: Contractor shall provide plumbing cleanouts in accordance with the Contract Documents. 97: Contractor shall furnish and install plumbing cleanouts (YCO, FCO) in accordance with the Contract Documents. 103: Contractor shall provide floor cleanouts (FCO) in accordance with the Contract Documents. 109: Contractor shall furnish and install floor cleanouts (FCO) in accordance with the Contract Documents. 110: Provide yard cleanouts (YCO) in accordance with the Contract Documents. 119: Contractor shall furnish and install floor cleanouts (FCO) in accordance with the Contract Documents. 123: Contractor shall furnish and install plumbing cleanouts (WCO, FCO) in accordance with the Contract Documents. 163: Contractor shall provide cleanouts (CO) for the plumbing system in accordance with the Contract Documents. 172: Provide wall and floor cleanouts in accordance with the Contract Documents. 183: Contractor shall provide plumbing cleanouts (ECO, WOD) in accordance with the Contract Documents. 188: Provide plumbing specialties, including wall and floor cleanouts, in accordance with the Contract Documents. 193: Contractor shall furnish and install floor drains (FD), equipment drains (ED-1), and cleanouts (ECO) in accordance with the Contract Documents.
[22] Hydrants & Hose Bibbs | 24: Contractor shall provide hose connections in accordance with the Contract Documents. 118: Provide wall hydrants at exterior locations in accordance with the Contract Documents. 122: Furnish and install the wall hydrant in accordance with the Contract Documents. 129: Contractor shall furnish and install the exterior wall hydrant in accordance with the Contract Documents. 145: Contractor shall furnish and install the freeze-proof roof hydrant in accordance with the Contract Documents.
[23] Plumbing Equipment | 104: Furnish and install grease interceptor, including vent and trap, in accordance with manufacturer's instructions and the Contract Documents. 149: Contractor shall furnish and install domestic water heaters (DWH-1, DWH-3) and the associated boiler in accordance with the Contract Documents. 168: Provide domestic water pumps, including hot water return and in-line circulating pumps, in accordance with the Contract Documents. 169: Contractor shall furnish and install plumbing equipment, including the grease interceptor and domestic water heater (DWH-3), in accordance with the Contract Documents. 194: Furnish and install domestic water heater DWH-EF-100T-199E-3N in accordance with the Contract Documents. 201: Contractor shall furnish and install grease interceptor GI-1 for the kitchen in accordance with the Contract Documents. 203: Contractor shall provide the hot water recirculation pump system in accordance with the Contract Documents. 225: Contractor shall furnish and install domestic water heaters (DWH-1, 2, & 3) with unit-mounted controllers in accordance with the Contract Documents. 226: Furnish and install domestic water recirculation pumps (RP-1 & 2) with aquastat control in accordance with the Contract Documents. 237: Contractor shall provide domestic water heaters (DWH-1, DWH-2) in accordance with the Contract Documents.
[24] Sump Pumps | 17: Contractor shall provide a 1-inch diameter sump in accordance with the Contract Documents. 55: Contractor shall provide a sump pump in the elevator pit in accordance with the Contract Documents. 98: Provide a sump pump in the sump pit in accordance with the Contract Documents. 130: Furnish and install mini-condensate pump and route drain to the mop sink in accordance with the Contract Documents. 139: Contractor shall provide the Blue Diamond mini-condensate pump in accordance with the Contract Documents. 156: Provide a mini-condensate pump and route the drain to the mop sink in accordance with the Contract Documents. 166: Furnish and install a sump pump for the elevator pit in accordance with the Contract Documents. 200: Provide the sump pump system as per schedule in accordance with the Contract Documents. 206: Furnish and install condensate piping from AC units to the mop sink in accordance with the Contract Documents. 212: Provide condensate drain piping from pump up through the roof in accordance with the Contract Documents. 213: Contractor shall furnish and install condensate drain piping from the AC unit to the mop sink in accordance with the Contract Documents. 230: Furnish and install the condensate drainage system, including neutralizers and pumps, in accordance with the Contract Documents. 236: Furnish and install the sump pump in accordance with the Contract Documents.
[25] Condensate & HVAC Plumbing | 138: Furnish and install condensate drain (CD) piping in accordance with the Contract Documents. 204: Provide condensate drain piping for Rooftop Unit (RTU-5) in accordance with the Contract Documents. 207: Contractor shall provide 4-inch PVC vent piping for the kiln exhaust system in accordance with the Contract Documents. 214: Furnish and install 1-1/2 inch equipment drain piping system, including valves and connections to floor drains, in accordance with the Contract Documents. 215: Contractor shall provide a glycol make-up unit for the hot water system in accordance with the Contract Documents. 216: Provide condensate drain piping from rooftop units, including overflow sensor for shutdown, in accordance with the Contract Documents. 217: Contractor shall furnish and install condensate overflow sensor with interlock to cooling controller in accordance with the Contract Documents. 218: Furnish and install condensate overflow sensor with interlock for RTU shutdown in accordance with the Contract Documents. 219: Contractor shall provide the condensate overflow sensor in accordance with the Contract Documents. 220: Provide control wiring to interlock the condensate overflow sensor with the unit cooling controller for shutdown in accordance with the Contract Documents. 221: Contractor shall furnish and install the condensate overflow detection sensor with interlock for unit shutdown in accordance with the Contract Documents.
[26] Hydronic Piping | 222: Furnish and install modulating hot water reheat valves for VAV terminal units in accordance with the Contract Documents. 223: Contractor shall provide hydronic piping for the hot water reheat system in accordance with the Contract Documents. 224: Provide modulating and proportional hot water reheat valves in accordance with the Contract Documents. 228: Provide the hydronic piping system complete with valves, strainers, and fittings in accordance with the Contract Documents. 229: Contractor shall furnish and charge the hydronic system with 30% propylene glycol solution in accordance with the Contract Documents.
[27] Foodservice Fixtures | 242: Provide plumbing fixtures, including sinks, faucets, and pre-rinse assemblies, in accordance with the Contract Documents. 246: Provide sinks, including hand sinks, three-compartment sinks, and mop sinks, in accordance with the Contract Documents. 247: Contractor shall furnish and install faucets, pre-rinse assemblies, and water filters in accordance with the Contract Documents. 251: Contractor shall furnish and install 12"x12"x8" floor sinks with a minimum 3-inch drain connection in accordance with the Contract Documents. 257: Contractor shall furnish and install grease drain with removable cup in accordance with the Contract Documents. 261: Contractor shall provide rod support brackets for sinks with twist lever waste in accordance with the Contract Documents.
[28] Foodservice Rough-in | 243: Contractor shall furnish and install plumbing rough-in and connections for all foodservice equipment in accordance with the Contract Documents. 244: Furnish and install the water filter system in accordance with the Contract Documents. 245: Contractor shall provide plumbing rough-in and final connections for foodservice equipment in accordance with the Contract Documents. 248: Furnish and install water, gas, and steam supply lines for kitchen equipment in accordance with the Contract Documents. 249: Contractor shall provide drain manifolds, tailpieces, traps, and vent piping for kitchen equipment in accordance with the Contract Documents. 252: Furnish and install Type 'L' copper tubing drain lines from equipment to floor sinks in accordance with the Contract Documents. 253: Contractor shall provide installation for kitchen equipment contractor-furnished faucet assemblies, pre-rinse sprays, valves, gauges, and water filtration systems in accordance with the Contract Documents. 254: Provide chrome plated piping on all exposed piping above counter height in accordance with the Contract Documents. 255: Contractor shall provide plumbing rough-in and final connections for all foodservice equipment in accordance with the Contract Documents. 256: Furnish and install plumbing connections for hot and cold food unit drains in accordance with the Contract Documents. 262: Provide plumbing rough-in and final connection for the integral sink in accordance with the Contract Documents.
[29] Plumbing Insulation | 47: Provide insulation on exposed pipes under lavatories and sinks as required by ADA regulations and the Contract Documents. 53: Contractor shall provide insulation for exposed pipes and surfaces under lavatories and sinks in accordance with ADA requirements and the Contract Documents. 73: Provide insulation on exposed pipes below sinks in accordance with the Contract Documents. 82: Provide pipe wrap in accordance with the Contract Documents. 114: Provide insulation for domestic water piping in accordance with the Contract Documents.
[30] Supports & Identification | 19: Contractor shall provide under-slab plumbing utilities, including coordination of locations, in accordance with the Contract Documents. 20: Provide pipe sleeves through walls and caulk penetrations in accordance with the Contract Documents. 70: Provide identification for plumbing piping and equipment in accordance with the Contract Documents. 91: Contractor shall provide hangers and supports for plumbing piping systems in accordance with the Contract Documents. 115: Contractor shall provide hangers and supports for plumbing piping and equipment in accordance with the Contract Documents. 233: Contractor shall furnish and install fixture carriers for wall-hung fixtures in RESTROOM in accordance with the Contract Documents.
[31] Faucets & Trim | 72: Furnish and install faucets in accordance with the Contract Documents. 86: Provide chrome plated piping, stop valves, and escutcheons for exposed plumbing in occupied spaces in accordance with the Contract Documents.
[32] Commissioning & Allowances | 125: Contractor shall provide testing and balancing of the domestic water system in accordance with the Contract Documents. 165: Contractor shall provide water system balancing to achieve specified flow rates in accordance with the Contract Documents. 208: Provide an allowance for the general plumbing scope in accordance with the Contract Documents.