## Electrical
Package Group | Specs
Package 1: Site Electrical & Medium Voltage | 26 01 10 - Operation and Maintenance of Medium-Voltage Electrical Distribution 26 05 13 - Medium-Voltage Cables 26 05 13.13 - Medium-Voltage Open Conductors 26 05 13.16 - Medium-Voltage, Single- and Multi-Conductor Cables 26 06 10 - Schedules for Medium-Voltage Electrical Distribution 26 10 00 - Medium-Voltage Electrical Distribution 26 11 00 - Substations 26 11 13 - Primary Unit Substations 26 11 16 - Secondary Unit Substations 26 11 16.11 - Secondary Unit Substations with Switchgear Secondary 26 11 16.12 - Secondary Unit Substations with Switchboard Secondary 26 11 16.13 - Secondary Unit Substations with Motor Control Center Secondary 26 12 00 - Medium-Voltage Transformers 26 12 13 - Liquid-Filled, Medium-Voltage Transformers 26 12 16 - Dry-Type, Medium-Voltage Transformers 26 12 19 - Pad-Mounted, Liquid-Filled, Medium-Voltage Transformers 26 13 00 - Medium-Voltage Switchgear 26 13 13 - Medium-Voltage Circuit Breaker Switchgear 26 13 16 - Medium-Voltage Fusible Interrupter Switchgear 26 13 19 - Medium-Voltage Vacuum Interrupter Switchgear 26 13 23 - Medium-Voltage Metal-Enclosed Switchgear 26 13 26 - Medium-Voltage Metal-Clad Switchgear 26 13 29 - Medium-Voltage Compartmentalized Switchgear 26 15 00 - Medium-Voltage Enclosed Bus Assemblies 26 15 13 - Medium-Voltage Busways 26 15 16 - Medium-Voltage Cablebus 26 16 00 - Medium-Voltage Metering 26 18 00 - Medium-Voltage Circuit Protection Devices 26 18 13 - Medium-Voltage Cutouts 26 18 16 - Medium-Voltage Fuses 26 18 19 - Medium-Voltage Lightning Arresters 26 18 23 - Medium-Voltage Surge Arresters 26 18 26 - Medium-Voltage Reclosers 26 18 29 - Medium-Voltage Enclosed Bus 26 18 33 - Medium-Voltage Enclosed Fuse Cutouts 26 18 36 - Medium-Voltage Enclosed Fuses 26 18 39 - Medium-Voltage Motor Controllers 26 21 00 - Low-Voltage Electrical Service Entrance 26 21 13 - Low-Voltage Overhead Electrical Service Entrance 26 21 16 - Low-Voltage Underground Electrical Service Entrance
Package 2: Main Electrical Distribution (LV) | 26 01 20 - Operation and Maintenance of Low-Voltage Electrical Distribution 26 06 20 - Schedules for Low-Voltage Electrical Distribution 26 06 20.13 - Electrical Switchboard Schedule 26 06 20.16 - Electrical Panelboard Schedule 26 06 20.19 - Electrical Motor-Control Center Schedule 26 06 20.23 - Electrical Circuit Schedule 26 20 00 - Low-Voltage Electrical Distribution 26 22 00 - Low-Voltage Transformers 26 22 13 - Low-Voltage Distribution Transformers 26 22 16 - Low-Voltage Buck-Boost Transformers 26 22 17 - Low-Voltage Transformers for Nonlinear Loads 26 22 18 - Low-Voltage Transformers for Load Centers 26 22 19 - Control and Signal Transformers 26 23 00 - Low-Voltage Switchgear 26 23 13 - Paralleling Low-Voltage Switchgear 26 24 00 - Switchboards and Panelboards 26 24 13 - Switchboards 26 24 16 - Panelboards 26 24 16.16 - Electronically Operated Circuit-Breaker Panelboards 26 24 19 - Motor-Control Centers 26 25 00 - Low-Voltage Enclosed Bus Assemblies 26 25 13 - Low-Voltage Busways 26 25 16 - Low-Voltage Cablebus Systems 26 27 00 - Low-Voltage Distribution Equipment 26 27 13 - Electricity Metering 26 27 16 - Electrical Cabinets and Enclosures 26 27 33 - Power Distribution Units 26 35 00 - Power Filters and Conditioners 26 35 13 - Capacitors 26 35 16 - Chokes and Inductors 26 35 23 - Electromagnetic-Interference Filters 26 35 26 - Harmonic Filters 26 35 33 - Power Factor Correction Equipment 26 35 33.13 - Medium-Voltage Power Factor Correction Equipment 26 35 33.16 - Low-Voltage Power Factor Correction Equipment 26 35 36 - Slip Controllers 26 35 43 - Static-Frequency Converters 26 35 46 - Radio-Frequency-Interference Filters 26 35 53 - Voltage Regulators
Package 3: Raceways & Rough-In | 26 05 29 - Hangers and Supports for Electrical Systems 26 05 33 - Raceway and Boxes for Electrical Systems 26 05 33.13 - Conduit for Electrical Systems 26 05 33.16 - Boxes for Electrical Systems 26 05 33.23 - Surface Raceways for Electrical Systems 26 05 36 - Cable Trays for Electrical Systems 26 05 39 - Underfloor Raceways for Electrical Systems 26 05 43 - Underground Ducts and Raceways for Electrical Systems 26 05 44 - Sleeves and Sleeve Seals for Electrical Raceways and Cabling 26 05 46 - Poles for Electrical Systems 26 05 48 - Vibration and Seismic Controls for Electrical Systems 26 05 48.16 - Seismic Controls for Electrical Systems
Package 4: Branch Wiring | 26 05 19 - Low-Voltage Electrical Power Conductors and Cables 26 05 19.13 - Undercarpet Electrical Power Cables 26 05 19.23 - Manufactured Wiring Assemblies 26 05 23 - Control-Voltage Electrical Power Cables 26 05 83 - Wiring Connections 26 06 20.26 - Wiring Device Schedule 26 27 19 - Multi-Outlet Assemblies 26 27 23 - Indoor Service Poles 26 27 26 - Wiring Devices 26 27 73 - Door Chimes
Package 5: Lighting & Lighting Controls | 26 01 50 - Operation and Maintenance of Lighting 26 01 50.51 - Luminaire Relamping 26 01 50.81 - Luminaire Replacement 26 05 76 - Photometric Studies 26 06 50 - Schedules for Lighting 26 06 50.13 - Lighting Panelboard Schedule 26 06 50.16 - Lighting Fixture Schedule 26 09 23 - Lighting Control Devices 26 09 26 - Lighting Control Panelboards 26 09 33 - Central Dimming Controls 26 09 33.13 - Multichannel Remote-Controlled Dimmers 26 09 33.16 - Remote-Controlled Dimming Stations 26 09 36 - Modular Dimming Controls 26 09 36.13 - Manual Modular Dimming Controls 26 09 36.16 - Integrated Multipreset Modular Dimming Controls 26 09 36.19 - Standalone Multipreset Modular Dimming 26 09 43 - Network Lighting Controls 26 09 43.13 - Digital-Network Lighting Controls 26 09 43.16 - Addressable Luminaire Lighting Controls 26 09 43.19 - Wireless Network Lighting Controls 26 09 43.23 - Relay-Based Lighting Controls 26 09 61 - Theatrical Lighting Controls 26 50 00 - Lighting 26 51 00 - Interior Lighting 26 51 13 - Incandescent Interior Lighting 26 51 16 - Fluorescent Interior Lighting 26 51 19 - LED Interior Lighting 26 51 23 - HID Interior Lighting 26 52 00 - Safety Lighting 26 52 13 - Emergency and Exit Lighting 26 52 13.13 - Emergency Lighting 26 52 13.16 - Exit Signs 26 54 00 - Classified Location Lighting 26 54 13 - Incandescent Classified Location Lighting 26 54 16 - Fluorescent Classified Location Lighting 26 54 19 - LED Classified Location Lighting 26 55 00 - Special Purpose Lighting 26 55 23 - Outline Lighting 26 55 29 - Underwater Lighting 26 55 33 - Hazard Warning Lighting 26 55 36 - Obstruction Lighting 26 55 39 - Helipad Lighting 26 55 53 - Security Lighting 26 55 59 - Display Lighting 26 55 61 - Theatrical Lighting 26 55 63 - Detention Lighting 26 55 68 - Athletic Field Lighting 26 55 70 - Healthcare Lighting 26 55 83 - Broadcast Lighting 26 56 00 - Exterior Lighting 26 56 13 - Lighting Poles and Standards 26 56 17 - Fluorescent Exterior Lighting 26 56 18 - Incandescent Exterior Lighting 26 56 19 - LED Exterior Lighting 26 56 21 - HID Exterior Lighting
Package 6: Equipment Power Connections | 26 09 00 - Instrumentation and Control for Electrical Systems 26 09 13 - Electrical Power Monitoring 26 09 15 - Peak Load Controllers 26 09 16 - Electrical Control Components 26 09 17 - Programmable Controllers 26 09 19 - Enclosed Contactors 26 28 00 - Low-Voltage Circuit Protective Devices 26 28 13 - Fuses 26 28 16 - Enclosed Switches and Circuit Breakers 26 28 16.13 - Enclosed Circuit Breakers 26 28 16.16 - Enclosed Switches 26 29 00 - Low-Voltage Controllers 26 29 13 - Enclosed Controllers 26 29 13.13 - Across-the-Line Motor Controllers 26 29 13.16 - Reduced-Voltage Motor Controllers 26 29 23 - Variable-Frequency Motor Controllers 26 29 33 - Controllers for Fire Pump Drivers 26 29 33.13 - Full-Service Controllers for Fire Pump Electric-Motor Drivers 26 29 33.16 - Limited-Service Controllers for Fire Pump Electric-Motor Drivers 26 29 33.19 - Controllers for Fire Pump Diesel Engine Drivers
Package 7: Electrical Protection & Safety | 26 01 40 - Operation and Maintenance of Electrical Protection Systems 26 01 40.13 - Operation and Maintenance of Lightning Protection Systems 26 05 26 - Grounding and Bonding for Electrical Systems 26 06 40 - Schedules for Electrical Protection Systems 26 40 00 - Electrical Protection 26 41 00 - Facility Lightning Protection 26 41 13 - Lightning Protection for Structures 26 41 13.13 - Lightning Protection for Buildings 26 41 16 - Lightning Prevention and Dissipation 26 41 19 - Early Streamer Emission Lightning Protection 26 41 23 - Lightning Protection Surge Arresters and Suppressors 26 43 00 - Surge Protective Devices 26 43 13 - Surge Protective Devices for Low-Voltage Electrical Power Circuits
Package 8: Backup Power & Renewable Systems | 26 01 30 - Operation and Maintenance of Facility Electrical Power Generating and Storing Equipment 26 06 30 - Schedules for Facility Electrical Power Generating and Storing Equipment 26 30 00 - Facility Electrical Power Generating and Storing Equipment 26 31 00 - Photovoltaic Collectors 26 32 00 - Packaged Generator Assemblies 26 32 13 - Engine Generators 26 32 13.13 - Diesel-Engine-Driven Generator Sets 26 32 13.16 - Gas-Engine-Driven Generator Sets 26 32 13.26 - Gas-Turbine Engine-Driven Generators 26 32 16 - Steam-Turbine Generators 26 32 19 - Hydro-Turbine Generators 26 32 23 - Wind Energy Equipment 26 32 23.13 - Horizontal-Axis Wind Turbines 26 32 23.16 - Vertical-Axis Wind Turbines 26 32 26 - Frequency Changers 26 32 29 - Rotary Converters 26 32 33 - Rotary Uninterruptible Power Units 26 32 36 - Resistive Load Banks 26 33 00 - Battery Equipment 26 33 13 - Batteries 26 33 16 - Battery Racks 26 33 19 - Battery Units 26 33 23 - Central Battery Equipment 26 33 23.13 - Central Battery Equipment for Emergency Lighting 26 33 33 - Static Power Converters 26 33 43 - Battery Chargers 26 33 46 - Battery Monitoring 26 33 53 - Static Uninterruptible Power Supply 26 36 00 - Transfer Switches 26 36 13 - Manual Transfer Switches 26 36 23 - Automatic Transfer Switches
Package 9: Testing, Studies & Commissioning | 26 01 26 - Maintenance Testing of Electrical Systems 26 05 73 - Power System Studies 26 05 73.13 - Short-Circuit Studies
Others

## Mechanical
Package Group | Specs
Site Mechanical & Utilities | 23 10 00 - Facility Fuel Systems 23 11 00 - Facility Fuel Piping 23 11 13 - Facility Fuel-Oil Piping 23 11 16 - Facility Gasoline Piping 23 11 23 - Facility Natural-Gas Piping 23 11 26 - Facility Liquefied-Petroleum Gas Piping 23 12 00 - Facility Fuel Pumps 23 12 13 - Facility Fuel-Oil Pumps 23 12 16 - Facility Gasoline Dispensing Pumps 23 12 26 - Facility Liquefied-Petroleum Gas Pumps 23 13 00 - Facility Fuel-Storage Tanks 23 13 13 - Facility Underground Fuel-Oil, Storage Tanks 23 13 13.13 - Double-Wall Steel, Underground Fuel-Oil, Storage Tanks 23 13 13.16 - Composite, Steel, Underground Fuel-Oil, Storage Tanks 23 13 13.19 - Jacketed, Steel, Underground Fuel-Oil, Storage Tanks 23 13 13.23 - Glass-Fiber-Reinforced-Plastic, Underground Fuel-Oil, Storage Tanks 23 13 13.33 - Fuel-Oil Storage Tank Pumps 23 13 23 - Facility Aboveground Fuel-Oil, Storage Tanks 23 13 23.13 - Vertical, Steel, Aboveground Fuel-Oil, Storage Tanks 23 13 23.16 - Horizontal, Steel, Aboveground Fuel-Oil, Storage Tanks 23 13 23.19 - Containment-Dike, Steel, Aboveground Fuel-Oil, Storage Tanks 23 13 23.23 - Insulated, Steel, Aboveground Fuel-Oil, Storage Tanks 23 13 23.26 - Concrete-Vaulted, Steel, Aboveground Fuel-Oil, Storage Tanks 23 13 26 - Facility Aboveground Liquefied-Petroleum Gas Storage Tanks 23 21 13.13 - Underground Hydronic Piping 23 21 13.33 - Ground-Loop Heat-Pump Piping 23 22 13.13 - Underground Steam and Condensate Heating Piping 23 24 00 - Internal-Combustion Engine Piping 23 24 13 - Internal-Combustion Engine Remote-Radiator Coolant Piping 23 24 16 - Internal-Combustion Engine Exhaust Piping 23 31 16.26 - Concrete Ducts 23 57 33 - Direct Geoexchange Heat Exchangers
Main Building HVAC Distribution | 23 05 23 - General-Duty Valves for HVAC Piping 23 05 33 - Heat Tracing for HVAC Piping 23 05 63 - Anti-Microbial Coatings for HVAC Ducts and Equipment 23 05 66 - Anti-Microbial Ultraviolet Emitters for HVAC Ducts and Equipment 23 07 00 - HVAC Insulation 23 07 13 - Duct Insulation 23 07 16 - HVAC Equipment Insulation 23 07 19 - HVAC Piping Insulation 23 20 00 - HVAC Piping and Pumps 23 21 00 - Hydronic Piping and Pumps 23 21 13 - Hydronic Piping 23 21 13.23 - Aboveground Hydronic Piping 23 21 16 - Hydronic Piping Specialties 23 21 23 - Hydronic Pumps 23 21 23.13 - In-Line Centrifugal Hydronic Pumps 23 21 23.16 - Base-Mounted, Centrifugal Hydronic Pumps 23 21 23.19 - Vertical-Mounted, Double-Suction Centrifugal Hydronic Pumps 23 21 23.23 - Vertical-Turbine Hydronic Pumps 23 21 29 - Automatic Condensate Pump Units 23 22 00 - Steam and Condensate Piping and Pumps 23 22 13 - Steam and Condensate Heating Piping 23 22 13.23 - Aboveground Steam and Condensate Heating Piping 23 22 16 - Steam and Condensate Heating Piping Specialties 23 22 23 - Steam Condensate Pumps 23 22 23.13 - Electric-Driven Steam Condensate Pumps 23 22 23.23 - Pressure-Powered Steam Condensate Pumps 23 23 00 - Refrigerant Piping 23 23 13 - Refrigerant Piping Valves 23 23 16 - Refrigerant Piping Specialties 23 23 19 - Refrigerant Safety Relief Valve Discharge Piping 23 23 23 - Refrigerants 23 25 00 - HVAC Water Treatment 23 25 13 - Water Treatment for Closed-Loop Hydronic Systems 23 25 16 - Water Treatment for Open Hydronic Systems 23 25 19 - Water Treatment for Steam System Feedwater 23 25 23 - Water Treatment for Humidification Steam System Feedwater 23 25 26 - Electronic Water Conditioning for HVAC Systems 23 25 33 - HVAC Makeup-Water Filtration Equipment 23 30 00 - HVAC Air Distribution 23 31 00 - HVAC Ducts and Casings 23 31 13 - Metal Ducts 23 31 13.13 - Rectangular Metal Ducts 23 31 13.16 - Round and Flat-Oval Spiral Ducts 23 31 13.19 - Metal Duct Fittings 23 31 16 - Nonmetal Ducts 23 31 16.13 - Fibrous-Glass Ducts 23 31 16.16 - Thermoset Fiberglass-Reinforced Plastic Ducts 23 31 16.19 - PVC Ducts 23 31 19 - HVAC Casings 23 32 00 - Air Plenums and Chases 23 32 13 - Fabricated, Metal Air Plenums 23 32 33 - Air-Distribution Ceiling Plenums 23 32 36 - Air-Distribution Floor Plenums 23 32 39 - Air-Distribution Wall Plenums 23 32 43 - Air-Distribution Chases Formed by General Construction 23 32 48 - Acoustical Air Plenums 23 51 00 - Breechings, Chimneys, and Stacks 23 51 13 - Draft Control Devices 23 51 13.11 - Draft Control Fans 23 51 13.13 - Draft-Induction Fans 23 51 13.16 - Vent Dampers 23 51 13.19 - Barometric Dampers 23 51 16 - Fabricated Breechings and Accessories 23 51 19 - Fabricated Stacks 23 51 23 - Gas Vents 23 51 33 - Insulated Sectional Chimneys 23 51 43 - Flue-Gas Filtration Equipment 23 51 43.13 - Gaseous Filtration 23 51 43.16 - Particulate Filtration
Raceways, Conduits & Supports (Mechanical) | 23 05 16 - Expansion Fittings and Loops for HVAC Piping 23 05 17 - Sleeves and Sleeve Seals for HVAC Piping 23 05 29 - Hangers and Supports for HVAC Piping and Equipment 23 05 48 - Vibration and Seismic Controls for HVAC 23 05 48.13 - Vibration Controls for HVAC 23 05 53 - Identification for HVAC Piping and Equipment
Branch Ducts, Piping & Connections | 23 33 00 - Air Duct Accessories 23 33 13 - Dampers 23 33 13.13 - Volume-Control Dampers 23 33 13.23 - Backdraft Dampers 23 33 19 - Duct Silencers 23 33 23 - Turning Vanes 23 33 33 - Duct-Mounting Access Doors 23 33 38 - Duct Security Bars 23 33 43 - Flexible Connectors 23 33 46 - Flexible Ducts 23 33 53 - Duct Liners 23 36 00 - Air Terminal Units 23 36 13 - Constant-Air-Volume Units 23 36 16 - Variable-Air-Volume Units 23 37 00 - Air Outlets and Inlets 23 37 13 - Diffusers, Registers, and Grilles 23 37 13.43 - Security Registers and Grilles 23 37 16 - Fabric Air Distribution Devices 23 37 23 - HVAC Gravity Ventilators 23 37 23.13 - HVAC Gravity Dome Ventilators 23 37 23.16 - HVAC Gravity Louvered-Penthouse Ventilators 23 37 23.19 - HVAC Gravity Upblast Ventilators 23 83 00 - Radiant Heating and Cooling Units 23 83 13 - Radiant-Heating Electric Cables 23 83 13.16 - Radiant-Heating Electric Mats 23 83 16 - Radiant Heating and Cooling Hydronic Piping 23 83 23 - Radiant-Heating Electric Panels 23 83 26 - Radiant Heating and Cooling Hydronic Panels 23 83 33 - Electric Radiant Heaters
Controls & Instrumentation | 23 05 19 - Meters and Gauges for HVAC Piping 23 09 00 - Instrumentation and Control for HVAC 23 09 13 - Instrumentation and Control Devices for HVAC 23 09 13.13 - Actuators and Operators 23 09 13.23 - Sensors and Transmitters 23 09 13.33 - Control Valves 23 09 13.43 - Control Dampers 23 09 23 - Direct-Digital Control System for HVAC 23 09 23.11 - Control Valves 23 09 23.12 - Control Dampers 23 09 23.13 - Energy Meters 23 09 23.14 - Flow Instruments 23 09 23.16 - Gas Instruments 23 09 23.17 - Level Instruments 23 09 23.18 - Leak Detection Instruments 23 09 23.19 - Moisture Instruments 23 09 23.21 - Motion Instruments 23 09 23.22 - Position Instruments 23 09 23.23 - Pressure Instruments 23 09 23.24 - Speed Instruments 23 09 23.27 - Temperature Instruments 23 09 23.33 - Vibration Instruments 23 09 23.43 - Weather Stations 23 09 33 - Electric and Electronic Control System for HVAC 23 09 43 - Pneumatic Control System for HVAC 23 09 53 - Pneumatic and Electric Control System for HVAC 23 09 93 - Sequence of Operations for HVAC Controls 23 09 93.11 - Sequence of Operation for HVAC DDC
Mechanical Equipment Installation | 23 05 13 - Common Motor Requirements for HVAC Equipment 23 34 00 - HVAC Fans 23 34 13 - Axial HVAC Fans 23 34 16 - Centrifugal HVAC Fans 23 34 23 - HVAC Power Ventilators 23 34 33 - Air Curtains 23 34 39 - High-Volume, Low-Speed Propeller Fans 23 35 00 - Special Exhaust Systems 23 35 13 - Dust Collection Systems 23 35 13.13 - Sawdust Collection Systems 23 35 16 - Engine Exhaust Systems 23 35 16.13 - Positive-Pressure Engine Exhaust Systems 23 35 16.16 - Mechanical Engine Exhaust Systems 23 35 33 - Listed Kitchen Ventilation Exhaust System 23 38 00 - Ventilation Hoods 23 38 13 - Commercial-Kitchen Hoods 23 38 16 - Fume Hoods 23 40 00 - HVAC Air Cleaning Devices 23 41 00 - Particulate Air Filtration 23 41 13 - Panel Air Filters 23 41 16 - Renewable-Media Air Filters 23 41 19 - Washable Air Filters 23 41 23 - Extended Surface Filters 23 41 33 - High-Efficiency Particulate Filtration 23 41 43 - Ultra-Low Penetration Filtration 23 41 46 - Super Ultra-Low Penetration Filtration 23 42 00 - Gas-Phase Air Filtration 23 42 13 - Activated-Carbon Air Filtration 23 42 16 - Chemically-Impregnated Adsorption Air Filtration 23 42 19 - Catalytic-Adsorption Air Filtration 23 43 00 - Electronic Air Cleaners 23 43 13 - Washable Electronic Air Cleaners 23 43 16 - Agglomerator Electronic Air Cleaners 23 43 23 - Self-Contained Electronic Air Cleaners 23 50 00 - Central Heating Equipment 23 52 00 - Heating Boilers 23 52 13 - Electric Boilers 23 52 16 - Condensing Boilers 23 52 16.13 - Stainless-Steel Condensing Boilers 23 52 16.16 - Aluminum Condensing Boilers 23 52 17 - Low Mass Boilers 23 52 19 - Pulse Combustion Boilers 23 52 23 - Cast-Iron Boilers 23 52 33 - Water-Tube Boilers 23 52 33.13 - Finned Water-Tube Boilers 23 52 33.14 - Flexible Water-Tube Boilers 23 52 33.16 - Steel Water-Tube Boilers 23 52 33.19 - Copper Water-Tube Boilers 23 52 39 - Fire-Tube Boilers 23 52 39.13 - Scotch Marine Boilers 23 52 39.16 - Steel Fire-Tube Boilers 23 52 83 - Boiler Blowdown Systems 23 53 00 - Heating Boiler Feedwater Equipment 23 53 13 - Boiler Feedwater Pumps 23 53 16 - Deaerators 23 54 00 - Furnaces 23 54 13 - Electric-Resistance Furnaces 23 54 16 - Fuel-Fired Furnaces 23 54 16.13 - Gas-Fired Furnaces 23 54 16.16 - Oil-Fired Furnaces 23 55 00 - Fuel-Fired Heaters 23 55 13 - Fuel-Fired Duct Heaters 23 55 13.13 - Oil-Fired Duct Heaters 23 55 13.16 - Gas-Fired Duct Heaters 23 55 23 - Gas-Fired Radiant Heaters 23 55 23.13 - Low-Intensity Gas-Fired Radiant Heaters 23 55 23.16 - High-Intensity Gas-Fired Radiant Heaters 23 55 33 - Fuel-Fired Unit Heaters 23 55 33.13 - Oil-Fired Unit Heaters 23 55 33.16 - Gas-Fired Unit Heaters 23 57 00 - Heat Exchangers for HVAC 23 57 13 - Steam-to-Steam Heat Exchangers 23 57 16 - Steam-to-Water Heat Exchangers 23 57 19 - Liquid-to-Liquid Heat Exchangers 23 57 19.13 - Plate-Type, Liquid-to-Liquid Heat Exchangers 23 57 19.16 - Shell-Type, Liquid-to-Liquid Heat Exchangers 23 60 00 - Central Cooling Equipment 23 61 00 - Refrigerant Compressors 23 61 13 - Centrifugal Refrigerant Compressors 23 61 13.13 - Non-Condensable Gas Purge Equipment 23 61 16 - Reciprocating Refrigerant Compressors 23 61 19 - Scroll Refrigerant Compressors 23 61 23 - Rotary-Screw Refrigerant Compressors 23 62 00 - Packaged Compressor and Condenser Units 23 62 13 - Packaged Air-Cooled Refrigerant Compressor and Condenser Units 23 62 23 - Packaged Water-Cooled Refrigerant Compressor and Condenser Units 23 62 46 - Packaged Variable-Refrigerant-Flow Air-Conditioning Systems 23 63 00 - Refrigerant Condensers 23 63 13 - Air-Cooled Refrigerant Condensers 23 63 23 - Water-Cooled Refrigerant Condensers 23 63 33 - Evaporative Refrigerant Condensers 23 64 00 - Packaged Water Chillers 23 64 13 - Absorption Water Chillers 23 64 13.13 - Direct-Fired Absorption Water Chillers 23 64 13.16 - Indirect-Fired Absorption Water Chillers 23 64 16 - Centrifugal Water Chillers 23 64 16.13 - Air-Cooled Centrifugal Water Chillers 23 64 16.16 - Water-Cooled Centrifugal Water Chillers 23 64 19 - Reciprocating Water Chillers 23 64 23 - Scroll Water Chillers 23 64 23.13 - Air-Cooled Scroll Water Chillers 23 64 23.16 - Water-Cooled Scroll Water Chillers 23 64 26 - Rotary-Screw Water Chillers 23 64 26.13 - Air-Cooled, Rotary-Screw Water Chillers 23 64 26.16 - Water-Cooled, Rotary-Screw Water Chillers 23 64 33 - Modular Water Chillers 23 64 33.13 - Air-Cooled, Modular Water Chillers 23 64 33.16 - Water-Cooled, Modular Water Chillers 23 65 00 - Cooling Towers 23 65 13 - Forced-Draft Cooling Towers 23 65 13.13 - Open-Circuit, Forced-Draft Cooling Towers 23 65 13.16 - Closed-Circuit, Forced-Draft Cooling Towers 23 65 14 - Induced-Draft Cooling Towers 23 65 14.13 - Open-Circuit, Induced-Draft Counterflow Cooling Towers 23 65 14.14 - Open-Circuit, Induced-Draft Crossflow Cooling Towers 23 65 14.16 - Closed-Circuit, Induced-Draft Counterflow Cooling Towers 23 65 14.17 - Closed-Circuit, Induced-Draft Combined-Flow Cooling Towers 23 65 16 - Natural-Draft Cooling Towers 23 65 23 - Field-Erected Cooling Towers 23 65 33 - Liquid Coolers 23 70 00 - Central HVAC Equipment 23 73 00 - Indoor Central-Station Air-Handling Units 23 73 13 - Modular Indoor Central-Station Air-Handling Units 23 73 23 - Custom Indoor Central-Station Air-Handling Units 23 73 33 - Indoor Indirect Fuel-Fired Heating and Ventilating Units 23 73 33.13 - Indoor Indirect Oil-Fired Heating and Ventilating Units 23 73 33.16 - Indoor Indirect Gas-Fired Heating and Ventilating Units 23 73 39 - Indoor, Direct Gas-Fired Heating and Ventilating Units 23 74 00 - Packaged Outdoor HVAC Equipment 23 74 13 - Packaged, Outdoor, Central-Station Air-Handling Units 23 74 16 - Packaged Rooftop Air-Conditioning Units 23 74 16.11 - Packaged, Small-Capacity, Rooftop Air-Conditioning Units 23 74 16.12 - Packaged, Intermediate-Capacity, Rooftop Air-Conditioning Units 23 74 16.13 - Packaged, Large-Capacity, Rooftop Air-Conditioning Units 23 74 23 - Packaged, Outdoor, Heating-Only Makeup-Air Units 23 74 23.13 - Packaged, Direct-Fired, Outdoor, Heating-Only Makeup-Air Units 23 74 23.16 - Packaged, Indirect-Fired, Outdoor, Heating-Only Makeup-Air Units 23 74 33 - Dedicated Outdoor-Air Units 23 75 00 - Custom-Packaged Outdoor HVAC Equipment 23 75 13 - Custom-Packaged, Outdoor, Central-Station Air-Handling Units 23 75 16 - Custom-Packaged, Rooftop Air-Conditioning Units 23 75 23 - Custom-Packaged, Outdoor, Heating and Ventilating Makeup-Air Units 23 75 33 - Custom-Packaged, Outdoor, Heating and Cooling Makeup Air-Conditioners 23 76 00 - Evaporative Air-Cooling Equipment 23 76 13 - Direct Evaporative Air Coolers 23 76 16 - Indirect Evaporative Air Coolers 23 76 19 - Combined Direct and Indirect Evaporative Air Coolers 23 80 00 - Decentralized HVAC Equipment 23 81 00 - Decentralized Unitary HVAC Equipment 23 81 13 - Packaged Terminal Air-Conditioners 23 81 13.11 - Packaged Terminal Air-Conditioners, Through-Wall Units 23 81 13.12 - Packaged Terminal Air-Conditioners, Freestanding Units 23 81 13.13 - Packaged Terminal Air-Conditioners, Outdoor, Wall-Mounted Units 23 81 16 - Room Air-Conditioners 23 81 19 - Self-Contained Air-Conditioners 23 81 19.13 - Small-Capacity Self-Contained Air-Conditioners 23 81 19.16 - Large-Capacity Self-Contained Air-Conditioners 23 81 23 - Computer-Room Air-Conditioners 23 81 23.11 - Small-Capacity, Computer-Room Air-Conditioners, Floor Mounted Units 23 81 23.12 - Large-Capacity, Computer-Room Air-Conditioners, Floor-Mounted Units 23 81 23.13 - Computer-Room Air-Conditioners, Ceiling Mounted Units 23 81 23.14 - Computer-Room Air-Conditioners, Console Units 23 81 23.16 - Computer-Room Air-Conditioners, Rack Mounted, Space-Cooling Units 23 81 23.18 - Computer-Room, Rack-Cooling Equipment 23 81 26 - Split-System Air-Conditioners 23 81 26.13 - Small-Capacity Split-System Air-Conditioners 23 81 26.16 - Large-Capacity Split-System Air-Conditioners 23 81 29 - Variable Refrigerant Flow HVAC Systems 23 81 43 - Air-Source Unitary Heat Pumps 23 81 46 - Water-Source Unitary Heat Pumps 23 82 00 - Convection Heating and Cooling Units 23 82 13 - Valance Heating and Cooling Units 23 82 14 - Chilled Beams 23 82 16 - Air Coils 23 82 16.11 - Hydronic Air Coils 23 82 16.12 - Steam Air Coils 23 82 16.13 - Refrigerant Air Coils 23 82 16.14 - Electric-Resistance Air Coils 23 82 19 - Fan Coil Units 23 82 23 - Unit Ventilators 23 82 26 - Induction Units 23 82 29 - Radiators 23 82 33 - Convectors 23 82 36 - Finned-Tube Radiation Heaters 23 82 39 - Unit Heaters 23 82 39.13 - Cabinet Unit Heaters 23 82 39.16 - Propeller Unit Heaters 23 82 39.19 - Wall and Ceiling Unit Heaters 23 82 41 - Water-to-Water Heat Pumps 23 84 00 - Humidity Control Equipment 23 84 13 - Humidifiers 23 84 13.13 - Heated-Pan Humidifiers 23 84 13.16 - Wetted-Element Humidifiers 23 84 13.19 - Atomizing Humidifiers 23 84 13.23 - Direct-Steam-Injection Humidifiers 23 84 13.26 - Jacketed, Steam Humidifiers 23 84 13.29 - Self-Contained Steam Humidifiers 23 84 13.33 - Portable Humidifiers 23 84 16 - Mechanical Dehumidification Units 23 84 16.13 - Outdoor, Mechanical Dehumidification Units 23 84 16.16 - Indoor, Mechanical Dehumidification Units 23 84 16.33 - Portable Dehumidifiers 23 84 19 - Desiccant Dehumidification Units
Fire Protection & Safety Systems | 23 33 13.16 - Fire Dampers 23 33 13.19 - Smoke-Control Dampers
Energy & Renewable Mechanical Systems | 23 56 00 - Solar Energy Heating Equipment 23 56 13 - Heating Solar Collectors 23 56 13.13 - Heating Solar Flat-Plate Collectors 23 56 13.16 - Heating Solar Concentrating Collectors 23 56 13.19 - Heating Solar Vacuum-Tube Collectors 23 56 16 - Packaged Solar Heating Equipment 23 56 23 - Solar Air-Heating Panels 23 71 00 - Thermal Storage 23 71 13 - Thermal Heat Storage 23 71 13.13 - Room Storage Heaters for Thermal Storage 23 71 13.16 - Heat-Pump Boosters for Thermal Storage 23 71 13.19 - Central Furnace Heat-Storage Units 23 71 13.23 - Pressurized-Water Thermal Storage Tanks 23 71 16 - Chilled-Water Thermal Storage 23 71 19 - Ice Storage 23 71 19.13 - Internal Ice-on-Coil Thermal Storage 23 71 19.16 - External Ice-on-Coil Thermal Storage 23 71 19.19 - Encapsulated-Ice Thermal Storage 23 71 19.23 - Ice-Harvesting Thermal Storage 23 71 19.26 - Ice-Slurry Thermal Storage 23 72 00 - Air-to-Air Energy Recovery Equipment 23 72 13 - Heat-Wheel Air-to-Air Energy-Recovery Equipment 23 72 16 - Heat-Pipe Air-to-Air Energy-Recovery Equipment 23 72 19 - Fixed-Plate Air-to-Air Energy-Recovery Equipment 23 72 23 - Packaged Air-to-Air Energy-Recovery Units 23 81 49 - Ground-Source Unitary Heat Pumps
Testing, Balancing & Commissioning | 23 05 93 - Testing, Adjusting, and Balancing for HVAC 23 08 00 - Commissioning of HVAC
Others | 23 00 00 - Heating, Ventilating, and Air Conditioning (HVAC) 23 01 00 - Operation and Maintenance of HVAC Systems 23 01 10 - Operation and Maintenance of Facility Fuel Systems 23 01 20 - Operation and Maintenance of HVAC Piping and Pumps 23 01 30 - Operation and Maintenance of HVAC Air Distribution 23 01 30.51 - HVAC Air-Distribution System Cleaning 23 01 50 - Operation and Maintenance of Central Heating Equipment 23 01 60 - Operation and Maintenance of Central Cooling Equipment 23 01 60.71 - Refrigerant Recovery/Recycling 23 01 70 - Operation and Maintenance of Central HVAC Equipment 23 01 80 - Operation and Maintenance of Decentralized HVAC Equipment 23 01 90 - Diagnostic Systems for HVAC 23 05 00 - Common Work Results for HVAC 23 05 05 - Selective Demolition for Heating, Ventilating, and Air Conditioning (HVAC) 23 06 00 - Schedules for HVAC 23 06 10 - Schedules for Facility Fuel Service Systems 23 06 20 - Schedules for HVAC Piping and Pumps 23 06 20.13 - Hydronic Pump Schedule 23 06 30 - Schedules for HVAC Air Distribution 23 06 30.13 - HVAC Fan Schedule 23 06 30.16 - Air Terminal Unit Schedule 23 06 30.19 - Air Outlet and Inlet Schedule 23 06 30.23 - HVAC Air Cleaning Device Schedule 23 06 50 - Schedules for Central Heating Equipment 23 06 50.13 - Heating Boiler Schedule 23 06 60 - Schedules for Central Cooling Equipment 23 06 60.13 - Refrigerant Condenser Schedule 23 06 60.16 - Packaged Water Chiller Schedule 23 06 70 - Schedules for Central HVAC Equipment 23 06 70.13 - Indoor, Central-Station Air-Handling Unit Schedule 23 06 70.16 - Packaged Outdoor HVAC Equipment Schedule 23 06 80 - Schedules for Decentralized HVAC Equipment 23 06 80.13 - Decentralized Unitary HVAC Equipment Schedule 23 06 80.16 - Convection Heating and Cooling Unit Schedule 23 06 80.19 - Radiant Heating and Cooling Unit Schedule

## Plumbing
Package Group | Specs
Testing, Commissioning & O&M | 22 01 00 - Operation and Maintenance of Plumbing 22 01 10 - Operation and Maintenance of Plumbing Piping and Pumps 22 01 10.16 - Video Piping Inspections 22 01 10.51 - Plumbing Piping Cleaning 22 01 10.61 - Plumbing Piping Repairs 22 01 10.62 - Plumbing Piping Relining 22 01 30 - Operation and Maintenance of Plumbing Equipment 22 01 40 - Operation and Maintenance of Plumbing Fixtures 22 01 50 - Operation and Maintenance of Pool and Fountain Plumbing Systems 22 01 60 - Operation and Maintenance of Laboratory and Healthcare Systems 22 08 00 - Commissioning of Plumbing
Site Plumbing & Utilities | 22 05 73 - Facility Drainage Manholes 22 11 00 - Facility Water Distribution 22 11 13 - Facility Water Distribution Piping 22 12 13 - Facility Roof-Mounted, Potable-Water Storage Tanks 22 12 16 - Facility Elevated, Potable-Water Storage Tanks 22 12 19 - Facility Ground-Mounted, Potable-Water Storage Tanks 22 12 21 - Facility Underground Potable-Water Storage Tanks 22 13 00 - Facility Sanitary Sewerage 22 13 13 - Facility Sanitary Sewers 22 13 43 - Facility Packaged Sewage Pumping Stations 22 13 43.13 - Facility Dry-Well Packaged Sewage Pumping Stations 22 13 43.16 - Facility Wet-Well Packaged Sewage Pumping Stations 22 14 63 - Facility Storm-Water Retention Tanks
Domestic Water Distribution | 22 11 16 - Domestic Water Piping 22 11 19 - Domestic Water Piping Specialties 22 12 00 - Facility Potable-Water Storage Tanks 22 12 23 - Facility Indoor Potable-Water Storage Tanks 22 12 23.13 - Facility Steel, Indoor Potable-Water Storage Pressure Tanks 22 12 23.16 - Facility Steel, Indoor Potable-Water Storage Non-Pressure Tanks 22 12 23.23 - Facility Plastic, Indoor Potable-Water Storage Pressure Tanks 22 12 23.26 - Facility Plastic, Indoor Potable-Water Storage Non-Pressure Tanks
Sanitary & Wastewater Systems | 22 05 76 - Facility Drainage Piping Cleanouts 22 13 16 - Sanitary Waste and Vent Piping 22 13 19 - Sanitary Waste Piping Specialties 22 13 19.13 - Sanitary Drains 22 13 19.23 - Fats, Oils, and Grease Disposal Systems 22 13 19.26 - Grease Removal Devices 22 13 19.33 - Backwater Valves 22 13 19.36 - Air-Admittance Valves 22 13 23 - Sanitary Waste Interceptors 22 13 26 - Sanitary Waste Separators
Stormwater & Roof Drainage Systems | 22 14 00 - Facility Storm Drainage 22 14 13 - Facility Storm Drainage Piping 22 14 16 - Rainwater Leaders 22 14 19 - Sump Pump Discharge Piping 22 14 23 - Storm Drainage Piping Specialties 22 14 26 - Facility Storm Drains 22 14 26.13 - Roof Drains 22 14 26.16 - Facility Area Drains 22 14 26.19 - Facility Trench Drains
Pumps, Valves & Equipment | 22 05 13 - Common Motor Requirements for Plumbing Equipment 22 05 19 - Meters and Gauges for Plumbing Piping 22 05 23 - General-Duty Valves for Plumbing Piping 22 11 23 - Domestic Water Pumps 22 11 23.13 - Domestic-Water Packaged Booster Pumps 22 11 23.23 - Domestic-Water In-Line Pumps 22 11 23.26 - Close-Coupled, Horizontally Mounted, In-Line Centrifugal Domestic-Water Pumps 22 11 23.29 - Close-Coupled, Vertically Mounted, In-Line Centrifugal Domestic-Water Pumps 22 11 23.33 - Separately Coupled, In-Line Centrifugal Domestic-Water Pumps 22 11 23.36 - Separately Coupled, Horizontally Mounted, In-Line Centrifugal Domestic-Water Pumps 22 11 23.43 - Domestic-Water, Base-Mounted Pumps 22 13 29 - Sanitary Sewerage Pumps 22 13 29.13 - Wet-Pit-Mounted, Vertical Sewerage Pumps 22 13 29.16 - Submersible Sewerage Pumps 22 13 29.23 - Sewerage Pump Reverse-Flow Assemblies 22 13 29.33 - Sewerage Pump Basins and Pits 22 13 33 - Packaged, Submersible Sewerage Pump Units 22 13 36 - Packaged, Wastewater Pump Units 22 14 29 - Sump Pumps 22 14 29.13 - Wet-Pit-Mounted, Vertical Sump Pumps 22 14 29.16 - Submersible Sump Pumps 22 14 29.19 - Sump-Pump Basins and Pits 22 14 33 - Packaged, Pedestal Drainage Pump Units 22 14 36 - Packaged, Submersible, Drainage Pump Units 22 30 00 - Plumbing Equipment 22 31 00 - Domestic Water Softeners 22 31 13 - Residential Domestic Water Softeners 22 31 16 - Commercial Domestic Water Softeners 22 32 00 - Domestic Water Filtration Equipment 22 32 13 - Domestic-Water Bag-Type Filters 22 32 16 - Domestic-Water Freestanding Cartridge Filters 22 32 19 - Domestic-Water Off-Floor Cartridge Filters 22 32 23 - Domestic-Water Carbon Filters 22 32 26 - Domestic-Water Sand Filters 22 32 26.13 - Domestic-Water Circulating Sand Filters 22 32 26.16 - Domestic-Water Multimedia Sand Filters 22 32 26.19 - Domestic-Water Greensand Filters 22 33 00 - Electric Domestic Water Heaters 22 33 13 - Instantaneous Electric Domestic Water Heaters 22 33 13.13 - Flow-Control, Instantaneous Electric Domestic Water Heaters 22 33 13.16 - Thermostat-Control, Instantaneous Electric Domestic Water Heaters 22 33 30 - Residential, Electric Domestic Water Heaters 22 33 30.13 - Residential, Small-Capacity Electric Domestic Water Heaters 22 33 30.16 - Residential, Storage Electric Domestic Water Heaters 22 33 33 - Light-Commercial Electric Domestic Water Heaters 22 33 36 - Commercial Domestic Water Electric Booster Heaters 22 33 36.13 - Commercial Domestic Water Electric Booster Heaters 22 33 36.16 - Commercial Storage Electric Domestic Water Heaters 22 34 00 - Fuel-Fired Domestic Water Heaters 22 34 13 - Instantaneous, Tankless, Gas Domestic Water Heaters 22 34 30 - Residential Gas Domestic Water Heaters 22 34 30.13 - Residential, Atmospheric, Gas Domestic Water Heaters 22 34 30.16 - Residential, Direct-Vent, Gas Domestic Water Heaters 22 34 30.19 - Residential, Power-Vent, Gas Domestic Water Heaters 22 34 36 - Commercial Gas Domestic Water Heaters 22 34 36.13 - Commercial, Atmospheric, Gas Domestic Water Heaters 22 34 36.16 - Commercial, Power-Burner, Gas Domestic Water Heaters 22 34 36.19 - Commercial, Power-Vent, Gas Domestic Water Heaters 22 34 36.23 - Commercial, High-Efficiency, Gas Domestic Water Heaters 22 34 36.26 - Commercial, Coil-Type, Finned-Tube, Gas Domestic Water Heaters 22 34 36.29 - Commercial, Grid-Type, Finned-Tube, Gas Domestic Water Heaters 22 34 46 - Oil-Fired Domestic Water Heaters 22 34 46.13 - Large-Capacity, Oil-Fired Domestic Water Heaters 22 34 56 - Dual-Fuel-Fired Domestic Water Heaters 22 35 00 - Domestic Water Heat Exchangers 22 35 13 - Instantaneous Domestic Water Heat Exchangers 22 35 13.13 - Heating-Fluid-in-Coil, Instantaneous Domestic Water Heat Exchangers 22 35 13.16 - Domestic-Water-in-Coil, Instantaneous Domestic Water Heat Exchangers 22 35 13.19 - Heating-Fluid-in-U-Tube-Coil, Instantaneous Domestic Water Heat Exchangers 22 35 23 - Circulating, Domestic Water Heat Exchangers 22 35 23.13 - Circulating, Compact Domestic Water Heat Exchangers 22 35 23.16 - Circulating, Storage Domestic Water Heat Exchangers 22 35 29 - Noncirculating, Domestic Water Heat Exchangers 22 35 29.13 - Noncirculating, Compact Domestic Water Heat Exchangers 22 35 29.16 - Noncirculating, Storage Domestic Water Heat Exchangers 22 35 36 - Domestic Water Brazed-Plate Heat Exchangers 22 35 39 - Domestic Water Frame-and-Plate Heat Exchangers 22 35 43 - Domestic Water Heat Reclaimers 22 36 00 - Domestic Water Preheaters
Energy & Sustainable Plumbing Systems | 22 11 17 - Gray-Water Piping 22 11 63 - Gray-Water Pumps 22 13 63 - Facility Gray Water Tanks 22 14 53 - Rainwater Storage Tanks 22 33 30.23 - Residential, Collector-to-Tank, Solar-Electric Domestic Water Heaters 22 33 30.26 - Residential, Collector-to-Tank, Heat-Exchanger-Coil, Solar-Electric Domestic Water Heaters 22 36 13 - Solar Domestic Water Preheaters 22 36 23 - Geothermal Domestic Water Preheaters
Plumbing Fixtures & Accessories | 22 40 00 - Plumbing Fixtures 22 41 00 - Residential Plumbing Fixtures 22 41 13 - Residential Water Closets, Urinals, and Bidets 22 41 13.13 - Residential Water Closets 22 41 13.16 - Residential Urinals 22 41 13.19 - Residential Bidets 22 41 16 - Residential Lavatories and Sinks 22 41 16.13 - Residential Lavatories 22 41 16.16 - Residential Sinks 22 41 19 - Residential Bathtubs 22 41 23 - Residential Showers 22 41 26 - Residential Disposers 22 41 36 - Residential Laundry Trays 22 41 39 - Residential Faucets, Supplies, and Trim 22 42 00 - Commercial Plumbing Fixtures 22 42 13 - Commercial Water Closets, Urinals, and Bidets 22 42 13.13 - Commercial Water Closets 22 42 13.16 - Commercial Urinals 22 42 16 - Commercial Lavatories and Sinks 22 42 16.13 - Commercial Lavatories 22 42 16.16 - Commercial Sinks 22 42 19 - Commercial Bathtubs 22 42 23 - Commercial Showers 22 42 26 - Commercial Disposers 22 42 29 - Shampoo Bowls 22 42 33 - Wash Fountains 22 42 36 - Commercial Laundry Trays 22 42 39 - Commercial Faucets 22 42 43 - Flushometers 22 43 00 - Healthcare Plumbing Fixtures 22 43 13 - Healthcare Water Closets 22 43 16 - Healthcare Sinks 22 43 19 - Healthcare Bathtubs 22 43 23 - Healthcare Showers 22 43 39 - Healthcare Faucets 22 43 43 - Healthcare Plumbing Fixture Flushometers 22 45 00 - Emergency Plumbing Fixtures 22 45 13 - Emergency Showers 22 45 16 - Eyewash Equipment 22 45 19 - Self-Contained Eyewash Equipment 22 45 23 - Personal Eyewash Equipment 22 45 26 - Eye/Face Wash Equipment 22 45 29 - Hand-Held Emergency Drench Hoses 22 45 33 - Combination Emergency Fixture Units 22 45 36 - Emergency Fixture Water-Tempering Equipment 22 46 00 - Security Plumbing Fixtures 22 46 13 - Security Water Closets and Urinals 22 46 13.13 - Security Water Closets 22 46 13.16 - Security Urinals 22 46 16 - Security Lavatories and Sinks 22 46 16.13 - Security Lavatories 22 46 16.16 - Security Sinks 22 46 19 - Security Showers 22 46 39 - Security Faucets, Supplies, and Trim 22 46 43 - Security Plumbing Fixture Flushometers 22 46 53 - Security Plumbing Fixture Supports 22 47 00 - Drinking Fountains and Water Coolers 22 47 13 - Drinking Fountains 22 47 16 - Pressure Water Coolers 22 47 19 - Water-Station Water Coolers 22 47 23 - Remote Water Coolers
Medical, Specialty & Laboratory Plumbing | 22 09 63 - Medical Gas Alarms 22 15 00 - General Service Compressed-Air Systems 22 15 13 - General Service Compressed-Air Piping 22 15 16 - General Service Compressed-Air Valves 22 15 19 - General Service Packaged Air Compressors and Receivers 22 15 19.13 - General Service Packaged Reciprocating Air Compressors 22 15 19.16 - General Service Packaged Liquid-Ring Air Compressors 22 15 19.19 - General Service Packaged Rotary-Screw Air Compressors 22 15 19.23 - General Service Packaged Sliding-Vane Air Compressors 22 50 00 - Pool and Fountain Plumbing Systems 22 51 00 - Swimming Pool Plumbing Systems 22 51 13 - Swimming Pool Piping 22 51 16 - Swimming Pool Pumps 22 51 19 - Swimming Pool Water Treatment Equipment 22 51 23 - Swimming Pool Equipment Controls 22 52 00 - Fountain Plumbing Systems 22 52 13 - Fountain Piping 22 52 16 - Fountain Pumps 22 52 19 - Fountain Water Treatment Equipment 22 52 19.13 - Electronic Fountain Water Conditioning Equipment 22 52 23 - Fountain Equipment Controls 22 60 00 - Gas and Vacuum Systems for Laboratory and Healthcare Facilities 22 61 00 - Compressed Air Systems for Laboratory and Healthcare Facilities 22 61 13 - Compressed-Air Piping for Laboratory and Healthcare Facilities 22 61 13.53 - Laboratory Compressed-Air Piping 22 61 13.70 - Healthcare Compressed-Air Piping 22 61 13.74 - Dental Compressed-Air Piping 22 61 19 - Compressed-Air Equipment for Laboratory and Healthcare Facilities 22 61 19.53 - Laboratory Compressed-Air Equipment 22 61 19.70 - Healthcare Compressed-Air Equipment 22 61 19.74 - Dental Compressed-Air Equipment 22 62 00 - Vacuum Systems for Laboratory and Healthcare Facilities 22 62 13 - Vacuum Piping for Laboratory and Healthcare Facilities 22 62 13.53 - Laboratory Vacuum Piping 22 62 13.70 - Healthcare, Surgical Vacuum Piping 22 62 13.74 - Dental Vacuum Piping 22 62 19 - Vacuum Equipment for Laboratory and Healthcare Facilities 22 62 19.53 - Laboratory Vacuum Equipment 22 62 19.70 - Healthcare Vacuum Equipment 22 62 19.74 - Dental Vacuum and Evacuation Equipment 22 62 23 - Waste Anesthesia-Gas Piping 22 63 00 - Gas Systems for Laboratory and Healthcare Facilities 22 63 13 - Gas Piping for Laboratory and Healthcare Facilities 22 63 13.53 - Laboratory Gas Piping 22 63 13.70 - Healthcare Gas Piping 22 63 19 - Gas Storage Tanks for Laboratory and Healthcare Facilities 22 63 19.53 - Laboratory Gas Storage Tanks 22 63 19.70 - Healthcare Gas Storage Tanks 22 66 00 - Chemical-Waste Systems for Laboratory and Healthcare Facilities 22 66 53 - Laboratory Chemical-Waste and Vent Piping 22 66 70 - Healthcare Chemical-Waste and Vent Piping 22 66 83 - Chemical-Waste Tanks 22 66 83.13 - Chemical-Waste Dilution Tanks 22 66 83.16 - Chemical-Waste Neutralization Tanks 22 67 00 - Processed Water Systems for Laboratory and Healthcare Facilities 22 67 13 - Processed Water Piping for Laboratory and Healthcare Facilities 22 67 13.13 - Distilled-Water Piping 22 67 13.16 - Reverse-Osmosis Water Piping 22 67 13.19 - Deionized-Water Piping 22 67 19 - Processed Water Equipment for Laboratory and Healthcare Facilities 22 67 19.13 - Distilled-Water Equipment 22 67 19.16 - Reverse-Osmosis Water Equipment 22 67 19.19 - Deionized-Water Equipment
Others | 22 00 00 - Plumbing 22 05 00 - Common Work Results for Plumbing 22 05 05 - Selective Demolition for Plumbing 22 05 16 - Expansion Fittings and Loops for Plumbing Piping 22 05 17 - Sleeves and Sleeve Seals for Plumbing Piping 22 05 29 - Hangers and Supports for Plumbing Piping and Equipment 22 05 33 - Heat Tracing for Plumbing Piping 22 05 43 - Vibration and Seismic Control for Plumbing Piping and Equipment 22 05 48.13 - Vibration Controls for Plumbing Piping and Equipment 22 05 53 - Identification for Plumbing Piping and Equipment 22 06 00 - Schedules for Plumbing 22 06 10 - Schedules for Plumbing Piping and Pumps 22 06 10.13 - Plumbing Pump Schedule 22 06 12 - Schedules for Facility Potable Water Storage 22 06 15 - Schedules for General Service Compressed-Air Equipment 22 06 30 - Schedules for Plumbing Equipment 22 06 30.13 - Domestic Water Heater Schedule 22 06 40 - Schedules for Plumbing Fixtures 22 06 40.13 - Plumbing Fixture Schedule 22 06 50 - Schedules for Pool and Fountain Plumbing Systems 22 06 60 - Schedules for Laboratory and Healthcare Systems 22 07 00 - Plumbing Insulation 22 07 16 - Plumbing Equipment Insulation 22 07 19 - Plumbing Piping Insulation 22 09 00 - Instrumentation and Control for Plumbing 22 10 00 - Plumbing Piping